## sherlock_output
Software Version | 3.11.19
Experiment File Path: | C:\Users\SMeyer\OneDrive - California Department of Water Resources\Run ID Team\2023-2024 Genetic Data\SHERLOCK\Biotek Output and Plate Maps\Events 3&4\Biotek Outputs\Ots16\240109_SM_SW_Redo.xpt
Protocol File Path: | C:\Users\SMeyer\California Department of Water Resources\DWR Collaborative Science and Innovation Section - Documents\GeM Files\Biotek Protocols\SHERLOCK_2hr_3minintervals_384plate_Low.prt
Plate Number | Plate 1
Date | 2024-01-09
Time | 8:58
Reader Type: | Synergy H1
Reader Serial Number: | 21111913
Reading Type | Reader
Procedure Details
Plate Type | Corning 384 Low volume round bottom
Set Temperature | Setpoint 37°C
Preheat before moving to next step
Start Kinetic | Runtime 2:00:00 (HH:MM:SS), Interval 0:03:00, 41 Reads
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 484, Emission: 530
Optics: Top, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 9.5 mm
End Kinetic
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | 1: SPL1; 3: BLK; 22: BLK; 24: SPL13 | Well ID
| B | 1: SPL2; 3: BLK; 22: BLK; 24: SPL14 | Well ID
| C | 3: BLK; 24: SPL1 | Well ID
| D | 1: SPL3 | Well ID
| E | 1: SPL4; 24: SPL16 | Well ID
| F | 1: SPL5; 24: SPL17 | Well ID
| G | 1: SPL6; 24: SPL18 | Well ID
| H | 24: SPL2 | Well ID
| I | 1: SPL7 | Well ID
| J | 1: SPL8; 24: SPL20 | Well ID
| K | 1: SPL9; 24: SPL21 | Well ID
| L | 24: SPL3 | Well ID
| M | 1: SPL10 | Well ID
| N | 1: SPL11; 24: SPL23 | Well ID
| O | 1: SPL12; 24: SPL24 | Well ID
| P | 24: SPL4 | Well ID
484530
| Time | T° 484,530 | A1 | A3 | A22 | A24 | B1 | B3 | B22 | B24 | C3 | C24 | D1 | E1 | E24 | F1 | F24 | G1 | G24 | H24 | I1 | J1 | J24 | K1 | K24 | L24 | M1 | N1 | N24 | O1 | O24 | P24
| 0:00 | 36.9 | 1637 | 1672 | 1912 | 1753 | 1799 | 1675 | 1798 | 1811 | 1694 | 1793 | 2106 | 1998 | 2042 | 2066 | 2168 | 2101 | 2085 | 2119 | 1815 | 1940 | 1953 | 1897 | 1989 | 2048 | 2044 | 2016 | 2174 | 2002 | 2178 | 2115
| 0:03 | 37 | 1937 | 2068 | 2147 | 2077 | 2167 | 1960 | 1959 | 2129 | 1960 | 2059 | 2332 | 2232 | 2245 | 2306 | 2272 | 2262 | 2174 | 2165 | 2064 | 2172 | 2072 | 2123 | 2119 | 2378 | 2201 | 2212 | 2356 | 2064 | 2384 | 2207
| 0:06 | 37 | 2112 | 2295 | 2289 | 2277 | 2334 | 2264 | 2138 | 2225 | 2269 | 2307 | 2554 | 2385 | 2451 | 2527 | 2354 | 2352 | 2317 | 2446 | 2245 | 2331 | 2293 | 2391 | 2334 | 2382 | 2347 | 2428 | 2472 | 2368 | 2590 | 2275
| 0:09 | 37 | 2357 | 2429 | 2411 | 2514 | 2532 | 2369 | 2290 | 2382 | 2445 | 2531 | 2673 | 2594 | 2533 | 2652 | 2520 | 2574 | 2458 | 2514 | 2267 | 2449 | 2357 | 2467 | 2403 | 2499 | 2565 | 2479 | 2659 | 2456 | 2648 | 2438
| 0:12 | 36.9 | 2449 | 2673 | 2496 | 2619 | 2652 | 2621 | 2402 | 2621 | 2643 | 2747 | 2923 | 2696 | 2680 | 2744 | 2679 | 2714 | 2585 | 2540 | 2501 | 2689 | 2438 | 2638 | 2500 | 2656 | 2759 | 2676 | 2762 | 2629 | 2830 | 2519
| 0:15 | 36.9 | 2581 | 2782 | 2688 | 2743 | 2790 | 2808 | 2496 | 2599 | 2850 | 2879 | 2959 | 2813 | 2825 | 2880 | 2744 | 2754 | 2562 | 2688 | 2633 | 2719 | 2608 | 2806 | 2631 | 2840 | 2772 | 2797 | 2845 | 2731 | 2928 | 2502
| 0:18 | 37 | 2724 | 3035 | 2827 | 2816 | 2993 | 2999 | 2546 | 2840 | 3039 | 3063 | 3084 | 2901 | 2896 | 3070 | 2919 | 2993 | 2748 | 2771 | 2702 | 2806 | 2603 | 3009 | 2768 | 2893 | 3002 | 2889 | 3003 | 2913 | 3020 | 2566
| 0:21 | 37 | 2872 | 3217 | 2944 | 3076 | 3131 | 3339 | 2652 | 2901 | 3269 | 3222 | 3178 | 3108 | 2957 | 3114 | 3002 | 3071 | 2841 | 2935 | 2891 | 3016 | 2759 | 3020 | 2859 | 3000 | 3173 | 3053 | 3208 | 3101 | 3263 | 2756
| 0:24 | 37 | 3105 | 3391 | 2966 | 3139 | 3261 | 3541 | 2835 | 3030 | 3511 | 3372 | 3288 | 3243 | 3061 | 3210 | 3092 | 3295 | 3008 | 2987 | 3015 | 3220 | 2914 | 3224 | 3026 | 3145 | 3226 | 3303 | 3357 | 3230 | 3398 | 2835
| 0:27 | 37 | 3361 | 3556 | 3130 | 3266 | 3462 | 3783 | 2953 | 3221 | 3740 | 3434 | 3491 | 3336 | 3120 | 3341 | 3194 | 3299 | 3047 | 3065 | 3146 | 3332 | 2948 | 3407 | 3190 | 3360 | 3402 | 3387 | 3354 | 3402 | 3377 | 2814
| 0:30 | 37 | 3401 | 3811 | 3342 | 3487 | 3624 | 3915 | 2979 | 3344 | 3875 | 3628 | 3538 | 3430 | 3274 | 3463 | 3250 | 3422 | 3159 | 3162 | 3295 | 3430 | 3271 | 3611 | 3408 | 3823 | 3535 | 3558 | 3478 | 3669 | 3666 | 2955
| 0:33 | 37 | 3634 | 3982 | 3486 | 3510 | 3827 | 4170 | 3144 | 3434 | 4149 | 3794 | 3740 | 3488 | 3383 | 3576 | 3427 | 3489 | 3277 | 3285 | 3428 | 3612 | 3504 | 3680 | 3871 | 4682 | 3705 | 3740 | 3549 | 3707 | 3636 | 2982
| 0:36 | 37 | 3704 | 4255 | 3566 | 3698 | 3946 | 4390 | 3217 | 3583 | 4453 | 3947 | 3676 | 3601 | 3466 | 3667 | 3549 | 3760 | 3451 | 3394 | 3562 | 3707 | 4025 | 3915 | 4641 | 6234 | 3922 | 3843 | 3631 | 3877 | 3728 | 3109
| 0:39 | 37 | 3898 | 4433 | 3652 | 3709 | 4002 | 4568 | 3266 | 3697 | 4713 | 4067 | 3924 | 3743 | 3602 | 3761 | 3607 | 3791 | 3471 | 3523 | 3659 | 3819 | 4941 | 4155 | 5716 | 8443 | 3896 | 3952 | 3858 | 4032 | 3864 | 3132
| 0:42 | 37 | 3912 | 4590 | 3860 | 3930 | 4228 | 4873 | 3552 | 3751 | 4791 | 4313 | 3989 | 3756 | 3678 | 3927 | 3761 | 3843 | 3636 | 3618 | 3783 | 4002 | 6191 | 4363 | 7110 | 11889 | 4093 | 4130 | 4054 | 4179 | 4030 | 3109
| 0:45 | 37 | 4215 | 4752 | 3996 | 4054 | 4364 | 5049 | 3576 | 3920 | 5114 | 4525 | 4118 | 3956 | 3808 | 3975 | 3866 | 3905 | 3674 | 3784 | 3988 | 4047 | 7530 | 4647 | 8806 | 16016 | 4067 | 4315 | 4064 | 4326 | 4151 | 3301
| 0:48 | 37 | 4241 | 5026 | 4089 | 4194 | 4688 | 5169 | 3739 | 4086 | 5307 | 4600 | 4122 | 3966 | 3906 | 3990 | 3937 | 4104 | 3895 | 3859 | 3986 | 4295 | 9411 | 4962 | 10763 | 20814 | 4306 | 4458 | 4233 | 4424 | 4268 | 3429
| 0:51 | 37 | 4475 | 5243 | 4429 | 4318 | 4967 | 5380 | 3848 | 4169 | 5527 | 4668 | 4211 | 4115 | 3903 | 4175 | 4196 | 4262 | 3923 | 3903 | 4260 | 4357 | 11573 | 5404 | 12898 | 26550 | 4384 | 4569 | 4444 | 4554 | 4361 | 3443
| 0:54 | 37 | 4552 | 5417 | 4496 | 4393 | 5403 | 5529 | 3921 | 4359 | 5688 | 4795 | 4266 | 4196 | 4109 | 4244 | 4178 | 4353 | 4006 | 4013 | 4452 | 4511 | 14072 | 5933 | 15309 | 31606 | 4523 | 4726 | 4479 | 4807 | 4408 | 3565
| 0:57 | 37 | 4588 | 5486 | 4582 | 4508 | 5932 | 5784 | 4119 | 4436 | 5910 | 4952 | 4443 | 4325 | 4191 | 4299 | 4196 | 4424 | 4178 | 4227 | 4420 | 4573 | 16778 | 6674 | 17734 | 36507 | 4582 | 4876 | 4592 | 4889 | 4555 | 3750
| 1:00 | 37 | 4799 | 5636 | 4749 | 4657 | 6695 | 5829 | 4367 | 4633 | 6012 | 5095 | 4532 | 4411 | 4305 | 4484 | 4447 | 4494 | 4279 | 4362 | 4592 | 4792 | 19786 | 7294 | 20351 | 40806 | 4657 | 4910 | 4738 | 4940 | 4755 | 3874
| 1:03 | 37 | 4931 | 5801 | 4998 | 4769 | 7657 | 6047 | 4430 | 4654 | 6167 | 5149 | 4548 | 4477 | 4332 | 4535 | 4464 | 4621 | 4307 | 4457 | 5012 | 4848 | 22620 | 8400 | 22510 | 44394 | 4785 | 5102 | 4888 | 5095 | 4846 | 4099
| 1:06 | 37 | 4945 | 5992 | 4981 | 4925 | 8985 | 6228 | 4487 | 4823 | 6364 | 5305 | 4749 | 4591 | 4489 | 4483 | 4611 | 4630 | 4501 | 4407 | 5172 | 5021 | 26028 | 9271 | 24863 | 47288 | 4828 | 5121 | 4930 | 5174 | 4914 | 4103
| 1:09 | 37 | 5142 | 6076 | 5204 | 4950 | 10551 | 6437 | 4691 | 5010 | 6473 | 5320 | 4746 | 4599 | 4558 | 4685 | 4718 | 4721 | 4546 | 4623 | 5598 | 5152 | 29340 | 10570 | 27643 | 49438 | 4828 | 5248 | 5125 | 5238 | 4982 | 4353
| 1:12 | 37 | 5208 | 6169 | 5403 | 5134 | 12102 | 6468 | 4810 | 5102 | 6596 | 5535 | 4823 | 4749 | 4708 | 4752 | 4824 | 4837 | 4671 | 4551 | 5911 | 5218 | 31928 | 11703 | 29645 | 50954 | 4901 | 5408 | 5114 | 5228 | 5079 | 4539
| 1:15 | 37 | 5424 | 6223 | 5374 | 5209 | 13999 | 6663 | 4905 | 5196 | 6718 | 5612 | 4964 | 4784 | 4687 | 4809 | 4882 | 4830 | 4744 | 4822 | 6500 | 5375 | 35140 | 13064 | 31722 | 53570 | 4997 | 5554 | 5334 | 5414 | 5151 | 4694
| 1:18 | 37 | 5371 | 6402 | 5548 | 5344 | 16135 | 6737 | 5049 | 5289 | 6986 | 5783 | 4974 | 4720 | 4823 | 4956 | 4984 | 5006 | 4839 | 4883 | 6972 | 5753 | 37257 | 14604 | 33739 | 54168 | 5043 | 5617 | 5400 | 5573 | 5398 | 4851
| 1:21 | 37 | 5408 | 6651 | 5724 | 5529 | 18776 | 6879 | 5129 | 5453 | 7049 | 5809 | 5098 | 5027 | 4894 | 4985 | 5097 | 5051 | 5044 | 5033 | 7595 | 5888 | 39734 | 15921 | 35458 | 55027 | 4999 | 5748 | 5773 | 5584 | 5415 | 4960
| 1:24 | 37 | 5565 | 6665 | 5782 | 5544 | 21237 | 6978 | 5371 | 5367 | 7081 | 5994 | 5115 | 5036 | 5009 | 5021 | 5121 | 5141 | 5085 | 5056 | 8436 | 6194 | 41717 | 17830 | 37264 | 56462 | 5168 | 5789 | 5799 | 5756 | 5634 | 5152
| 1:27 | 37 | 5672 | 6860 | 5939 | 5574 | 23562 | 7037 | 5547 | 5572 | 7268 | 5994 | 5140 | 5116 | 5026 | 5050 | 5275 | 5247 | 5154 | 5140 | 9155 | 6567 | 42996 | 19702 | 38722 | 56993 | 5089 | 5829 | 5892 | 5758 | 5680 | 5311
| 1:30 | 37 | 5665 | 6805 | 6198 | 5695 | 25501 | 7293 | 5603 | 5717 | 7552 | 6074 | 5326 | 5233 | 5244 | 5106 | 5316 | 5205 | 5117 | 5230 | 10002 | 6880 | 44393 | 21478 | 40649 | 58025 | 5189 | 5901 | 6042 | 5927 | 5966 | 5544
| 1:33 | 37 | 5749 | 7107 | 6207 | 5843 | 27696 | 7278 | 5698 | 5852 | 7656 | 6176 | 5355 | 5311 | 5194 | 5296 | 5421 | 5403 | 5299 | 5344 | 11299 | 7192 | 46401 | 23647 | 41625 | 58554 | 5311 | 5975 | 6228 | 5933 | 6099 | 5748
| 1:36 | 37 | 5857 | 7035 | 6440 | 5900 | 29485 | 7442 | 5780 | 6071 | 7738 | 6294 | 5311 | 5288 | 5368 | 5307 | 5574 | 5438 | 5455 | 5340 | 12438 | 7541 | 47066 | 25001 | 42729 | 58795 | 5282 | 6189 | 6424 | 5983 | 6208 | 5795
| 1:39 | 37 | 6075 | 7192 | 6501 | 5934 | 30919 | 7564 | 5858 | 6113 | 7866 | 6402 | 5404 | 5381 | 5431 | 5224 | 5639 | 5586 | 5527 | 5515 | 13605 | 8058 | 47453 | 27179 | 43311 | 59006 | 5320 | 6163 | 6536 | 5982 | 6319 | 6047
| 1:42 | 37 | 5997 | 7275 | 6646 | 6030 | 32156 | 7635 | 6037 | 6270 | 7910 | 6460 | 5588 | 5400 | 5523 | 5504 | 5761 | 5606 | 5677 | 5667 | 14654 | 8448 | 48689 | 29077 | 44148 | 59109 | 5247 | 6161 | 6519 | 6172 | 6297 | 6037
| 1:45 | 37 | 5981 | 7368 | 6668 | 6081 | 33360 | 7739 | 6136 | 6351 | 7989 | 6626 | 5582 | 5585 | 5604 | 5490 | 5857 | 5583 | 5781 | 5745 | 16065 | 8808 | 49382 | 31582 | 44944 | 59465 | 5544 | 6206 | 6722 | 6132 | 6483 | 6256
| 1:48 | 37 | 6232 | 7522 | 6712 | 6243 | 34311 | 7853 | 6145 | 6581 | 8219 | 6850 | 5683 | 5679 | 5620 | 5505 | 5951 | 5721 | 5817 | 5698 | 17413 | 9594 | 49801 | 33002 | 45663 | 59950 | 5521 | 6326 | 6926 | 6269 | 6721 | 6377
| 1:51 | 37 | 6130 | 7687 | 6998 | 6357 | 35513 | 8067 | 6348 | 6603 | 8293 | 6883 | 5770 | 5550 | 5773 | 5580 | 6041 | 5757 | 5890 | 5888 | 18672 | 10043 | 50366 | 35033 | 46037 | 59969 | 5490 | 6449 | 7033 | 6241 | 6701 | 6513
| 1:54 | 37 | 6383 | 7682 | 7150 | 6471 | 36067 | 8159 | 6392 | 6694 | 8478 | 6853 | 6107 | 5654 | 5726 | 5548 | 5937 | 5824 | 5985 | 5965 | 20042 | 10731 | 50878 | 36856 | 46623 | 60517 | 5554 | 6531 | 7314 | 6308 | 6881 | 6753
| 1:57 | 37 | 6491 | 7826 | 7133 | 6562 | 37169 | 8046 | 6532 | 6839 | 8492 | 6913 | 5929 | 5802 | 5815 | 5735 | 6107 | 5879 | 6061 | 5933 | 21367 | 11261 | 51210 | 38693 | 47082 | 60013 | 5562 | 6591 | 7415 | 6375 | 6992 | 6879
| 2:00 | 37 | 6456 | 7882 | 7144 | 6602 | 37852 | 8183 | 6539 | 6969 | 8528 | 7086 | 5906 | 5826 | 5930 | 5640 | 6376 | 6023 | 6143 | 5981 | 22689 | 11959 | 51286 | 40352 | 47354 | 60398 | 5612 | 6556 | 7459 | 6385 | 7118 | 6965
Blank 484,530
| Time | A1 | A3 | A22 | A24 | B1 | B3 | B22 | B24 | C3 | C22 | C24 | D1 | D24 | E1 | E24 | F1 | F24 | G1 | G24 | H24 | I1 | I24 | J1 | J24 | K1 | K24 | L24 | M1 | M24 | N1 | N24 | O1 | O24 | P24
| 0:00 | -128 | -93 | 147 | -12 | 34 | -90 | 33 | 46 | -71 | 72 | 28 | 341 | -1548 | 233 | 277 | 301 | 403 | 336 | 320 | 354 | 50 | -1547 | 175 | 188 | 132 | 224 | 283 | 279 | -1534 | 251 | 409 | 237 | 413 | 350
| 0:03 | -92 | 39 | 118 | 48 | 138 | -69 | -70 | 100 | -69 | 53 | 30 | 303 | -1805 | 203 | 216 | 277 | 243 | 233 | 145 | 136 | 35 | -1808 | 143 | 43 | 94 | 90 | 349 | 172 | -1806 | 183 | 327 | 35 | 355 | 178
| 0:06 | -162 | 21 | 15 | 3 | 60 | -10 | -136 | -49 | -5 | 117 | 33 | 280 | -2074 | 111 | 177 | 253 | 80 | 78 | 43 | 172 | -29 | -2043 | 57 | 19 | 117 | 60 | 108 | 73 | -2047 | 154 | 198 | 94 | 316 | 1
| 0:09 | -90 | -18 | -36 | 67 | 85 | -78 | -157 | -65 | -2 | 293 | 84 | 226 | -2228 | 147 | 86 | 205 | 73 | 127 | 11 | 67 | -180 | -2227 | 2 | -90 | 20 | -44 | 52 | 118 | -2213 | 32 | 212 | 9 | 201 | -9
| 0:12 | -192 | 32 | -145 | -22 | 11 | -20 | -239 | -20 | 2 | 369 | 106 | 282 | -2411 | 55 | 39 | 103 | 38 | 73 | -56 | -101 | -140 | -2410 | 48 | -203 | -3 | -141 | 15 | 118 | -2403 | 35 | 121 | -12 | 189 | -122
| 0:15 | -239 | -38 | -132 | -77 | -30 | -12 | -324 | -221 | 31 | 474 | 60 | 140 | -2622 | -7 | 6 | 61 | -76 | -66 | -258 | -132 | -187 | -2595 | -101 | -212 | -14 | -189 | 21 | -48 | -2589 | -23 | 26 | -89 | 109 | -318
| 0:18 | -270 | 41 | -167 | -178 | -1 | 5 | -448 | -154 | 45 | 526 | 69 | 90 | -2799 | -93 | -98 | 76 | -75 | -1 | -246 | -223 | -292 | -2770 | -188 | -391 | 15 | -226 | -101 | 8 | -2779 | -105 | 9 | -81 | 26 | -428
| 0:21 | -319 | 26 | -247 | -115 | -60 | 148 | -539 | -290 | 78 | 532 | 31 | -13 | -2960 | -83 | -234 | -77 | -189 | -120 | -350 | -256 | -300 | -2971 | -175 | -432 | -171 | -332 | -191 | -18 | -2981 | -138 | 17 | -90 | 72 | -435
| 0:24 | -263 | 23 | -402 | -229 | -107 | 173 | -533 | -338 | 143 | 594 | 4 | -80 | -3186 | -125 | -307 | -158 | -276 | -73 | -360 | -381 | -353 | -3139 | -148 | -454 | -144 | -342 | -223 | -142 | -3136 | -65 | -11 | -138 | 30 | -533
| 0:27 | -190 | 5 | -421 | -285 | -89 | 232 | -598 | -330 | 189 | 594 | -117 | -60 | -3341 | -215 | -431 | -210 | -357 | -252 | -504 | -486 | -405 | -3335 | -219 | -603 | -144 | -361 | -191 | -149 | -3350 | -164 | -197 | -149 | -174 | -737
| 0:30 | -319 | 91 | -378 | -233 | -96 | 195 | -741 | -376 | 155 | 679 | -92 | -182 | -3500 | -290 | -446 | -257 | -470 | -298 | -561 | -558 | -425 | -3496 | -290 | -449 | -109 | -312 | 103 | -185 | -3486 | -162 | -242 | -51 | -54 | -765
| 0:33 | -293 | 55 | -441 | -417 | -100 | 243 | -783 | -493 | 222 | 703 | -133 | -187 | -3731 | -439 | -544 | -351 | -500 | -438 | -650 | -642 | -499 | -3702 | -315 | -423 | -247 | -56 | 755 | -222 | -3713 | -187 | -378 | -220 | -291 | -945
| 0:36 | -407 | 144 | -545 | -413 | -165 | 279 | -894 | -528 | 342 | 676 | -164 | -435 | -3912 | -510 | -645 | -444 | -562 | -351 | -660 | -717 | -549 | -3887 | -404 | -86 | -196 | 530 | 2123 | -189 | -3870 | -268 | -480 | -234 | -383 | -1002
| 0:39 | -355 | 180 | -601 | -544 | -251 | 315 | -987 | -556 | 460 | 632 | -186 | -329 | -4067 | -510 | -651 | -492 | -646 | -462 | -782 | -730 | -594 | -4008 | -434 | 688 | -98 | 1463 | 4190 | -357 | -4033 | -301 | -395 | -221 | -389 | -1121
| 0:42 | -543 | 135 | -595 | -525 | -227 | 418 | -903 | -704 | 336 | 608 | -142 | -466 | -4256 | -699 | -777 | -528 | -694 | -612 | -819 | -837 | -672 | -4231 | -453 | 1736 | -92 | 2655 | 7434 | -362 | -4228 | -325 | -401 | -276 | -425 | -1346
| 0:45 | -417 | 121 | -636 | -578 | -268 | 418 | -1056 | -712 | 483 | 671 | -107 | -514 | -4407 | -676 | -824 | -657 | -766 | -727 | -958 | -848 | -644 | -4412 | -585 | 2899 | 16 | 4175 | 11385 | -565 | -4406 | -317 | -568 | -306 | -481 | -1331
| 0:48 | -549 | 236 | -701 | -596 | -102 | 379 | -1051 | -704 | 517 | 622 | -190 | -668 | -4581 | -824 | -884 | -800 | -853 | -686 | -895 | -931 | -804 | -4545 | -495 | 4621 | 172 | 5973 | 16024 | -484 | -4567 | -332 | -557 | -366 | -522 | -1361
| 0:51 | -537 | 231 | -583 | -694 | -45 | 368 | -1164 | -843 | 515 | 633 | -344 | -801 | -4800 | -897 | -1109 | -837 | -816 | -750 | -1089 | -1109 | -752 | -4767 | -655 | 6561 | 392 | 7886 | 21538 | -628 | -4772 | -443 | -568 | -458 | -651 | -1569
| 0:54 | -606 | 259 | -662 | -765 | 245 | 371 | -1237 | -799 | 530 | 740 | -363 | -892 | -4938 | -962 | -1049 | -914 | -980 | -805 | -1152 | -1145 | -706 | -4932 | -647 | 8914 | 775 | 10151 | 26448 | -635 | -4955 | -432 | -679 | -351 | -750 | -1593
| 0:57 | -715 | 183 | -721 | -795 | 629 | 481 | -1184 | -867 | 607 | 635 | -351 | -860 | -5127 | -978 | -1112 | -1004 | -1107 | -879 | -1125 | -1076 | -883 | -5068 | -730 | 11475 | 1371 | 12431 | 31204 | -721 | -5091 | -427 | -711 | -414 | -748 | -1553
| 1:00 | -663 | 174 | -713 | -805 | 1233 | 367 | -1095 | -829 | 550 | 718 | -367 | -930 | -5248 | -1051 | -1157 | -978 | -1015 | -968 | -1183 | -1100 | -870 | -5229 | -670 | 14324 | 1832 | 14889 | 35344 | -805 | -5240 | -552 | -724 | -522 | -707 | -1588
| 1:03 | -693 | 178 | -626 | -855 | 2034 | 424 | -1194 | -970 | 544 | 675 | -475 | -1076 | -5425 | -1147 | -1292 | -1089 | -1160 | -1003 | -1317 | -1167 | -612 | -5394 | -776 | 16997 | 2777 | 16887 | 38771 | -839 | -5424 | -522 | -736 | -529 | -778 | -1525
| 1:06 | -822 | 226 | -786 | -842 | 3219 | 462 | -1280 | -944 | 598 | 781 | -462 | -1018 | -5579 | -1176 | -1278 | -1284 | -1156 | -1137 | -1266 | -1360 | -595 | -5525 | -746 | 20262 | 3505 | 19097 | 41522 | -939 | -5550 | -646 | -837 | -593 | -853 | -1664
| 1:09 | -785 | 149 | -723 | -977 | 4624 | 510 | -1236 | -917 | 546 | 755 | -607 | -1181 | -5724 | -1328 | -1369 | -1242 | -1209 | -1206 | -1381 | -1304 | -329 | -5715 | -775 | 23413 | 4643 | 21716 | 43511 | -1099 | -5706 | -679 | -802 | -689 | -945 | -1574
| 1:12 | -836 | 125 | -641 | -910 | 6058 | 424 | -1234 | -942 | 552 | 774 | -509 | -1221 | -5820 | -1295 | -1336 | -1292 | -1220 | -1207 | -1373 | -1493 | -133 | -5837 | -826 | 25884 | 5659 | 23601 | 44910 | -1143 | -5815 | -636 | -930 | -816 | -965 | -1505
| 1:15 | -707 | 93 | -757 | -922 | 7869 | 533 | -1226 | -935 | 588 | 770 | -519 | -1167 | -5925 | -1347 | -1444 | -1322 | -1249 | -1301 | -1387 | -1309 | 370 | -5902 | -756 | 29010 | 6934 | 25592 | 47440 | -1134 | -5899 | -577 | -797 | -717 | -980 | -1437
| 1:18 | -934 | 97 | -757 | -961 | 9830 | 432 | -1256 | -1016 | 681 | 803 | -522 | -1331 | -6098 | -1585 | -1482 | -1349 | -1321 | -1299 | -1466 | -1422 | 667 | -6062 | -552 | 30952 | 8299 | 27434 | 47863 | -1262 | -6105 | -688 | -905 | -732 | -907 | -1454
| 1:21 | -1043 | 200 | -727 | -922 | 12325 | 428 | -1322 | -998 | 598 | 823 | -642 | -1353 | -6218 | -1424 | -1557 | -1466 | -1354 | -1400 | -1407 | -1418 | 1144 | -6220 | -563 | 33283 | 9470 | 29007 | 48576 | -1452 | -6231 | -703 | -678 | -867 | -1036 | -1491
| 1:24 | -996 | 104 | -779 | -1017 | 14676 | 417 | -1190 | -1194 | 520 | 929 | -567 | -1446 | -6351 | -1525 | -1552 | -1540 | -1440 | -1420 | -1476 | -1505 | 1875 | -6330 | -367 | 35156 | 11269 | 30703 | 49901 | -1393 | -6347 | -772 | -762 | -805 | -927 | -1409
| 1:27 | -1046 | 143 | -779 | -1144 | 16845 | 320 | -1171 | -1146 | 551 | 937 | -724 | -1578 | -6501 | -1602 | -1692 | -1668 | -1443 | -1471 | -1564 | -1578 | 2438 | -6481 | -151 | 36279 | 12985 | 32005 | 50276 | -1629 | -6486 | -889 | -826 | -960 | -1038 | -1407
| 1:30 | -1212 | -72 | -679 | -1182 | 18624 | 416 | -1274 | -1160 | 675 | 935 | -803 | -1551 | -6668 | -1644 | -1633 | -1771 | -1561 | -1672 | -1760 | -1647 | 3125 | -6635 | 3 | 37516 | 14601 | 33772 | 51148 | -1688 | -6684 | -976 | -835 | -950 | -911 | -1333
| 1:33 | -1224 | 135 | -766 | -1130 | 20724 | 306 | -1275 | -1121 | 684 | 917 | -797 | -1618 | -6747 | -1662 | -1779 | -1677 | -1552 | -1570 | -1674 | -1629 | 4327 | -6730 | 220 | 39429 | 16675 | 34653 | 51582 | -1662 | -6762 | -998 | -745 | -1040 | -874 | -1225
| 1:36 | -1217 | -39 | -634 | -1174 | 22411 | 368 | -1294 | -1003 | 664 | 933 | -780 | -1763 | -6853 | -1786 | -1706 | -1767 | -1500 | -1636 | -1619 | -1734 | 5364 | -6849 | 467 | 39992 | 17927 | 35655 | 51721 | -1792 | -6853 | -885 | -650 | -1091 | -866 | -1279
| 1:39 | -1112 | 5 | -686 | -1253 | 23732 | 377 | -1329 | -1074 | 679 | 956 | -785 | -1783 | -6977 | -1806 | -1756 | -1963 | -1548 | -1601 | -1660 | -1672 | 6418 | -6960 | 871 | 40266 | 19992 | 36124 | 51819 | -1867 | -6968 | -1024 | -651 | -1205 | -868 | -1140
| 1:42 | -1281 | -3 | -632 | -1248 | 24878 | 357 | -1241 | -1008 | 632 | 886 | -818 | -1690 | -7068 | -1878 | -1755 | -1774 | -1517 | -1672 | -1601 | -1611 | 7376 | -7055 | 1170 | 41411 | 21799 | 36870 | 51831 | -2031 | -7077 | -1117 | -759 | -1106 | -981 | -1241
| 1:45 | -1426 | -39 | -739 | -1326 | 25953 | 332 | -1271 | -1056 | 582 | 1137 | -781 | -1825 | -7210 | -1822 | -1803 | -1917 | -1550 | -1824 | -1626 | -1662 | 8658 | -7174 | 1401 | 41975 | 24175 | 37537 | 52058 | -1863 | -7180 | -1201 | -685 | -1275 | -924 | -1151
| 1:48 | -1271 | 19 | -791 | -1260 | 26808 | 350 | -1358 | -922 | 716 | 1062 | -653 | -1820 | -7279 | -1824 | -1883 | -1998 | -1552 | -1782 | -1686 | -1805 | 9910 | -7290 | 2091 | 42298 | 25499 | 38160 | 52447 | -1982 | -7295 | -1177 | -577 | -1234 | -782 | -1126
| 1:51 | -1535 | 22 | -667 | -1308 | 27848 | 402 | -1317 | -1062 | 628 | 931 | -782 | -1895 | -7465 | -2115 | -1892 | -2085 | -1624 | -1908 | -1775 | -1777 | 11007 | -7432 | 2378 | 42701 | 27368 | 38372 | 52304 | -2175 | -7438 | -1216 | -632 | -1424 | -964 | -1152
| 1:54 | -1384 | -85 | -617 | -1296 | 28300 | 392 | -1375 | -1073 | 711 | 973 | -914 | -1660 | -7531 | -2113 | -2041 | -2219 | -1830 | -1943 | -1782 | -1802 | 12275 | -7552 | 2964 | 43111 | 29089 | 38856 | 52750 | -2213 | -7535 | -1236 | -453 | -1459 | -886 | -1014
| 1:57 | -1325 | 10 | -683 | -1254 | 29353 | 230 | -1284 | -977 | 676 | 1050 | -903 | -1887 | -7614 | -2014 | -2001 | -2081 | -1709 | -1937 | -1755 | -1883 | 13551 | -7576 | 3445 | 43394 | 30877 | 39266 | 52197 | -2254 | -7604 | -1225 | -401 | -1441 | -824 | -937
| 2:00 | -1428 | -2 | -740 | -1282 | 29968 | 299 | -1345 | -915 | 644 | 1146 | -798 | -1978 | -7657 | -2058 | -1954 | -2244 | -1508 | -1861 | -1741 | -1903 | 14805 | -7651 | 4075 | 43402 | 32468 | 39470 | 52514 | -2272 | -7658 | -1328 | -425 | -1499 | -766 | -919
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | 1: -27827.778; 3: 13450; 22: -27122.222; 24: -23677.778 | Max V [Blank 484,530]
|  | 1: 0.667; 3: 0.841; 22: 0.941; 24: 0.826 | R-Squared [Blank 484,530]
|  | 1: 1:45; 3: 0:33; 22: 0:21; 24: 0:36 | t at Max V [Blank 484,530]
|  | 1: 1:02; 3: 0:19; 22: 0:05; 24: 0:18 | Lagtime [Blank 484,530]
| B | 1: 759927.778; 3: 21844.444; 22: -32405.556; 24: -23944.444 | Max V [Blank 484,530]
|  | 1: 0.999; 3: 0.93; 22: 0.994; 24: 0.923 | R-Squared [Blank 484,530]
|  | 1: 1:21; 3: 0:21; 22: 0:15; 24: 0:36 | t at Max V [Blank 484,530]
|  | 1: 1:05; 3: 0:12; 22: 0:03; 24: 0:12 | Lagtime [Blank 484,530]
| C | 3: 24316.667; 22: 36472.222; 24: -22672.222 | Max V [Blank 484,530]
|  | 3: 0.84; 22: 0.981; 24: 0.836 | R-Squared [Blank 484,530]
|  | 3: 0:33; 22: 0:09; 24: 0:48 | t at Max V [Blank 484,530]
|  | 3: 0:19; 22: 0:04; 24: 0:37 | Lagtime [Blank 484,530]
| D | 1: -38227.778; 24: -71644.444 | Max V [Blank 484,530]
|  | 1: 0.98; 24: 0.987 | R-Squared [Blank 484,530]
|  | 1: 0:45; 24: 0:06 | t at Max V [Blank 484,530]
|  | 1: 0:22; 24: ????? | Lagtime [Blank 484,530]
| E | 1: -33166.667; 24: -36055.556 | Max V [Blank 484,530]
|  | 1: 0.987; 24: 0.994 | R-Squared [Blank 484,530]
|  | 1: 0:30; 24: 0:21 | t at Max V [Blank 484,530]
|  | 1: 0:13; 24: 0:07 | Lagtime [Blank 484,530]
| F | 1: -35250; 24: -31938.889 | Max V [Blank 484,530]
|  | 1: 0.989; 24: 0.996 | R-Squared [Blank 484,530]
|  | 1: 1:48; 24: 0:24 | t at Max V [Blank 484,530]
|  | 1: 0:43; 24: 0:03 | Lagtime [Blank 484,530]
| G | 1: -31155.556; 24: -30372.222 | Max V [Blank 484,530]
|  | 1: 0.88; 24: 0.913 | R-Squared [Blank 484,530]
|  | 1: 0:42; 24: 0:15 | t at Max V [Blank 484,530]
|  | 1: 0:13; 24: ????? | Lagtime [Blank 484,530]
| H | 24: -32938.889 | Max V [Blank 484,530]
|  | 24: 0.959 | R-Squared [Blank 484,530]
|  | 24: 0:12 | t at Max V [Blank 484,530]
|  | 24: ????? | Lagtime [Blank 484,530]
| I | 1: 411088.889; 24: -71511.111 | Max V [Blank 484,530]
|  | 1: 0.999; 24: 0.993 | R-Squared [Blank 484,530]
|  | 1: 1:54; 24: 0:06 | t at Max V [Blank 484,530]
|  | 1: 1:24; 24: ????? | Lagtime [Blank 484,530]
| J | 1: 167788.889; 24: 993788.889 | Max V [Blank 484,530]
|  | 1: 0.987; 24: 0.998 | R-Squared [Blank 484,530]
|  | 1: 1:54; 24: 1:03 | t at Max V [Blank 484,530]
|  | 1: 1:37; 24: 0:46 | Lagtime [Blank 484,530]
| K | 1: 644233.333; 24: 759255.556 | Max V [Blank 484,530]
|  | 1: 0.994; 24: 0.998 | R-Squared [Blank 484,530]
|  | 1: 1:42; 24: 1:03 | t at Max V [Blank 484,530]
|  | 1: 1:08; 24: 0:41 | Lagtime [Blank 484,530]
| L | 24: 1668761.111 | Max V [Blank 484,530]
|  | 24: 0.999 | R-Squared [Blank 484,530]
|  | 24: 0:51 | t at Max V [Blank 484,530]
|  | 24: 0:38 | Lagtime [Blank 484,530]
| M | 1: -37372.222; 24: -71511.111 | Max V [Blank 484,530]
|  | 1: 0.888; 24: 0.99 | R-Squared [Blank 484,530]
|  | 1: 1:21; 24: 0:06 | t at Max V [Blank 484,530]
|  | 1: 0:37; 24: ????? | Lagtime [Blank 484,530]
| N | 1: -26433.333; 24: -37333.333 | Max V [Blank 484,530]
|  | 1: 0.963; 24: 0.974 | R-Squared [Blank 484,530]
|  | 1: 1:27; 24: 0:30 | t at Max V [Blank 484,530]
|  | 1: 0:45; 24: 0:12 | Lagtime [Blank 484,530]
| O | 1: -28483.333; 24: -31466.667 | Max V [Blank 484,530]
|  | 1: 0.877; 24: 0.785 | R-Squared [Blank 484,530]
|  | 1: 1:48; 24: 0:30 | t at Max V [Blank 484,530]
|  | 1: 0:54; 24: 0:11 | Lagtime [Blank 484,530]
| P | 24: -44577.778 | Max V [Blank 484,530]
|  | 24: 0.962 | R-Squared [Blank 484,530]
|  | 24: 0:36 | t at Max V [Blank 484,530]
|  | 24: 0:05 | Lagtime [Blank 484,530]

## plate_map
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | F1724_3_A_1 |  | NTC-1 | [18 empty] | NTC-1 |  | F1724_3_A_1
B | F6124_3_A_18 |  | NTC-2 | [18 empty] | NTC-2 |  | F6124_3_A_18
C |  |  | NTC-3 | [20 empty] | NTC-3
D | EBK-1-1
E | EBK-1-2 | [22 empty] | EBK-1-1
F | EBK-1-3 | [22 empty] | EBK-1-2
G | EBK-1-4 | [22 empty] | EBK-1-3
H | [23 empty] | EBK-1-4
I | POS-DNA-1
J | POS-DNA-2 | [22 empty] | POS-DNA-1
K | POS-DNA-3 | [22 empty] | POS-DNA-2
L | [23 empty] | POS-DNA-3
M | NEG-DNA-1
N | NEG-DNA-2 | [22 empty] | NEG-DNA-1
O | NEG-DNA-3 | [22 empty] | NEG-DNA-2
P | [23 empty] | NEG-DNA-3