## sherlock_output
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\080124_JPE24_EL_E3-4_P1_SH_rerun.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\384_SHERLOCK_2hr_3min.prt
Plate Number | Plate 1
Date | 2024-01-08
Time | 12:42
Reader Type: | Synergy H1
Reader Serial Number: | Unknown
Reading Type | Reader
Procedure Details
Plate Type | Corning 384 Low volume round bottom
Eject plate on completion
Set Temperature | Setpoint 37°C
Preheat before moving to next step
Start Kinetic | Runtime 2:00:00 (HH:MM:SS), Interval 0:03:00, 41 Reads
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 484, Emission: 530
Optics: Top, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 9.5 mm
End Kinetic
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | 1: SPL1; 12: SPL1; 13: SPL18; 24: SPL5 | Well ID
| B | [24 empty] | Well ID
| C | 1: SPL2; 12: SPL2; 13: SPL19; 24: SPL6 | Well ID
| D | [24 empty] | Well ID
| E | 1: SPL3; 12: SPL3; 13: SPL20; 24: SPL7 | Well ID
| F | [24 empty] | Well ID
| G | 1: SPL4; 12: SPL4; 13: SPL21; 24: SPL8 | Well ID
| H | 12: SPL17; 24: SPL34 | Well ID
| I | 1: SPL5; 12: SPL16; 13: SPL22; 24: SPL33 | Well ID
| J | 12: SPL15; 24: SPL32 | Well ID
| K | 1: SPL6; 12: SPL14; 13: SPL23; 24: SPL31 | Well ID
| L | 12: SPL13; 24: SPL30 | Well ID
| M | 1: SPL7; 12: SPL12; 13: SPL24; 24: SPL29 | Well ID
| N | 12: BLK; 24: BLK | Well ID
| O | 1: SPL8; 12: BLK; 13: SPL25; 24: BLK | Well ID
| P | 12: BLK; 24: BLK | Well ID
484530
| Time | T° 484,530 | A1 | A12 | A13 | A24 | C1 | C12 | C13 | C24 | E1 | E12 | E13 | E24 | G1 | G12 | G13 | G24 | H12 | H24 | I1 | I12 | I13 | I24 | J12 | J24 | K1 | K12 | K13 | K24 | L12 | L24 | M1 | M12 | M13 | M24 | N12 | N24 | O1 | O12 | O13 | O24 | P12 | P24
| 0:00 | 37 | 1877 | 1960 | 2105 | 1572 | 1887 | 1849 | 1961 | 1826 | 1961 | 1923 | 2144 | 1818 | 1972 | 2134 | 2090 | 2017 | 1895 | 1896 | 2102 | 2147 | 2065 | 2032 | 2147 | 2063 | 2035 | 2253 | 2186 | 2228 | 2229 | 2064 | 2122 | 2254 | 2151 | 2125 | 2112 | 2111 | 2356 | 2359 | 2323 | 2245 | 2225 | 2388
| 0:03 | 37 | 2160 | 2131 | 2386 | 1873 | 2108 | 2075 | 2167 | 2105 | 2204 | 2057 | 2465 | 1944 | 2131 | 2262 | 2229 | 2272 | 1941 | 2097 | 2201 | 2284 | 2253 | 2244 | 2213 | 2319 | 2157 | 2420 | 2415 | 2354 | 2417 | 2281 | 2177 | 2327 | 2305 | 2410 | 2255 | 2543 | 2475 | 2431 | 2633 | 2582 | 2258 | 2581
| 0:06 | 37 | 2346 | 2192 | 2659 | 2055 | 2123 | 2089 | 2424 | 2385 | 2329 | 2110 | 2609 | 2260 | 2231 | 2389 | 2473 | 2565 | 2111 | 2157 | 2256 | 2333 | 2454 | 2431 | 2194 | 2327 | 2126 | 2479 | 2709 | 2691 | 2368 | 2479 | 2276 | 2298 | 2568 | 2521 | 2288 | 2771 | 2419 | 2554 | 2915 | 3001 | 2384 | 2836
| 0:09 | 37 | 2392 | 2272 | 2857 | 2281 | 2180 | 2297 | 2591 | 2490 | 2332 | 2177 | 2775 | 2378 | 2315 | 2416 | 2687 | 2737 | 2086 | 2318 | 2263 | 2456 | 2761 | 2612 | 2278 | 2525 | 2218 | 2519 | 2786 | 2794 | 2397 | 2570 | 2234 | 2404 | 2689 | 2757 | 2428 | 2935 | 2453 | 2511 | 2977 | 3195 | 2445 | 2981
| 0:12 | 37 | 2426 | 2352 | 3019 | 2418 | 2248 | 2188 | 2749 | 2613 | 2432 | 2239 | 2949 | 2547 | 2291 | 2497 | 2862 | 2934 | 2224 | 2381 | 2270 | 2446 | 2837 | 2757 | 2359 | 2555 | 2339 | 2547 | 2998 | 2912 | 2451 | 2660 | 2283 | 2407 | 2744 | 2809 | 2385 | 3173 | 2619 | 2646 | 3093 | 3413 | 2543 | 3182
| 0:15 | 37 | 2450 | 2457 | 3314 | 2499 | 2429 | 2275 | 2956 | 2758 | 2543 | 2215 | 3135 | 2648 | 2640 | 2507 | 2937 | 2984 | 2304 | 2447 | 2359 | 2551 | 2953 | 2789 | 2424 | 2617 | 2368 | 2638 | 3021 | 2960 | 2409 | 2893 | 2335 | 2534 | 2807 | 2947 | 2466 | 3320 | 2702 | 2633 | 3206 | 3478 | 2542 | 3299
| 0:18 | 36.9 | 2473 | 2481 | 3368 | 2586 | 4551 | 2355 | 3034 | 2828 | 2564 | 2393 | 3148 | 2732 | 6620 | 2558 | 3070 | 3062 | 2311 | 2534 | 2396 | 3111 | 3002 | 2903 | 2696 | 2780 | 2358 | 2603 | 3147 | 3054 | 2468 | 2921 | 2409 | 2568 | 2973 | 3113 | 2520 | 3462 | 2695 | 2717 | 3326 | 3684 | 2516 | 3517
| 0:21 | 37 | 2609 | 2526 | 3443 | 2708 | 13279 | 2398 | 3099 | 2930 | 2605 | 2364 | 3362 | 2822 | 21405 | 2657 | 3129 | 3175 | 3799 | 2660 | 2486 | 6733 | 3092 | 2993 | 4856 | 2862 | 2451 | 2678 | 3281 | 3235 | 2551 | 3046 | 2520 | 2571 | 3050 | 3116 | 2596 | 3546 | 2760 | 2749 | 3426 | 3766 | 2615 | 3709
| 0:24 | 37 | 2736 | 2547 | 3446 | 2759 | 26854 | 2473 | 3201 | 2902 | 2703 | 2394 | 3383 | 2927 | 39476 | 2661 | 3310 | 3217 | 9192 | 3148 | 2584 | 17466 | 3384 | 3411 | 12500 | 3557 | 2534 | 2747 | 3435 | 3309 | 2604 | 3117 | 2481 | 2599 | 3422 | 3146 | 2596 | 3628 | 2762 | 2828 | 3374 | 3869 | 2616 | 3738
| 0:27 | 37 | 2922 | 2678 | 3582 | 2766 | 39315 | 2598 | 3229 | 2931 | 2757 | 2463 | 4864 | 2921 | 50172 | 2731 | 3412 | 3206 | 17680 | 5625 | 2581 | 33400 | 4671 | 6233 | 23272 | 7657 | 2521 | 2812 | 4606 | 3385 | 2588 | 3198 | 2567 | 2622 | 5583 | 3387 | 2601 | 3829 | 2927 | 2930 | 3702 | 3970 | 2696 | 3872
| 0:30 | 37 | 3268 | 2703 | 3739 | 2843 | 46809 | 2521 | 3302 | 3006 | 2867 | 2602 | 11138 | 2991 | 56069 | 2820 | 3385 | 3303 | 26227 | 14610 | 2665 | 47000 | 11188 | 20787 | 33071 | 21631 | 2669 | 2843 | 9573 | 3440 | 2644 | 3316 | 2568 | 2716 | 12327 | 3380 | 2706 | 3812 | 3051 | 2977 | 4479 | 3991 | 2823 | 4029
| 0:33 | 37 | 3745 | 2733 | 3699 | 2857 | 50700 | 2733 | 3345 | 3073 | 2883 | 2616 | 24455 | 3076 | 58567 | 2921 | 3363 | 3348 | 33947 | 30710 | 2772 | 53882 | 26325 | 43997 | 41283 | 37893 | 2761 | 2813 | 21282 | 3414 | 2697 | 3360 | 2617 | 2757 | 22701 | 3412 | 2802 | 3885 | 3070 | 2965 | 6391 | 4167 | 2840 | 4088
| 0:36 | 37 | 4389 | 2816 | 3775 | 3027 | 53490 | 2730 | 3420 | 3197 | 2910 | 2728 | 36938 | 3081 | 60060 | 2924 | 3552 | 3510 | 39193 | 42874 | 2855 | 58268 | 41895 | 58557 | 46952 | 50112 | 2746 | 2975 | 36409 | 3535 | 2771 | 3379 | 2672 | 2859 | 31739 | 3499 | 2758 | 3863 | 3226 | 3031 | 9722 | 4139 | 2825 | 4221
| 0:39 | 37 | 4911 | 2983 | 3935 | 2927 | 54715 | 2751 | 3394 | 3189 | 3076 | 2732 | 43760 | 3191 | 61746 | 3021 | 3545 | 3504 | 42028 | 52388 | 2901 | 60446 | 51470 | 61698 | 51564 | 57532 | 2806 | 2997 | 48707 | 3562 | 2838 | 3355 | 2711 | 2824 | 39207 | 3548 | 2874 | 4034 | 3320 | 3112 | 14400 | 4205 | 2925 | 4269
| 0:42 | 37 | 5693 | 2954 | 3968 | 2970 | 55944 | 2872 | 3506 | 3186 | 3078 | 2765 | 49165 | 3216 | 61992 | 3101 | 3557 | 3585 | 44788 | 56186 | 3048 | 62105 | 57848 | 62176 | 54977 | 60237 | 2888 | 3097 | 57479 | 3648 | 2854 | 3485 | 2713 | 2887 | 45136 | 3599 | 2912 | 4136 | 3373 | 3086 | 20548 | 4360 | 2982 | 4319
| 0:45 | 37 | 6607 | 3032 | 3941 | 2967 | 56482 | 2967 | 3502 | 3219 | 3158 | 2858 | 53925 | 3202 | 61981 | 3158 | 3677 | 3551 | 46919 | 56621 | 3058 | 62899 | 61398 | 61678 | 56762 | 59667 | 2942 | 3134 | 62622 | 3751 | 2917 | 3511 | 2814 | 3005 | 49817 | 3696 | 3021 | 4133 | 3393 | 3206 | 27649 | 4406 | 3047 | 4499
| 0:48 | 37 | 7397 | 3088 | 3997 | 3003 | 57319 | 2964 | 3566 | 3341 | 3206 | 2959 | 57105 | 3329 | 62267 | 3204 | 3693 | 3580 | 48495 | 56684 | 3139 | 63668 | 62982 | 61455 | 58168 | 59785 | 3015 | 3174 | 65428 | 3744 | 2948 | 3551 | 2867 | 2974 | 53226 | 3683 | 3019 | 4331 | 3486 | 3192 | 35130 | 4462 | 3116 | 4592
| 0:51 | 37 | 8372 | 3109 | 4044 | 3155 | 57560 | 2998 | 3548 | 3236 | 3251 | 3008 | 59411 | 3360 | 62172 | 3368 | 3708 | 3702 | 49385 | 56605 | 3149 | 64691 | 63277 | 61098 | 58745 | 59432 | 3051 | 3103 | 65956 | 3710 | 3066 | 3569 | 2881 | 3008 | 56212 | 3815 | 3052 | 4155 | 3545 | 3281 | 42631 | 4407 | 3052 | 4488
| 0:54 | 37 | 9325 | 3334 | 4088 | 3153 | 57978 | 3080 | 3592 | 3354 | 3350 | 3008 | 60042 | 3304 | 61778 | 3334 | 3824 | 3769 | 50821 | 55543 | 3216 | 64840 | 62546 | 61446 | 60405 | 59701 | 3263 | 3208 | 66480 | 3798 | 3115 | 3634 | 2872 | 3145 | 58105 | 3832 | 3143 | 4277 | 3626 | 3380 | 48784 | 4538 | 3216 | 4675
| 0:57 | 37 | 10093 | 3402 | 4148 | 3211 | 57825 | 3143 | 3750 | 3413 | 3469 | 3018 | 59850 | 3341 | 62163 | 3374 | 3854 | 3809 | 51801 | 56040 | 3277 | 65450 | 62910 | 60587 | 60936 | 59179 | 3239 | 3311 | 66247 | 3887 | 3124 | 3721 | 2860 | 3060 | 59573 | 3803 | 3152 | 4445 | 3706 | 3439 | 53503 | 4688 | 3315 | 4781
| 1:00 | 37 | 11271 | 3298 | 4294 | 3137 | 57491 | 3172 | 3671 | 3363 | 3384 | 3103 | 59663 | 3503 | 61739 | 3517 | 3749 | 3856 | 53157 | 55628 | 3344 | 65560 | 62864 | 61243 | 61184 | 58998 | 3221 | 3358 | 66424 | 3939 | 3197 | 3788 | 2929 | 3198 | 59967 | 3895 | 3259 | 4394 | 3685 | 3463 | 56549 | 4699 | 3308 | 4893
| 1:03 | 37 | 12537 | 3422 | 4219 | 3154 | 58074 | 3211 | 3629 | 3422 | 3521 | 3092 | 59461 | 3445 | 61278 | 3526 | 3884 | 3818 | 53724 | 55465 | 3421 | 65711 | 62436 | 60503 | 61736 | 58496 | 3320 | 3439 | 66300 | 4043 | 3247 | 3712 | 2995 | 3257 | 59639 | 3990 | 3355 | 4506 | 3880 | 3618 | 57410 | 4781 | 3322 | 4940
| 1:06 | 37 | 13627 | 3459 | 4325 | 3169 | 57916 | 3315 | 3605 | 3487 | 3557 | 3171 | 59142 | 3563 | 61916 | 3601 | 3851 | 3849 | 54567 | 54797 | 3484 | 66045 | 61906 | 60247 | 61923 | 58553 | 3254 | 3524 | 65290 | 4029 | 3244 | 3824 | 2989 | 3275 | 60050 | 4006 | 3325 | 4529 | 3804 | 3592 | 59131 | 4787 | 3473 | 4955
| 1:09 | 37 | 14673 | 3534 | 4416 | 3334 | 56730 | 3322 | 3714 | 3552 | 3684 | 3221 | 59007 | 3556 | 61053 | 3642 | 3864 | 3926 | 55012 | 54982 | 3411 | 65738 | 61751 | 60184 | 61868 | 58052 | 3379 | 3497 | 64896 | 4061 | 3367 | 3846 | 3003 | 3404 | 59817 | 3963 | 3438 | 4480 | 3814 | 3618 | 60846 | 4898 | 3527 | 5071
| 1:12 | 37 | 15852 | 3610 | 4311 | 3309 | 57444 | 3402 | 3735 | 3427 | 3683 | 3365 | 58215 | 3522 | 61311 | 3669 | 3903 | 4033 | 55086 | 54845 | 3557 | 65533 | 62478 | 59497 | 61788 | 58233 | 3467 | 3610 | 65434 | 4040 | 3334 | 3864 | 3004 | 3335 | 59838 | 4078 | 3356 | 4733 | 3961 | 3669 | 61404 | 4867 | 3487 | 5258
| 1:15 | 37 | 16988 | 3674 | 4446 | 3286 | 56858 | 3427 | 3746 | 3595 | 3767 | 3358 | 58416 | 3561 | 61246 | 3726 | 3960 | 4024 | 55588 | 54512 | 3530 | 65348 | 60923 | 60170 | 62069 | 57668 | 3484 | 3608 | 65584 | 4120 | 3316 | 3907 | 3075 | 3480 | 59320 | 3995 | 3405 | 4629 | 3907 | 3752 | 62199 | 4919 | 3550 | 5374
| 1:18 | 37 | 17925 | 3725 | 4497 | 3327 | 56776 | 3507 | 3728 | 3606 | 3812 | 3361 | 58500 | 3646 | 61158 | 3867 | 4036 | 4023 | 56062 | 54803 | 3616 | 65090 | 61037 | 59101 | 61836 | 57601 | 3569 | 3730 | 65028 | 4168 | 3461 | 3959 | 3144 | 3486 | 58726 | 4084 | 3556 | 4801 | 4024 | 3883 | 63061 | 4894 | 3615 | 5211
| 1:21 | 37 | 19076 | 3694 | 4433 | 3371 | 56424 | 3548 | 3855 | 3591 | 3788 | 3443 | 58491 | 3658 | 60264 | 3838 | 3973 | 4072 | 55451 | 54596 | 3658 | 65127 | 61120 | 59863 | 61516 | 57970 | 3479 | 3824 | 65001 | 4267 | 3500 | 4004 | 3063 | 3460 | 58648 | 4202 | 3635 | 4729 | 3992 | 3958 | 64122 | 4982 | 3622 | 5385
| 1:24 | 37 | 20039 | 3701 | 4543 | 3408 | 56453 | 3646 | 3910 | 3593 | 3818 | 3502 | 58462 | 3665 | 60595 | 3866 | 4093 | 4049 | 55640 | 54560 | 3775 | 65178 | 61252 | 59021 | 61664 | 57063 | 3701 | 3835 | 64557 | 4205 | 3566 | 3961 | 3052 | 3554 | 58668 | 4211 | 3498 | 4779 | 4048 | 3892 | 64356 | 5051 | 3673 | 5420
| 1:27 | 37 | 21333 | 3917 | 4537 | 3393 | 56697 | 3599 | 3888 | 3656 | 3922 | 3536 | 57857 | 3695 | 60034 | 3959 | 4044 | 4111 | 56084 | 54109 | 3809 | 65537 | 60690 | 58815 | 61599 | 56748 | 3660 | 3866 | 64521 | 4198 | 3574 | 3967 | 3063 | 3619 | 58590 | 4326 | 3726 | 4978 | 4008 | 3968 | 64887 | 5107 | 3675 | 5622
| 1:30 | 37 | 22477 | 3892 | 4599 | 3485 | 55987 | 3686 | 3847 | 3816 | 4029 | 3626 | 58162 | 3716 | 59947 | 3970 | 4191 | 4172 | 55652 | 54106 | 3840 | 64662 | 60415 | 59496 | 61242 | 56970 | 3746 | 3902 | 64660 | 4257 | 3568 | 4052 | 3056 | 3624 | 59052 | 4270 | 3674 | 4983 | 4108 | 4045 | 64381 | 5054 | 3864 | 5672
| 1:33 | 37 | 23486 | 4003 | 4726 | 3483 | 56085 | 3775 | 3959 | 3667 | 4071 | 3534 | 57680 | 3711 | 60099 | 4046 | 4157 | 4206 | 55086 | 53632 | 3953 | 65688 | 60523 | 58906 | 61113 | 57070 | 3871 | 3919 | 64388 | 4355 | 3649 | 4076 | 3171 | 3657 | 58047 | 4433 | 3662 | 4922 | 4171 | 4059 | 65126 | 5245 | 3892 | 5689
| 1:36 | 37 | 24294 | 4012 | 4818 | 3458 | 56381 | 3818 | 3922 | 3731 | 4102 | 3749 | 57618 | 3723 | 60178 | 4045 | 4144 | 4221 | 55418 | 53579 | 3845 | 64154 | 60689 | 58689 | 60715 | 56747 | 3907 | 4055 | 63792 | 4195 | 3733 | 4090 | 3131 | 3769 | 58291 | 4364 | 3791 | 5027 | 4265 | 4178 | 65392 | 5231 | 3916 | 5701
| 1:39 | 37 | 25062 | 4035 | 4727 | 3486 | 56192 | 3833 | 4029 | 3821 | 4062 | 3773 | 57712 | 3769 | 59517 | 4193 | 4242 | 4295 | 55234 | 53367 | 4041 | 64328 | 60608 | 58309 | 60656 | 57024 | 3932 | 4054 | 64448 | 4401 | 3737 | 4161 | 3310 | 3691 | 57852 | 4313 | 3725 | 5042 | 4183 | 4121 | 65418 | 5375 | 3974 | 5869
| 1:42 | 37 | 26358 | 4030 | 4739 | 3520 | 55952 | 3915 | 4007 | 3771 | 4208 | 3865 | 57356 | 3824 | 59316 | 4179 | 4219 | 4358 | 55025 | 53584 | 4047 | 64291 | 60259 | 59135 | 60767 | 56177 | 3887 | 4135 | 64328 | 4340 | 3813 | 4329 | 3183 | 3696 | 58406 | 4418 | 3926 | 5074 | 4216 | 4244 | 66180 | 5212 | 3980 | 5907
| 1:45 | 37.1 | 27185 | 4119 | 4771 | 3487 | 55729 | 3903 | 4074 | 3855 | 4176 | 3816 | 57219 | 3765 | 59937 | 4146 | 4343 | 4283 | 54787 | 53901 | 4125 | 62934 | 60576 | 58343 | 60214 | 56032 | 4004 | 4183 | 63332 | 4398 | 3815 | 4254 | 3324 | 3826 | 57723 | 4481 | 3905 | 5129 | 4284 | 4251 | 65919 | 5228 | 4043 | 5882
| 1:48 | 37 | 27846 | 4094 | 4909 | 3566 | 55338 | 3960 | 4119 | 3935 | 4338 | 3896 | 57511 | 3869 | 59565 | 4304 | 4366 | 4450 | 54945 | 53292 | 4137 | 63633 | 59931 | 58344 | 60510 | 55761 | 4052 | 4216 | 63287 | 4471 | 3788 | 4203 | 3283 | 3953 | 58129 | 4510 | 3901 | 5263 | 4330 | 4211 | 65800 | 5362 | 4045 | 5916
| 1:51 | 37 | 28751 | 4302 | 4997 | 3628 | 55818 | 3985 | 4145 | 3814 | 4392 | 3917 | 57189 | 3847 | 59753 | 4240 | 4420 | 4443 | 54825 | 53596 | 4191 | 63513 | 59810 | 57672 | 61127 | 55929 | 4075 | 4261 | 63449 | 4536 | 3955 | 4295 | 3292 | 3891 | 57674 | 4601 | 3963 | 5288 | 4375 | 4360 | 65522 | 5340 | 4152 | 6020
| 1:54 | 37 | 29556 | 4278 | 5010 | 3629 | 56074 | 4093 | 4188 | 3836 | 4364 | 4013 | 56765 | 3914 | 58920 | 4346 | 4409 | 4522 | 54492 | 53077 | 4220 | 63518 | 60010 | 58634 | 60503 | 55949 | 4145 | 4286 | 63468 | 4515 | 3885 | 4338 | 3368 | 4041 | 57976 | 4512 | 4035 | 5315 | 4380 | 4412 | 65135 | 5512 | 4143 | 6123
| 1:57 | 37 | 30322 | 4434 | 4966 | 3610 | 55694 | 4095 | 4130 | 4001 | 4468 | 3940 | 56697 | 3986 | 58881 | 4479 | 4478 | 4543 | 54523 | 53064 | 4300 | 62923 | 59808 | 58008 | 60306 | 56337 | 4192 | 4386 | 64035 | 4578 | 3982 | 4307 | 3273 | 4006 | 58273 | 4549 | 4066 | 5203 | 4395 | 4401 | 65496 | 5583 | 4356 | 6253
| 2:00 | 37 | 31278 | 44332 | 5137 | 3664 | 55491 | 4143 | 4231 | 4008 | 4529 | 4068 | 56873 | 3968 | 58904 | 4479 | 4365 | 4436 | 54198 | 52891 | 4273 | 62476 | 59461 | 57613 | 60374 | 55398 | 4148 | 4384 | 63578 | 4634 | 4000 | 4451 | 3393 | 3963 | 58077 | 4542 | 4096 | 5392 | 4504 | 4592 | 65088 | 5341 | 4305 | 6273
Blank 484,530
| Time | A1 | A12 | A13 | A24 | C1 | C12 | C13 | C24 | E1 | E12 | E13 | E24 | G1 | G12 | G13 | G24 | H12 | H24 | I1 | I12 | I13 | I24 | J12 | J24 | K1 | K12 | K13 | K24 | L12 | L24 | M1 | M12 | M13 | M24 | N12 | N24 | O1 | O12 | O13 | O24 | P12 | P24
| 0:00 | -363 | -280 | -135 | -668 | -353 | -391 | -279 | -414 | -279 | -317 | -96 | -422 | -268 | -106 | -150 | -223 | -345 | -344 | -138 | -93 | -175 | -208 | -93 | -177 | -205 | 13 | -54 | -12 | -11 | -176 | -118 | 14 | -89 | -115 | -128 | -129 | 116 | 119 | 83 | 5 | -15 | 148
| 0:03 | -282 | -311 | -56 | -569 | -334 | -367 | -275 | -337 | -238 | -385 | 23 | -498 | -311 | -180 | -213 | -170 | -501 | -345 | -241 | -158 | -189 | -198 | -229 | -123 | -285 | -22 | -27 | -88 | -25 | -161 | -265 | -115 | -137 | -32 | -187 | 101 | 33 | -11 | 191 | 140 | -184 | 139
| 0:06 | -293 | -447 | 20 | -584 | -516 | -550 | -215 | -254 | -310 | -529 | -30 | -379 | -408 | -250 | -166 | -74 | -528 | -482 | -383 | -306 | -185 | -208 | -445 | -312 | -513 | -160 | 70 | 52 | -271 | -160 | -363 | -341 | -71 | -118 | -351 | 132 | -220 | -85 | 276 | 362 | -255 | 197
| 0:09 | -357 | -477 | 108 | -468 | -569 | -452 | -158 | -259 | -417 | -572 | 26 | -371 | -434 | -333 | -62 | -12 | -663 | -431 | -486 | -293 | 12 | -137 | -471 | -224 | -531 | -230 | 37 | 45 | -352 | -179 | -515 | -345 | -60 | 8 | -321 | 186 | -296 | -238 | 228 | 446 | -304 | 232
| 0:12 | -464 | -538 | 129 | -472 | -642 | -702 | -141 | -277 | -458 | -651 | 59 | -343 | -599 | -393 | -28 | 44 | -666 | -509 | -620 | -444 | -53 | -133 | -531 | -335 | -551 | -343 | 108 | 22 | -439 | -230 | -607 | -483 | -146 | -81 | -505 | 283 | -271 | -244 | 203 | 523 | -347 | 292
| 0:15 | -506 | -499 | 358 | -457 | -527 | -681 | 0 | -198 | -413 | -741 | 179 | -308 | -316 | -449 | -19 | 28 | -652 | -509 | -597 | -405 | -3 | -167 | -532 | -339 | -588 | -318 | 65 | 4 | -547 | -63 | -621 | -422 | -149 | -9 | -490 | 364 | -254 | -323 | 250 | 522 | -414 | 343
| 0:18 | -596 | -588 | 299 | -483 | 1482 | -714 | -35 | -241 | -505 | -676 | 79 | -337 | 3551 | -511 | 1 | -7 | -758 | -535 | -673 | 42 | -67 | -166 | -373 | -289 | -711 | -466 | 78 | -15 | -601 | -148 | -660 | -501 | -96 | 44 | -549 | 393 | -374 | -352 | 257 | 615 | -553 | 448
| 0:21 | -555 | -638 | 280 | -456 | 10116 | -766 | -65 | -234 | -559 | -800 | 199 | -342 | 18242 | -507 | -35 | 12 | 636 | -504 | -678 | 3570 | -72 | -171 | 1693 | -302 | -713 | -486 | 118 | 72 | -613 | -118 | -644 | -593 | -114 | -48 | -568 | 383 | -404 | -415 | 263 | 603 | -549 | 546
| 0:24 | -477 | -666 | 234 | -454 | 23642 | -740 | -12 | -311 | -510 | -819 | 171 | -286 | 36264 | -552 | 98 | 5 | 5980 | -65 | -629 | 14254 | 172 | 199 | 9288 | 345 | -679 | -466 | 223 | 97 | -609 | -96 | -732 | -614 | 210 | -67 | -617 | 416 | -451 | -385 | 162 | 657 | -597 | 526
| 0:27 | -394 | -638 | 266 | -550 | 35999 | -718 | -87 | -385 | -559 | -853 | 1548 | -395 | 46856 | -585 | 96 | -110 | 14364 | 2309 | -735 | 30084 | 1355 | 2917 | 19956 | 4341 | -795 | -504 | 1290 | 69 | -728 | -118 | -749 | -694 | 2267 | 71 | -715 | 513 | -389 | -386 | 386 | 654 | -620 | 556
| 0:30 | -122 | -687 | 349 | -547 | 43419 | -869 | -88 | -384 | -523 | -788 | 7748 | -399 | 52679 | -570 | -5 | -87 | 22837 | 11220 | -725 | 43610 | 7798 | 17397 | 29681 | 18241 | -721 | -547 | 6183 | 50 | -746 | -74 | -822 | -674 | 8937 | -10 | -684 | 422 | -339 | -413 | 1089 | 601 | -567 | 639
| 0:33 | 287 | -725 | 241 | -601 | 47242 | -725 | -113 | -385 | -575 | -842 | 20997 | -382 | 55109 | -537 | -95 | -110 | 30489 | 27252 | -686 | 50424 | 22867 | 40539 | 37825 | 34435 | -697 | -645 | 17824 | -44 | -761 | -98 | -841 | -701 | 19243 | -46 | -656 | 427 | -388 | -493 | 2933 | 709 | -618 | 630
| 0:36 | 916 | -657 | 302 | -446 | 50017 | -743 | -53 | -276 | -563 | -745 | 33465 | -392 | 56587 | -549 | 79 | 37 | 35720 | 39401 | -618 | 54795 | 38422 | 55084 | 43479 | 46639 | -727 | -498 | 32936 | 62 | -702 | -94 | -801 | -614 | 28266 | 26 | -715 | 390 | -247 | -442 | 6249 | 666 | -648 | 748
| 0:39 | 1341 | -587 | 365 | -643 | 51145 | -819 | -176 | -381 | -494 | -838 | 40190 | -379 | 58176 | -549 | -25 | -66 | 38458 | 48818 | -669 | 56876 | 47900 | 58128 | 47994 | 53962 | -764 | -573 | 45137 | -8 | -732 | -215 | -859 | -746 | 35637 | -22 | -696 | 464 | -250 | -458 | 10830 | 635 | -645 | 699
| 0:42 | 2061 | -679 | 336 | -663 | 52312 | -761 | -127 | -447 | -555 | -868 | 45533 | -417 | 58360 | -532 | -76 | -48 | 41156 | 52554 | -585 | 58473 | 54216 | 58544 | 51345 | 56605 | -745 | -536 | 53847 | 16 | -779 | -148 | -920 | -746 | 41504 | -34 | -721 | 504 | -260 | -547 | 16916 | 728 | -651 | 687
| 0:45 | 2888 | -687 | 222 | -752 | 52763 | -752 | -217 | -500 | -561 | -861 | 50206 | -517 | 58262 | -561 | -42 | -168 | 43200 | 52902 | -661 | 59180 | 57679 | 57959 | 53043 | 55948 | -777 | -585 | 58903 | 32 | -802 | -208 | -905 | -714 | 46098 | -23 | -698 | 414 | -326 | -513 | 23930 | 687 | -672 | 780
| 0:48 | 3612 | -697 | 212 | -782 | 53534 | -821 | -219 | -444 | -579 | -826 | 53320 | -456 | 58482 | -581 | -92 | -205 | 44710 | 52899 | -646 | 59883 | 59197 | 57670 | 54383 | 56000 | -770 | -611 | 61643 | -41 | -837 | -234 | -918 | -811 | 49441 | -102 | -766 | 546 | -299 | -593 | 31345 | 677 | -669 | 807
| 0:51 | 4633 | -630 | 305 | -584 | 53821 | -741 | -191 | -503 | -488 | -731 | 55672 | -379 | 58433 | -371 | -31 | -37 | 45646 | 52866 | -590 | 60952 | 59538 | 57359 | 55006 | 55693 | -688 | -636 | 62217 | -29 | -673 | -170 | -858 | -731 | 52473 | 76 | -687 | 416 | -194 | -458 | 38892 | 668 | -687 | 749
| 0:54 | 5454 | -538 | 217 | -719 | 54107 | -792 | -280 | -518 | -522 | -864 | 56171 | -568 | 57907 | -538 | -48 | -103 | 46950 | 51672 | -656 | 60969 | 58675 | 57575 | 56534 | 55830 | -609 | -664 | 62609 | -74 | -757 | -238 | -1000 | -727 | 54234 | -40 | -729 | 406 | -246 | -492 | 44913 | 667 | -656 | 804
| 0:57 | 6123 | -568 | 178 | -759 | 53855 | -827 | -220 | -557 | -501 | -952 | 55880 | -629 | 58193 | -596 | -116 | -161 | 47831 | 52070 | -693 | 61480 | 58940 | 56617 | 56966 | 55209 | -731 | -659 | 62277 | -83 | -846 | -249 | -1110 | -910 | 55603 | -167 | -818 | 475 | -264 | -531 | 49533 | 718 | -655 | 811
| 1:00 | 7268 | -705 | 291 | -866 | 53488 | -831 | -332 | -640 | -619 | -900 | 55660 | -500 | 57736 | -486 | -254 | -147 | 49154 | 51625 | -659 | 61557 | 58861 | 57240 | 57181 | 54995 | -782 | -645 | 62421 | -64 | -806 | -215 | -1074 | -805 | 55964 | -108 | -744 | 391 | -318 | -540 | 52546 | 696 | -695 | 890
| 1:03 | 8450 | -665 | 132 | -933 | 53987 | -876 | -458 | -665 | -566 | -995 | 55374 | -642 | 57191 | -561 | -203 | -269 | 49637 | 51378 | -666 | 61624 | 58349 | 56416 | 57649 | 54409 | -767 | -648 | 62213 | -44 | -840 | -375 | -1092 | -830 | 55552 | -97 | -732 | 419 | -207 | -469 | 53323 | 694 | -765 | 853
| 1:06 | 9517 | -651 | 215 | -941 | 53806 | -795 | -505 | -623 | -553 | -939 | 55032 | -547 | 57806 | -509 | -259 | -261 | 50457 | 50687 | -626 | 61935 | 57796 | 56137 | 57813 | 54443 | -856 | -586 | 61180 | -81 | -866 | -286 | -1121 | -835 | 55940 | -104 | -785 | 419 | -306 | -518 | 55021 | 677 | -637 | 845
| 1:09 | 10501 | -638 | 244 | -838 | 52558 | -850 | -458 | -620 | -488 | -951 | 54835 | -616 | 56881 | -530 | -308 | -246 | 50840 | 50810 | -761 | 61566 | 57579 | 56012 | 57696 | 53880 | -793 | -675 | 60724 | -111 | -805 | -326 | -1169 | -768 | 55645 | -209 | -734 | 308 | -358 | -554 | 56674 | 726 | -645 | 899
| 1:12 | 11624 | -618 | 83 | -919 | 53216 | -826 | -493 | -801 | -545 | -863 | 53987 | -706 | 57083 | -559 | -325 | -195 | 50858 | 50617 | -671 | 61305 | 58250 | 55269 | 57560 | 54005 | -761 | -618 | 61206 | -188 | -894 | -364 | -1224 | -893 | 55610 | -150 | -872 | 505 | -267 | -559 | 57176 | 639 | -741 | 1030
| 1:15 | 12717 | -598 | 175 | -986 | 52587 | -845 | -526 | -677 | -505 | -914 | 54145 | -711 | 56975 | -546 | -312 | -248 | 51317 | 50241 | -742 | 61077 | 56652 | 55899 | 57798 | 53397 | -788 | -664 | 61313 | -152 | -956 | -365 | -1197 | -792 | 55049 | -277 | -867 | 358 | -365 | -520 | 57928 | 648 | -722 | 1103
| 1:18 | 13598 | -602 | 170 | -1000 | 52449 | -820 | -599 | -721 | -515 | -966 | 54173 | -681 | 56831 | -460 | -291 | -304 | 51735 | 50476 | -711 | 60763 | 56710 | 54774 | 57509 | 53274 | -758 | -597 | 60701 | -159 | -866 | -368 | -1183 | -841 | 54399 | -243 | -771 | 474 | -303 | -444 | 58734 | 567 | -712 | 884
| 1:21 | 14691 | -691 | 48 | -1014 | 52039 | -837 | -530 | -794 | -597 | -942 | 54106 | -727 | 55879 | -547 | -412 | -313 | 51066 | 50211 | -727 | 60742 | 56735 | 55478 | 57131 | 53585 | -906 | -561 | 60616 | -118 | -885 | -381 | -1322 | -925 | 54263 | -183 | -750 | 344 | -393 | -427 | 59737 | 597 | -763 | 1000
| 1:24 | 15654 | -685 | 158 | -978 | 52068 | -740 | -476 | -793 | -568 | -884 | 54077 | -721 | 56210 | -520 | -293 | -337 | 51255 | 50175 | -611 | 60793 | 56867 | 54636 | 57279 | 52678 | -685 | -551 | 60172 | -181 | -820 | -425 | -1334 | -832 | 54283 | -175 | -888 | 394 | -338 | -494 | 59971 | 666 | -713 | 1035
| 1:27 | 16820 | -596 | 24 | -1120 | 52184 | -914 | -625 | -857 | -591 | -977 | 53344 | -818 | 55521 | -554 | -469 | -402 | 51571 | 49596 | -704 | 61024 | 56177 | 54302 | 57086 | 52235 | -853 | -647 | 60008 | -315 | -939 | -546 | -1450 | -894 | 54077 | -187 | -787 | 465 | -505 | -545 | 60374 | 594 | -838 | 1109
| 1:30 | 17928 | -657 | 50 | -1064 | 51438 | -863 | -702 | -733 | -520 | -923 | 53613 | -833 | 55398 | -579 | -358 | -377 | 51103 | 49557 | -709 | 60113 | 55866 | 54947 | 56693 | 52421 | -803 | -647 | 60111 | -292 | -981 | -497 | -1493 | -925 | 54503 | -279 | -875 | 434 | -441 | -504 | 59832 | 505 | -685 | 1123
| 1:33 | 18908 | -575 | 148 | -1095 | 51507 | -803 | -619 | -911 | -507 | -1044 | 53102 | -867 | 55521 | -532 | -421 | -372 | 50508 | 49054 | -625 | 61110 | 55945 | 54328 | 56535 | 52492 | -707 | -659 | 59810 | -223 | -929 | -502 | -1407 | -921 | 53469 | -145 | -916 | 344 | -407 | -519 | 60548 | 667 | -686 | 1111
| 1:36 | 19653 | -629 | 177 | -1183 | 51740 | -823 | -719 | -910 | -539 | -892 | 52977 | -918 | 55537 | -596 | -497 | -420 | 50777 | 48938 | -796 | 59513 | 56048 | 54048 | 56074 | 52106 | -734 | -586 | 59151 | -446 | -908 | -551 | -1510 | -872 | 53650 | -277 | -850 | 386 | -376 | -463 | 60751 | 590 | -725 | 1060
| 1:39 | 20378 | -649 | 43 | -1198 | 51508 | -851 | -655 | -863 | -622 | -911 | 53028 | -915 | 54833 | -491 | -442 | -389 | 50550 | 48683 | -643 | 59644 | 55924 | 53625 | 55972 | 52340 | -752 | -630 | 59764 | -283 | -947 | -523 | -1374 | -993 | 53168 | -371 | -959 | 358 | -501 | -563 | 60734 | 691 | -710 | 1185
| 1:42 | 21634 | -694 | 15 | -1204 | 51228 | -809 | -717 | -953 | -516 | -859 | 52632 | -900 | 54592 | -545 | -505 | -366 | 50301 | 48860 | -677 | 59567 | 55535 | 54411 | 56043 | 51453 | -837 | -589 | 59604 | -384 | -911 | -395 | -1541 | -1028 | 53682 | -306 | -798 | 350 | -508 | -480 | 61456 | 488 | -744 | 1183
| 1:45 | 22445 | -621 | 31 | -1253 | 50989 | -837 | -666 | -885 | -564 | -924 | 52479 | -975 | 55197 | -594 | -397 | -457 | 50047 | 49161 | -615 | 58194 | 55836 | 53603 | 55474 | 51292 | -736 | -557 | 58592 | -342 | -925 | -486 | -1416 | -914 | 52983 | -259 | -835 | 389 | -456 | -489 | 61179 | 488 | -697 | 1142
| 1:48 | 23063 | -689 | 126 | -1217 | 50555 | -823 | -664 | -848 | -445 | -887 | 52728 | -914 | 54782 | -479 | -417 | -333 | 50162 | 48509 | -646 | 58850 | 55148 | 53561 | 55727 | 50978 | -731 | -567 | 58504 | -312 | -995 | -580 | -1500 | -830 | 53346 | -273 | -882 | 480 | -453 | -572 | 61017 | 579 | -738 | 1133
| 1:51 | 23897 | -552 | 143 | -1226 | 50964 | -869 | -709 | -1040 | -462 | -937 | 52335 | -1007 | 54899 | -614 | -434 | -411 | 49971 | 48742 | -663 | 58659 | 54956 | 52818 | 56273 | 51075 | -779 | -593 | 58595 | -318 | -899 | -559 | -1562 | -963 | 52820 | -253 | -891 | 434 | -479 | -494 | 60668 | 486 | -702 | 1166
| 1:54 | 24633 | -645 | 87 | -1294 | 51151 | -830 | -735 | -1087 | -559 | -910 | 51842 | -1009 | 53997 | -577 | -514 | -401 | 49569 | 48154 | -703 | 58595 | 55087 | 53711 | 55580 | 51026 | -778 | -637 | 58545 | -408 | -1038 | -585 | -1555 | -882 | 53053 | -411 | -888 | 392 | -543 | -511 | 60212 | 589 | -780 | 1200
| 1:57 | 25345 | -543 | -11 | -1367 | 50717 | -882 | -847 | -976 | -509 | -1037 | 51720 | -991 | 53904 | -498 | -499 | -434 | 49546 | 48087 | -677 | 57946 | 54831 | 53031 | 55329 | 51360 | -785 | -591 | 59058 | -399 | -995 | -670 | -1704 | -971 | 53296 | -428 | -911 | 226 | -582 | -576 | 60519 | 606 | -621 | 1276
| 2:00 | 26278 | -668 | 137 | -1336 | 50491 | -857 | -769 | -992 | -471 | -932 | 51873 | -1032 | 53904 | -521 | -635 | -564 | 49198 | 47891 | -727 | 57476 | 54461 | 52613 | 55374 | 50398 | -852 | -616 | 58578 | -366 | -1000 | -549 | -1607 | -1037 | 53077 | -458 | -904 | 392 | -496 | -408 | 60088 | 341 | -695 | 1273
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | 1: 366816.667; 12: -22772.222; 13: 31177.778; 24: -28161.111 | Max V [Blank 484,530]
|  | 1: 0.999; 12: 0.95; 13: 0.9; 24: 0.978 | R-Squared [Blank 484,530]
|  | 1: 1:03; 12: 0:06; 13: 0:09; 24: 0:57 | t at Max V [Blank 484,530]
|  | 1: 0:39; 12: 0:00; 13: 0:01; 24: 0:53 | Lagtime [Blank 484,530]
| B | [24 empty] | Max V [Blank 484,530]
R-Squared [Blank 484,530]
t at Max V [Blank 484,530]
Lagtime [Blank 484,530]
| C | 1: 3658616.667; 12: -26055.556; 13: -22977.778; 24: -15194.444 | Max V [Blank 484,530]
|  | 1: 0.991; 12: 0.731; 13: 0.826; 24: 0.707 | R-Squared [Blank 484,530]
|  | 1: 0:24; 12: 0:09; 13: 1:00; 24: 0:42 | t at Max V [Blank 484,530]
|  | 1: 0:18; 12: 0:03; 13: 0:57; 24: 0:42 | Lagtime [Blank 484,530]
| D | [24 empty] | Max V [Blank 484,530]
R-Squared [Blank 484,530]
t at Max V [Blank 484,530]
Lagtime [Blank 484,530]
| E | 1: -17938.889; 12: -28538.889; 13: 3433394.444; 24: -15261.111 | Max V [Blank 484,530]
|  | 1: 0.826; 12: 0.973; 13: 0.985; 24: 0.451 | R-Squared [Blank 484,530]
|  | 1: 0:06; 12: 0:06; 13: 0:33; 24: 0:57 | t at Max V [Blank 484,530]
|  | 1: 0:03; 12: ?????; 13: 0:27; 24: 0:49 | Lagtime [Blank 484,530]
| F | [24 empty] | Max V [Blank 484,530]
R-Squared [Blank 484,530]
t at Max V [Blank 484,530]
Lagtime [Blank 484,530]
| G | 1: 4235227.778; 12: -24272.222; 13: -18327.778; 24: 23027.778 | Max V [Blank 484,530]
|  | 1: 0.968; 12: 0.998; 13: 0.808; 24: 0.991 | R-Squared [Blank 484,530]
|  | 1: 0:21; 12: 0:06; 13: 0:57; 24: 0:06 | t at Max V [Blank 484,530]
|  | 1: 0:16; 12: ?????; 13: 0:58; 24: 0:00 | Lagtime [Blank 484,530]
| H | 12: 2552172.222; 24: 4039994.444 | Max V [Blank 484,530]
|  | 12: 0.995; 24: 0.992 | R-Squared [Blank 484,530]
|  | 12: 0:27; 24: 0:33 | t at Max V [Blank 484,530]
|  | 12: 0:21; 24: 0:27 | Lagtime [Blank 484,530]
| I | 1: -40338.889; 12: 4102205.556; 13: 4123827.778; 24: 4936994.444 | Max V [Blank 484,530]
|  | 1: 0.998; 12: 0.986; 13: 0.984; 24: 0.95 | R-Squared [Blank 484,530]
|  | 1: 0:06; 12: 0:27; 13: 0:33; 24: 0:33 | t at Max V [Blank 484,530]
|  | 1: 0:00; 12: 0:20; 13: 0:27; 24: 0:26 | Lagtime [Blank 484,530]
| J | 12: 3088638.889; 24: 4254694.444 | Max V [Blank 484,530]
|  | 12: 0.997; 24: 0.984 | R-Squared [Blank 484,530]
|  | 12: 0:27; 24: 0:33 | t at Max V [Blank 484,530]
|  | 12: 0:21; 24: 0:26 | Lagtime [Blank 484,530]
| K | 1: -31305.556; 12: -30705.556; 13: 4087977.778; 24: -15416.667 | Max V [Blank 484,530]
|  | 1: 0.858; 12: 0.976; 13: 0.993; 24: 0.724 | R-Squared [Blank 484,530]
|  | 1: 0:06; 12: 0:06; 13: 0:36; 24: 1:24 | t at Max V [Blank 484,530]
|  | 1: ?????; 12: 0:01; 13: 0:28; 24: 1:11 | Lagtime [Blank 484,530]
| L | 12: -40455.556; 24: -15138.889 | Max V [Blank 484,530]
|  | 12: 0.942; 24: 0.787 | R-Squared [Blank 484,530]
|  | 12: 0:09; 24: 1:48 | t at Max V [Blank 484,530]
|  | 12: 0:01; 24: 1:25 | Lagtime [Blank 484,530]
| M | 1: -40972.222; 12: -40838.889; 13: 2868994.444; 24: -18161.111 | Max V [Blank 484,530]
|  | 1: 0.994; 12: 0.94; 13: 0.996; 24: 0.83 | R-Squared [Blank 484,530]
|  | 1: 0:06; 12: 0:06; 13: 0:33; 24: 1:54 | t at Max V [Blank 484,530]
|  | 1: ?????; 12: ?????; 13: 0:26; 24: 1:40 | Lagtime [Blank 484,530]
| N | 12: -29638.889; 24: 30261.111 | Max V [Blank 484,530]
|  | 12: 0.902; 24: 0.885 | R-Squared [Blank 484,530]
|  | 12: 0:06; 24: 0:06 | t at Max V [Blank 484,530]
|  | 12: 0:00; 24: ????? | Lagtime [Blank 484,530]
| O | 1: -36805.556; 12: -31805.556; 13: 2365183.333; 24: 44694.444 | Max V [Blank 484,530]
|  | 1: 0.853; 12: 0.951; 13: 0.999; 24: 0.961 | R-Squared [Blank 484,530]
|  | 1: 0:06; 12: 0:06; 13: 0:48; 24: 0:06 | t at Max V [Blank 484,530]
|  | 1: ?????; 12: ?????; 13: 0:35; 24: ????? | Lagtime [Blank 484,530]
| P | 12: -26172.222; 24: 26111.111 | Max V [Blank 484,530]
|  | 12: 0.908; 24: 0.977 | R-Squared [Blank 484,530]
|  | 12: 0:06; 24: 0:15 | t at Max V [Blank 484,530]
|  | 12: ?????; 24: 0:06 | Lagtime [Blank 484,530]

## plate_map
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | F6124_3_A_18 | [10 empty] | EBK-1-1 | F6124_3_A_18 | [10 empty] | EBK-1-1
B
C | YUR24_3_A_1 | [10 empty] | EBK-1-2 | YUR24_3_A_1 | [10 empty] | EBK-1-2
D
E | YUR24_3_E_1 | [10 empty] | EBK-1-3 | YUR24_3_E_1 | [10 empty] | EBK-1-3
F
G | BUT24_4_A_4 | [10 empty] | EBK-1-4 | BUT24_4_A_4 | [10 empty] | EBK-1-4
H | [11 empty] | POS-DNA-1 | [11 empty] | POS-DNA-1
I | CLR24_4_A_22 | [10 empty] | POS-DNA-2 | CLR24_4_A_22 | [10 empty] | POS-DNA-2
J | [11 empty] | POS-DNA-3 | [11 empty] | POS-DNA-3
K | CLR24_4_A_25 | [10 empty] | NEG-DNA-1 | CLR24_4_A_25 | [10 empty] | NEG-DNA-1
L | [11 empty] | NEG-DNA-2 | [11 empty] | NEG-DNA-2
M | CLR24_4_C_2 | [10 empty] | NEG-DNA-3 | CLR24_4_C_2 | [10 empty] | NEG-DNA-3
N | [11 empty] | NTC-1 | [11 empty] | NTC-1
O | CLR24_4_D_1 | [10 empty] | NTC-2 | CLR24_4_D_1 | [10 empty] | NTC-2
P | [11 empty] | NTC-3 | [11 empty] | NTC-3