## sherlock_output
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\240514_JPE24_L_E11-12_P1-4_SH.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\384_SHERLOCK_15min_3min.prt
Plate Number | Plate 1
Date | 2024-05-14
Time | 15:07
Reader Type: | Synergy H1
Reader Serial Number: | 21111913
Reading Type | Reader
Procedure Details
Plate Type | Corning 384 Low volume round bottom
Eject plate on completion
Set Temperature | Setpoint 37°C
Preheat before moving to next step
Start Kinetic | Runtime 0:15:00 (HH:MM:SS), Interval 0:03:00, 6 Reads
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 484, Emission: 530
Optics: Top, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 10 mm
End Kinetic
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | SPL1 | SPL17 | SPL33 | SPL49 | SPL65 | SPL81 | SPL97 | SPL113 | SPL129 | SPL145 | SPL161 | SPL177 | SPL193 | SPL209 | SPL225 | SPL241 | SPL257 | SPL273 | SPL289 | SPL305 | SPL321 | SPL337 | SPL353 | SPL369 | Well ID
| B | SPL2 | SPL18 | SPL34 | SPL50 | SPL66 | SPL82 | SPL98 | SPL114 | SPL130 | SPL146 | SPL162 | SPL178 | SPL194 | SPL210 | SPL226 | SPL242 | SPL258 | SPL274 | SPL290 | SPL306 | SPL322 | SPL338 | SPL354 | SPL370 | Well ID
| C | SPL3 | SPL19 | SPL35 | SPL51 | SPL67 | SPL83 | SPL99 | SPL115 | SPL131 | SPL147 | SPL163 | SPL179 | SPL195 | SPL211 | SPL227 | SPL243 | SPL259 | SPL275 | SPL291 | SPL307 | SPL323 | SPL339 | SPL355 | SPL371 | Well ID
| D | SPL4 | SPL20 | SPL36 | SPL52 | SPL68 | SPL84 | SPL100 | SPL116 | SPL132 | SPL148 | SPL164 | SPL180 | SPL196 | SPL212 | SPL228 | SPL244 | SPL260 | SPL276 | SPL292 | SPL308 | SPL324 | SPL340 | SPL356 | SPL372 | Well ID
| E | SPL5 | SPL21 | SPL37 | SPL53 | SPL69 | SPL85 | SPL101 | SPL117 | SPL133 | SPL149 | SPL165 | SPL181 | SPL197 | SPL213 | SPL229 | SPL245 | SPL261 | SPL277 | SPL293 | SPL309 | SPL325 | SPL341 | SPL357 | SPL373 | Well ID
| F | SPL6 | SPL22 | SPL38 | SPL54 | SPL70 | SPL86 | SPL102 | SPL118 | SPL134 | SPL150 | SPL166 | SPL182 | SPL198 | SPL214 | SPL230 | SPL246 | SPL262 | SPL278 | SPL294 | SPL310 | SPL326 | SPL342 | SPL358 | SPL374 | Well ID
| G | SPL7 | SPL23 | SPL39 | SPL55 | SPL71 | SPL87 | SPL103 | SPL119 | SPL135 | SPL151 | SPL167 | SPL183 | SPL199 | SPL215 | SPL231 | SPL247 | SPL263 | SPL279 | SPL295 | SPL311 | SPL327 | SPL343 | SPL359 | SPL375 | Well ID
| H | SPL8 | SPL24 | SPL40 | SPL56 | SPL72 | SPL88 | SPL104 | SPL120 | SPL136 | SPL152 | SPL168 | SPL184 | SPL200 | SPL216 | SPL232 | SPL248 | SPL264 | SPL280 | SPL296 | SPL312 | SPL328 | SPL344 | SPL360 | SPL376 | Well ID
| I | SPL9 | SPL25 | SPL41 | SPL57 | SPL73 | SPL89 | SPL105 | SPL121 | SPL137 | SPL153 | SPL169 | SPL185 | SPL201 | SPL217 | SPL233 | SPL249 | SPL265 | SPL281 | SPL297 | SPL313 | SPL329 | SPL345 | SPL361 | SPL377 | Well ID
| J | SPL10 | SPL26 | SPL42 | SPL58 | SPL74 | SPL90 | SPL106 | SPL122 | SPL138 | SPL154 | SPL170 | SPL186 | SPL202 | SPL218 | SPL234 | SPL250 | SPL266 | SPL282 | SPL298 | SPL314 | SPL330 | SPL346 | SPL362 | SPL378 | Well ID
| K | SPL11 | SPL27 | SPL43 | SPL59 | SPL75 | SPL91 | SPL107 | SPL123 | SPL139 | SPL155 | SPL171 | SPL187 | SPL203 | SPL219 | SPL235 | SPL251 | SPL267 | SPL283 | SPL299 | SPL315 | SPL331 | SPL347 | SPL363 | SPL379 | Well ID
| L | SPL12 | SPL28 | SPL44 | SPL60 | SPL76 | SPL92 | SPL108 | SPL124 | SPL140 | SPL156 | SPL172 | SPL188 | SPL204 | SPL220 | SPL236 | SPL252 | SPL268 | SPL284 | SPL300 | SPL316 | SPL332 | SPL348 | SPL364 | SPL380 | Well ID
| M | SPL13 | SPL29 | SPL45 | SPL61 | SPL77 | SPL93 | SPL109 | SPL125 | SPL141 | SPL157 | SPL173 | SPL189 | SPL205 | SPL221 | SPL237 | SPL253 | SPL269 | SPL285 | SPL301 | SPL317 | SPL333 | SPL349 | SPL365 | SPL381 | Well ID
| N | SPL14 | SPL30 | SPL46 | SPL62 | SPL78 | SPL94 | SPL110 | SPL126 | SPL142 | SPL158 | SPL174 | SPL190 | SPL206 | SPL222 | SPL238 | SPL254 | SPL270 | SPL286 | SPL302 | SPL318 | SPL334 | SPL350 | SPL366 | SPL382 | Well ID
| O | SPL15 | SPL31 | SPL47 | SPL63 | SPL79 | SPL95 | SPL111 | SPL127 | SPL143 | SPL159 | SPL175 | SPL191 | SPL207 | SPL223 | SPL239 | SPL255 | SPL271 | SPL287 | SPL303 | SPL319 | SPL335 | SPL351 | SPL367 | SPL383 | Well ID
| P | SPL16 | SPL32 | SPL48 | SPL64 | SPL80 | SPL96 | SPL112 | SPL128 | SPL144 | SPL160 | SPL176 | SPL192 | SPL208 | SPL224 | SPL240 | SPL256 | SPL272 | SPL288 | SPL304 | SPL320 | SPL336 | SPL352 | SPL368 | SPL384 | Well ID
484530
| Time | T° 484,530 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | A13 | A14 | A15 | A16 | A17 | A18 | A19 | A20 | A21 | A22 | A23 | A24 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | B13 | B14 | B15 | B16 | B17 | B18 | B19 | B20 | B21 | B22 | B23 | B24 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | C13 | C14 | C15 | C16 | C17 | C18 | C19 | C20 | C21 | C22 | C23 | C24 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | D13 | D14 | D15 | D16 | D17 | D18 | D19 | D20 | D21 | D22 | D23 | D24
| 0:00 | 37 | 42996 | 41579 | 39038 | 3987 | 3767 | 44388 | 43288 | 44289 | 41921 | 45155 | 44291 | 45792 | 41067 | 43370 | 43151 | 43038 | 41297 | 43615 | 38724 | 43544 | 204 | 43520 | 216 | 44933 | 45282 | 44060 | 44191 | 42996 | 42978 | 41738 | 45461 | 480 | 4328 | 201 | 46159 | 217 | 46080 | 223 | 44382 | 210 | 42862 | 225 | 4405 | 234 | 7391 | 209 | 42330 | 227 | 3855 | 44698 | 3762 | 13994 | 44436 | 44402 | 43160 | 45551 | 43173 | 47427 | 45311 | 45975 | 43899 | 44707 | 44993 | 44660 | 45771 | 45143 | 44583 | 3645 | 213 | 42688 | 201 | 46205 | 47124 | 45986 | 4546 | 47134 | 46123 | 4967 | 47830 | 249 | 45484 | 229 | 47617 | 216 | 48087 | 225 | 47567 | 232 | 46829 | 213 | 47027 | 237 | 39281 | 215 | 43869 | 222
| 0:03 | 37 | 53291 | 54602 | 49915 | 4929 | 4695 | 54295 | 53482 | 54996 | 52136 | 55451 | 54007 | 53428 | 51290 | 53153 | 51814 | 53331 | 50173 | 52660 | 46941 | 52799 | 215 | 52214 | 218 | 52334 | 54490 | 54249 | 54008 | 52847 | 52928 | 51567 | 55392 | 450 | 5410 | 215 | 56685 | 229 | 55759 | 199 | 54110 | 221 | 52294 | 219 | 5284 | 225 | 9248 | 195 | 51450 | 193 | 4720 | 54330 | 4503 | 17744 | 54248 | 54659 | 52467 | 55592 | 52267 | 56109 | 54079 | 55404 | 52384 | 52846 | 53325 | 53170 | 54464 | 53949 | 53133 | 4408 | 222 | 51214 | 216 | 51748 | 54242 | 54076 | 5432 | 56475 | 54949 | 5884 | 56894 | 221 | 53265 | 232 | 55897 | 204 | 55390 | 246 | 55319 | 215 | 54533 | 215 | 54994 | 239 | 46609 | 232 | 52191 | 236
| 0:06 | 37 | 52812 | 55678 | 51032 | 5007 | 4713 | 54536 | 54144 | 55486 | 52905 | 57001 | 55420 | 53514 | 52009 | 53357 | 52080 | 54223 | 50970 | 54030 | 47837 | 53252 | 206 | 52969 | 205 | 52730 | 54536 | 54731 | 54503 | 53976 | 53346 | 52758 | 56890 | 486 | 5588 | 223 | 57305 | 220 | 56269 | 231 | 55508 | 209 | 53394 | 214 | 5443 | 217 | 9387 | 236 | 52853 | 209 | 4795 | 55039 | 4662 | 18596 | 54936 | 55401 | 53655 | 56040 | 54023 | 57307 | 54863 | 56578 | 52915 | 54241 | 54323 | 54478 | 55531 | 54919 | 53435 | 4532 | 216 | 51671 | 222 | 52453 | 54995 | 54682 | 5502 | 56733 | 56278 | 5860 | 56995 | 207 | 53618 | 208 | 57957 | 220 | 55779 | 207 | 56695 | 224 | 55286 | 207 | 55087 | 232 | 47330 | 210 | 53135 | 205
| 0:09 | 37 | 54356 | 55779 | 50687 | 5214 | 4849 | 54763 | 54914 | 56401 | 53479 | 56986 | 55981 | 53453 | 51865 | 53530 | 52244 | 54181 | 51258 | 54245 | 48108 | 53517 | 217 | 52559 | 192 | 52271 | 55118 | 55106 | 54756 | 53795 | 54081 | 52305 | 56682 | 473 | 5510 | 247 | 58160 | 204 | 56343 | 209 | 56228 | 209 | 52781 | 205 | 5495 | 207 | 9519 | 194 | 52947 | 201 | 4823 | 54720 | 4747 | 19898 | 54583 | 55800 | 54594 | 55546 | 53972 | 56782 | 55716 | 55326 | 53291 | 54333 | 54391 | 54764 | 54823 | 54319 | 53732 | 4482 | 213 | 51477 | 205 | 51721 | 55284 | 55809 | 5607 | 57098 | 56330 | 6008 | 58093 | 230 | 54166 | 222 | 57592 | 239 | 55928 | 217 | 56569 | 232 | 55548 | 209 | 55020 | 226 | 49368 | 228 | 53475 | 202
| 0:12 | 37 | 53366 | 55499 | 50811 | 5127 | 4842 | 54324 | 55018 | 56174 | 53053 | 56741 | 56043 | 53537 | 51565 | 53671 | 52216 | 54213 | 51521 | 54478 | 47736 | 53417 | 214 | 52590 | 224 | 52514 | 54886 | 54764 | 55445 | 53864 | 53983 | 52456 | 57604 | 466 | 5614 | 220 | 58204 | 213 | 56267 | 218 | 55588 | 221 | 53367 | 221 | 5623 | 231 | 9654 | 214 | 52643 | 218 | 4860 | 55727 | 4751 | 20712 | 55925 | 56040 | 53939 | 55919 | 54161 | 56942 | 55574 | 56155 | 52900 | 54562 | 54798 | 55054 | 55490 | 53936 | 54224 | 4577 | 227 | 51529 | 214 | 52340 | 55094 | 55726 | 5658 | 56782 | 55665 | 6116 | 57414 | 218 | 54551 | 221 | 58143 | 230 | 56486 | 217 | 57051 | 219 | 55233 | 191 | 55229 | 200 | 49810 | 204 | 53425 | 184
| 0:15 | 37 | 53810 | 55535 | 50895 | 5314 | 4834 | 54509 | 55023 | 55757 | 53062 | 56937 | 55849 | 53239 | 51981 | 53287 | 52133 | 53831 | 51480 | 54266 | 48116 | 53687 | 219 | 52733 | 216 | 52163 | 54175 | 54661 | 54658 | 53652 | 54592 | 52293 | 57305 | 441 | 5575 | 234 | 57618 | 247 | 55819 | 237 | 55752 | 229 | 53478 | 252 | 5691 | 238 | 9901 | 200 | 52536 | 203 | 5037 | 55397 | 4880 | 21274 | 54809 | 55806 | 53812 | 55495 | 53990 | 57332 | 55474 | 56589 | 52855 | 54605 | 54028 | 54276 | 55895 | 54953 | 53838 | 4754 | 226 | 51899 | 211 | 52151 | 54753 | 55238 | 5663 | 57156 | 55976 | 6347 | 58179 | 239 | 53582 | 253 | 57293 | 242 | 56018 | 237 | 57043 | 202 | 55118 | 204 | 55925 | 223 | 50457 | 207 | 53838 | 206
484530
| Time | T° 484,530 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | E13 | E14 | E15 | E16 | E17 | E18 | E19 | E20 | E21 | E22 | E23 | E24 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | F13 | F14 | F15 | F16 | F17 | F18 | F19 | F20 | F21 | F22 | F23 | F24 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | G13 | G14 | G15 | G16 | G17 | G18 | G19 | G20 | G21 | G22 | G23 | G24 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12 | H13 | H14 | H15 | H16 | H17 | H18 | H19 | H20 | H21 | H22 | H23 | H24
| 0:00 | 37 | 4045 | 46726 | 44222 | 46110 | 43572 | 44449 | 45629 | 48341 | 4695 | 48504 | 47308 | 46845 | 14146 | 45650 | 46071 | 46693 | 47117 | 47232 | 3985 | 4074 | 227 | 46531 | 180 | 50206 | 49413 | 46022 | 49455 | 51022 | 46597 | 212 | 49520 | 247 | 48838 | 199 | 51770 | 229 | 49276 | 239 | 48756 | 216 | 47215 | 235 | 46562 | 213 | 47310 | 217 | 46613 | 218 | 47662 | 47859 | 46534 | 48883 | 48561 | 47595 | 48744 | 49940 | 41181 | 48671 | 48425 | 20780 | 47374 | 47587 | 47540 | 48670 | 48042 | 49789 | 45347 | 4535 | 206 | 46454 | 233 | 49213 | 52230 | 55121 | 50171 | 53044 | 49293 | 244 | 51465 | 211 | 51293 | 220 | 52389 | 210 | 50748 | 236 | 49103 | 226 | 48605 | 233 | 47759 | 216 | 49252 | 233 | 47480 | 231
| 0:03 | 37 | 4824 | 55704 | 51395 | 55237 | 52298 | 53147 | 53241 | 57025 | 5374 | 55307 | 54352 | 54293 | 17108 | 52083 | 53496 | 53685 | 54165 | 55108 | 4442 | 4724 | 214 | 52888 | 218 | 53518 | 55539 | 52711 | 56339 | 57909 | 54542 | 206 | 57173 | 241 | 55787 | 224 | 59211 | 233 | 55409 | 242 | 56122 | 228 | 54311 | 209 | 53869 | 212 | 53766 | 222 | 53118 | 238 | 54389 | 56079 | 53361 | 56982 | 54919 | 54739 | 55866 | 56608 | 47025 | 55465 | 54997 | 24037 | 52321 | 52570 | 53527 | 54288 | 53056 | 55177 | 50703 | 4923 | 234 | 52738 | 220 | 51908 | 57488 | 57738 | 56227 | 57908 | 56170 | 231 | 56588 | 208 | 55938 | 212 | 58284 | 218 | 55170 | 255 | 55254 | 215 | 54185 | 224 | 54258 | 218 | 55286 | 230 | 52693 | 212
| 0:06 | 37 | 4904 | 55894 | 52593 | 55671 | 53027 | 53896 | 54249 | 57544 | 5597 | 55934 | 55772 | 56171 | 17700 | 53132 | 53437 | 54474 | 54341 | 54952 | 4813 | 4735 | 231 | 53531 | 231 | 53519 | 55737 | 53572 | 56709 | 58965 | 54741 | 218 | 56962 | 222 | 56837 | 218 | 60655 | 224 | 56837 | 218 | 55967 | 219 | 55026 | 199 | 54799 | 225 | 53790 | 198 | 54184 | 220 | 54660 | 56421 | 53712 | 57478 | 55437 | 54641 | 56707 | 56616 | 47839 | 56369 | 55634 | 25186 | 53571 | 53896 | 54089 | 54570 | 53342 | 55871 | 50788 | 5033 | 234 | 52861 | 207 | 52052 | 57943 | 58087 | 56271 | 57872 | 56386 | 242 | 57364 | 234 | 56772 | 223 | 59412 | 201 | 56087 | 214 | 55672 | 224 | 54270 | 223 | 54501 | 245 | 54786 | 222 | 53560 | 223
| 0:09 | 37 | 5149 | 55965 | 52535 | 55845 | 54095 | 53771 | 54082 | 57589 | 5590 | 56938 | 55978 | 56441 | 18486 | 53756 | 53379 | 53571 | 54559 | 54836 | 4749 | 4805 | 219 | 53297 | 222 | 53586 | 56014 | 52828 | 57003 | 58874 | 55041 | 209 | 57490 | 203 | 56905 | 201 | 60561 | 244 | 56763 | 209 | 56339 | 231 | 54758 | 217 | 55045 | 240 | 53888 | 229 | 54669 | 210 | 54439 | 56221 | 54594 | 57671 | 55764 | 55494 | 56101 | 57266 | 48112 | 56195 | 55852 | 26443 | 53304 | 53157 | 54269 | 54286 | 53610 | 56315 | 51303 | 5155 | 209 | 53174 | 248 | 52129 | 57562 | 58154 | 56305 | 58141 | 57425 | 208 | 56902 | 221 | 56996 | 227 | 59051 | 188 | 55453 | 206 | 55721 | 236 | 54637 | 227 | 54585 | 205 | 55438 | 229 | 54052 | 232
| 0:12 | 37 | 5043 | 55957 | 52561 | 56405 | 53388 | 53596 | 54319 | 57273 | 5648 | 56662 | 55836 | 56505 | 19101 | 53507 | 54030 | 54175 | 54403 | 54601 | 4777 | 4971 | 251 | 53333 | 197 | 53472 | 56013 | 53117 | 57260 | 59159 | 55467 | 225 | 57369 | 203 | 56825 | 234 | 60587 | 235 | 56889 | 205 | 56372 | 220 | 55193 | 238 | 55617 | 221 | 53946 | 236 | 53986 | 245 | 54118 | 56684 | 54386 | 57728 | 55698 | 55603 | 56195 | 56956 | 48275 | 56122 | 56034 | 27840 | 53259 | 53339 | 54730 | 54322 | 53719 | 55947 | 51260 | 5189 | 228 | 53519 | 207 | 51472 | 57947 | 58064 | 56143 | 58278 | 56299 | 221 | 57413 | 222 | 56434 | 214 | 59452 | 206 | 55192 | 230 | 55571 | 194 | 53942 | 243 | 54707 | 235 | 55613 | 216 | 53868 | 211
| 0:15 | 37 | 5037 | 56134 | 52653 | 56121 | 53648 | 53929 | 54761 | 57562 | 5742 | 56370 | 56545 | 56759 | 19962 | 53865 | 53202 | 53872 | 54859 | 54306 | 4885 | 4896 | 227 | 53794 | 206 | 53132 | 55303 | 52491 | 57454 | 58801 | 55575 | 218 | 57170 | 227 | 56727 | 240 | 61019 | 232 | 56687 | 229 | 55847 | 215 | 54491 | 211 | 55459 | 226 | 53857 | 233 | 54546 | 230 | 54771 | 56729 | 54113 | 57210 | 55827 | 55481 | 56246 | 57754 | 49308 | 56044 | 55853 | 28447 | 53417 | 53631 | 54738 | 55083 | 54546 | 56241 | 51066 | 5287 | 209 | 52549 | 214 | 51348 | 57722 | 57791 | 56185 | 57710 | 56904 | 206 | 57672 | 214 | 57104 | 208 | 58688 | 229 | 55449 | 223 | 56035 | 193 | 54011 | 205 | 54110 | 229 | 55674 | 195 | 54007 | 240
484530
| Time | T° 484,530 | I1 | I2 | I3 | I4 | I5 | I6 | I7 | I8 | I9 | I10 | I11 | I12 | I13 | I14 | I15 | I16 | I17 | I18 | I19 | I20 | I21 | I22 | I23 | I24 | J1 | J2 | J3 | J4 | J5 | J6 | J7 | J8 | J9 | J10 | J11 | J12 | J13 | J14 | J15 | J16 | J17 | J18 | J19 | J20 | J21 | J22 | J23 | J24 | K1 | K2 | K3 | K4 | K5 | K6 | K7 | K8 | K9 | K10 | K11 | K12 | K13 | K14 | K15 | K16 | K17 | K18 | K19 | K20 | K21 | K22 | K23 | K24 | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | L9 | L10 | L11 | L12 | L13 | L14 | L15 | L16 | L17 | L18 | L19 | L20 | L21 | L22 | L23 | L24
| 0:00 | 37 | 4373 | 47104 | 46454 | 49038 | 45573 | 49055 | 49226 | 51325 | 4582 | 50647 | 49537 | 49965 | 49467 | 49161 | 47425 | 50231 | 49224 | 4683 | 4552 | 4467 | 220 | 49656 | 235 | 4668 | 52364 | 53069 | 48770 | 50112 | 52849 | 209 | 53152 | 226 | 52548 | 235 | 55706 | 221 | 51818 | 214 | 50991 | 211 | 50362 | 216 | 51363 | 196 | 51468 | 220 | 4770 | 237 | 5667 | 52413 | 45895 | 51903 | 51271 | 4127 | 48750 | 4494 | 49748 | 52091 | 50264 | 50894 | 48834 | 49991 | 49526 | 52290 | 49262 | 52017 | 273 | 4204 | 239 | 48441 | 228 | 4432 | 55639 | 53910 | 51210 | 52425 | 52825 | 206 | 52813 | 223 | 52180 | 199 | 55852 | 244 | 52142 | 223 | 51612 | 209 | 51966 | 213 | 4778 | 219 | 50243 | 233 | 4506 | 4926
| 0:03 | 37 | 4768 | 53105 | 51284 | 54343 | 50225 | 54925 | 54344 | 55454 | 5022 | 55034 | 54482 | 55010 | 54537 | 54635 | 52698 | 55257 | 54430 | 5127 | 4869 | 5087 | 243 | 54812 | 215 | 4952 | 55713 | 55842 | 53622 | 54505 | 56454 | 222 | 56935 | 223 | 57581 | 210 | 60549 | 227 | 54719 | 215 | 55805 | 214 | 54862 | 235 | 55887 | 208 | 55455 | 215 | 5294 | 231 | 6114 | 56194 | 49517 | 55823 | 55100 | 4539 | 53205 | 4819 | 53969 | 56077 | 54229 | 55366 | 51889 | 54362 | 53857 | 55540 | 52969 | 56082 | 308 | 4616 | 228 | 52733 | 214 | 4642 | 56459 | 56869 | 54140 | 54800 | 56997 | 241 | 56505 | 186 | 56639 | 221 | 60025 | 214 | 56062 | 200 | 55212 | 228 | 55825 | 205 | 5209 | 206 | 54125 | 232 | 5136 | 5116
| 0:06 | 37 | 4751 | 52920 | 52453 | 55416 | 50862 | 55370 | 53944 | 55700 | 5206 | 55296 | 54272 | 56479 | 54806 | 54945 | 53102 | 55808 | 54459 | 5283 | 5033 | 5138 | 240 | 55524 | 221 | 4987 | 55777 | 56618 | 53911 | 54348 | 56280 | 213 | 56973 | 210 | 58055 | 207 | 60607 | 242 | 54814 | 215 | 55904 | 247 | 55689 | 234 | 57018 | 206 | 55901 | 249 | 5425 | 236 | 6131 | 56155 | 49908 | 55902 | 55364 | 4624 | 53822 | 4764 | 54191 | 56239 | 54482 | 55928 | 52448 | 54968 | 54525 | 55615 | 53718 | 56601 | 331 | 4694 | 208 | 53268 | 229 | 4788 | 56414 | 57164 | 54917 | 55489 | 57575 | 211 | 56786 | 211 | 57250 | 204 | 60437 | 228 | 55517 | 202 | 55421 | 232 | 56072 | 243 | 5322 | 214 | 54581 | 235 | 5224 | 5347
| 0:09 | 37 | 4878 | 53383 | 52331 | 54988 | 51099 | 55885 | 54647 | 55855 | 5085 | 54950 | 55089 | 56148 | 54858 | 54931 | 53863 | 56065 | 54657 | 5339 | 5179 | 5131 | 219 | 55097 | 212 | 5120 | 56284 | 56335 | 54175 | 54741 | 57372 | 230 | 57077 | 206 | 57831 | 196 | 60887 | 232 | 55067 | 215 | 56235 | 201 | 56555 | 231 | 56110 | 237 | 55822 | 219 | 5572 | 217 | 6206 | 55767 | 50099 | 55912 | 55089 | 4786 | 54021 | 4904 | 54093 | 56207 | 54468 | 56410 | 52236 | 55087 | 54120 | 56260 | 53902 | 56590 | 305 | 4729 | 213 | 53584 | 234 | 4732 | 57125 | 56517 | 54206 | 55343 | 57950 | 224 | 56040 | 192 | 57012 | 204 | 59300 | 210 | 55726 | 240 | 55994 | 225 | 56542 | 201 | 5360 | 196 | 54976 | 223 | 5253 | 5274
| 0:12 | 37 | 4847 | 53105 | 51346 | 55737 | 50912 | 55863 | 54851 | 55190 | 5173 | 55217 | 54816 | 56062 | 54989 | 55540 | 54076 | 56550 | 54963 | 5397 | 5119 | 5054 | 263 | 55653 | 221 | 5187 | 55887 | 57025 | 54035 | 54110 | 57004 | 219 | 57770 | 189 | 57942 | 221 | 60529 | 220 | 54995 | 221 | 56074 | 217 | 55196 | 233 | 56110 | 208 | 55609 | 225 | 5624 | 234 | 6314 | 55641 | 50308 | 56043 | 55279 | 4762 | 53573 | 5004 | 54302 | 56162 | 54271 | 56218 | 52513 | 54994 | 54079 | 55478 | 53773 | 56085 | 300 | 4748 | 241 | 53713 | 242 | 4870 | 56676 | 57142 | 55119 | 55507 | 57356 | 214 | 57619 | 210 | 56846 | 220 | 60382 | 220 | 55927 | 230 | 55308 | 224 | 55916 | 256 | 5467 | 241 | 54637 | 236 | 5290 | 5406
| 0:15 | 37 | 5009 | 53423 | 51935 | 55557 | 51382 | 55215 | 55415 | 55260 | 5399 | 55395 | 55296 | 56316 | 54739 | 54953 | 54007 | 56472 | 54975 | 5445 | 5289 | 5245 | 214 | 55629 | 225 | 5214 | 56478 | 56268 | 53987 | 54625 | 57199 | 227 | 56840 | 231 | 58378 | 199 | 60263 | 208 | 54709 | 221 | 55884 | 221 | 55857 | 214 | 56796 | 207 | 55481 | 254 | 5708 | 216 | 6268 | 55829 | 50203 | 56197 | 55374 | 4720 | 54199 | 4947 | 54266 | 56701 | 54340 | 55690 | 52039 | 55150 | 54343 | 55947 | 53050 | 56598 | 294 | 4785 | 234 | 54042 | 234 | 5023 | 56870 | 56740 | 54632 | 55319 | 57189 | 221 | 57119 | 223 | 57681 | 183 | 60385 | 240 | 55746 | 215 | 55670 | 219 | 56201 | 202 | 5341 | 236 | 54513 | 257 | 5426 | 5481
484530
| Time | T° 484,530 | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9 | M10 | M11 | M12 | M13 | M14 | M15 | M16 | M17 | M18 | M19 | M20 | M21 | M22 | M23 | M24 | N1 | N2 | N3 | N4 | N5 | N6 | N7 | N8 | N9 | N10 | N11 | N12 | N13 | N14 | N15 | N16 | N17 | N18 | N19 | N20 | N21 | N22 | N23 | N24 | O1 | O2 | O3 | O4 | O5 | O6 | O7 | O8 | O9 | O10 | O11 | O12 | O13 | O14 | O15 | O16 | O17 | O18 | O19 | O20 | O21 | O22 | O23 | O24 | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P12 | P13 | P14 | P15 | P16 | P17 | P18 | P19 | P20 | P21 | P22 | P23 | P24
| 0:00 | 37 | 4618 | 52127 | 49906 | 52301 | 50918 | 53645 | 47859 | 4981 | 50802 | 53741 | 52555 | 53808 | 53243 | 53300 | 50479 | 53830 | 52346 | 5151 | 232 | 52395 | 227 | 51320 | 225 | 4681 | 54131 | 54278 | 51726 | 53678 | 52913 | 219 | 54202 | 193 | 56175 | 239 | 55999 | 221 | 55019 | 209 | 54189 | 222 | 53057 | 242 | 54267 | 235 | 52762 | 225 | 4661 | 55005 | 51631 | 51794 | 4529 | 51437 | 53993 | 53369 | 54575 | 4631 | 55450 | 5095 | 54064 | 55008 | 55482 | 54812 | 53997 | 54701 | 53973 | 56056 | 225 | 51078 | 213 | 52780 | 245 | 48398 | 54442 | 55797 | 52867 | 52969 | 55875 | 205 | 56450 | 201 | 55323 | 208 | 58476 | 212 | 17507 | 224 | 56620 | 215 | 55674 | 233 | 57311 | 202 | 55600 | 217 | 4790 | 53002
| 0:03 | 37 | 4799 | 54737 | 53414 | 55654 | 53149 | 55738 | 51390 | 5281 | 54083 | 57505 | 55761 | 56670 | 55151 | 56252 | 53395 | 55722 | 54886 | 5316 | 238 | 54917 | 257 | 55131 | 211 | 4879 | 54767 | 57436 | 54264 | 55753 | 56443 | 215 | 57530 | 209 | 60004 | 223 | 60166 | 236 | 57901 | 236 | 56885 | 215 | 55167 | 233 | 56217 | 198 | 55631 | 228 | 5045 | 56081 | 51528 | 54164 | 4789 | 54134 | 56804 | 56253 | 54876 | 4984 | 58137 | 5460 | 57092 | 57926 | 56379 | 57079 | 56529 | 55384 | 56575 | 57262 | 219 | 53379 | 209 | 55438 | 229 | 49161 | 54888 | 57542 | 55221 | 53611 | 56829 | 217 | 57875 | 231 | 57109 | 220 | 58775 | 228 | 18078 | 232 | 58145 | 222 | 57213 | 237 | 57896 | 250 | 55529 | 224 | 4892 | 52751
| 0:06 | 37 | 4667 | 54930 | 52892 | 55376 | 54047 | 55754 | 51435 | 5329 | 54642 | 58164 | 55514 | 56751 | 55217 | 57230 | 53843 | 56271 | 55516 | 5517 | 238 | 54846 | 228 | 55359 | 213 | 4849 | 54823 | 57914 | 55104 | 55947 | 55902 | 212 | 57534 | 199 | 60083 | 220 | 60879 | 206 | 58386 | 237 | 56918 | 218 | 55724 | 224 | 56592 | 225 | 55643 | 233 | 4983 | 56217 | 51818 | 54777 | 5015 | 54293 | 56895 | 56326 | 55404 | 5047 | 58852 | 5440 | 56635 | 57747 | 56808 | 57520 | 56995 | 56020 | 57175 | 58498 | 216 | 52819 | 235 | 55005 | 230 | 48858 | 54554 | 57228 | 54931 | 53864 | 57462 | 203 | 57803 | 191 | 57246 | 198 | 59424 | 240 | 18531 | 205 | 58788 | 225 | 56585 | 252 | 57558 | 234 | 55599 | 217 | 4931 | 52128
| 0:09 | 37 | 4840 | 55268 | 53146 | 55090 | 53692 | 55788 | 51343 | 5432 | 55016 | 57936 | 55185 | 56199 | 54715 | 56897 | 53925 | 55558 | 54937 | 5477 | 238 | 55094 | 226 | 56005 | 219 | 4897 | 54401 | 57828 | 54780 | 55150 | 56386 | 200 | 57204 | 220 | 60179 | 202 | 61299 | 209 | 58045 | 240 | 56529 | 209 | 55706 | 242 | 55767 | 225 | 54676 | 228 | 5158 | 55798 | 51337 | 54478 | 4887 | 54632 | 56906 | 56480 | 55011 | 5169 | 58712 | 5478 | 56690 | 58107 | 56869 | 57613 | 56963 | 54880 | 56915 | 57323 | 222 | 52749 | 224 | 55176 | 218 | 49389 | 54386 | 57957 | 54821 | 53828 | 57140 | 235 | 57283 | 212 | 57639 | 218 | 59126 | 226 | 18905 | 220 | 58702 | 237 | 56509 | 209 | 58150 | 225 | 55397 | 227 | 4925 | 52399
| 0:12 | 37 | 4725 | 55319 | 53554 | 55922 | 54063 | 56032 | 51239 | 5415 | 55189 | 57905 | 55002 | 56783 | 54967 | 56971 | 54128 | 55675 | 55268 | 5587 | 222 | 54592 | 224 | 55944 | 200 | 5131 | 54801 | 58389 | 55289 | 56009 | 56476 | 205 | 57458 | 230 | 60303 | 246 | 61365 | 199 | 58007 | 223 | 56496 | 227 | 55543 | 212 | 56613 | 239 | 55994 | 234 | 5174 | 55578 | 51497 | 54385 | 5019 | 54633 | 56504 | 56628 | 55435 | 5108 | 59017 | 5492 | 56725 | 57850 | 56744 | 57287 | 57187 | 55626 | 57533 | 57803 | 217 | 52828 | 226 | 55976 | 227 | 48797 | 54245 | 58022 | 55470 | 54353 | 57697 | 219 | 57439 | 206 | 57430 | 215 | 59103 | 208 | 19888 | 223 | 58410 | 235 | 57317 | 217 | 57527 | 224 | 55381 | 220 | 5093 | 51313
| 0:15 | 37 | 4847 | 55256 | 53342 | 55539 | 53604 | 55918 | 51382 | 5480 | 54488 | 58211 | 55276 | 56965 | 55702 | 56606 | 54102 | 56406 | 55660 | 5512 | 241 | 55493 | 228 | 55424 | 224 | 5045 | 54330 | 57785 | 54664 | 55658 | 56413 | 228 | 57500 | 204 | 60285 | 227 | 60456 | 211 | 58450 | 229 | 56954 | 249 | 55379 | 232 | 56124 | 246 | 55975 | 220 | 5282 | 56177 | 51895 | 54865 | 5096 | 53947 | 56405 | 56534 | 55371 | 5253 | 58679 | 5510 | 57256 | 57937 | 56765 | 57024 | 56776 | 56318 | 57011 | 57969 | 214 | 53055 | 231 | 54973 | 224 | 48233 | 53901 | 58291 | 55334 | 53583 | 57411 | 210 | 58070 | 209 | 57276 | 216 | 59532 | 212 | 20527 | 218 | 58527 | 233 | 57039 | 238 | 57892 | 241 | 55734 | 219 | 5060 | 52024
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | 726833.333 | 967233.333 | 810600 | 85500 | 76800 | 678000 | 829733.333 | 839166.667 | 786900 | 823566.667 | 849266.667 | 517166.667 | 719033.333 | 699300 | 618666.667 | 773333.333 | 717766.667 | 777033.333 | 639700 | 682133.333 | 733.333 | 616166.667 | 500 | 503300 | Max V [484,530]
|  | 0.535 | 0.549 | 0.548 | 0.668 | 0.638 | 0.507 | 0.619 | 0.595 | 0.573 | 0.579 | 0.644 | 0.509 | 0.514 | 0.543 | 0.538 | 0.558 | 0.61 | 0.633 | 0.57 | 0.554 | 0.359 | 0.518 | 0.035 | 0.501 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [484,530]
| B | 661200 | 742166.667 | 775200 | 756133.333 | 772100 | 739133.333 | 852533.333 | -1266.667 | 89066.667 | 2333.333 | 852166.667 | -1100 | 698600 | 2100 | 817666.667 | 933.333 | 716566.667 | 2433.333 | 88233.333 | 1333.333 | 159900 | -400 | 737433.333 | 966.667 | Max V [484,530]
|  | 0.546 | 0.544 | 0.607 | 0.565 | 0.59 | 0.549 | 0.638 | 0.112 | 0.604 | 0.439 | 0.616 | 0.323 | 0.539 | 0.41 | 0.609 | 0.261 | 0.561 | 0.422 | 0.736 | 0.274 | 0.659 | 0.012 | 0.584 | 0.241 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | 0:09 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:06 | ????? | 0:11 | ????? | 0:01 | ????? | 0:10 | ????? | ????? | ????? | 0:06 | ????? | ????? | Lagtime [484,530]
| C | 70433.333 | 748266.667 | 74066.667 | 519666.667 | 777100 | 813900 | 789500 | 689666.667 | 789366.667 | 656766.667 | 738766.667 | 676066.667 | 630300 | 706566.667 | 689200 | 746066.667 | 659900 | 598533.333 | 662700 | 64600 | 633.333 | 598166.667 | -600 | 408100 | Max V [484,530]
|  | 0.616 | 0.591 | 0.712 | 0.892 | 0.607 | 0.601 | 0.619 | 0.511 | 0.627 | 0.548 | 0.632 | 0.518 | 0.551 | 0.634 | 0.618 | 0.647 | 0.559 | 0.478 | 0.598 | 0.626 | 0.239 | 0.521 | 0.206 | 0.537 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [484,530]
| D | 566066.667 | 707100 | 79966.667 | 663966.667 | 682166.667 | 80733.333 | 678900 | -1766.667 | 634500 | 1833.333 | 758233.333 | 2866.667 | 577866.667 | -1500 | 673933.333 | -1033.333 | 594100 | -1666.667 | 547666.667 | -2900 | 793900 | -1866.667 | 679866.667 | -3666.667 | Max V [484,530]
|  | 0.588 | 0.66 | 0.687 | 0.533 | 0.549 | 0.697 | 0.565 | 0.284 | 0.629 | 0.269 | 0.649 | 0.774 | 0.608 | 0.236 | 0.636 | 0.193 | 0.568 | 0.694 | 0.52 | 0.758 | 0.788 | 0.475 | 0.606 | 0.764 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:10 | ????? | 0:05 | ????? | 0:04 | ????? | ????? | ????? | 0:02 | ????? | 0:02 | ????? | 0:10 | ????? | 0:03 | Lagtime [484,530]
| E | 77366.667 | 624100 | 593933.333 | 706600 | 714300 | 630600 | 607366.667 | 614266.667 | 70733.333 | 598233.333 | 622733.333 | 715600 | 376266.667 | 579566.667 | 526700 | 495000 | 498866.667 | 482200 | 63033.333 | 62500 | 1766.667 | 467100 | -1933.333 | 220000 | Max V [484,530]
|  | 0.707 | 0.523 | 0.601 | 0.594 | 0.605 | 0.531 | 0.588 | 0.52 | 0.712 | 0.656 | 0.632 | 0.676 | 0.861 | 0.653 | 0.549 | 0.513 | 0.532 | 0.447 | 0.728 | 0.747 | 0.345 | 0.538 | 0.468 | 0.494 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:05 | ????? | ????? | ????? | Lagtime [484,530]
| F | 455833.333 | 476900 | 542466.667 | 574633.333 | 607966.667 | 1033.333 | 533833.333 | -4200 | 569733.333 | 1600 | 632800 | 766.667 | 552666.667 | -3366.667 | 514966.667 | -833.333 | 546766.667 | 1433.333 | 642866.667 | 1466.667 | 446466.667 | 2000 | 543233.333 | 866.667 | Max V [484,530]
|  | 0.566 | 0.511 | 0.603 | 0.614 | 0.591 | 0.409 | 0.535 | 0.933 | 0.597 | 0.251 | 0.611 | 0.238 | 0.64 | 0.878 | 0.537 | 0.353 | 0.576 | 0.22 | 0.661 | 0.376 | 0.524 | 0.387 | 0.593 | 0.079 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | 0:06 | ????? | 0:00 | ????? | ????? | ????? | 0:01 | ????? | 0:01 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:06 | ????? | ????? | Lagtime [484,530]
| G | 432066.667 | 593066.667 | 564566.667 | 612633.333 | 503966.667 | 559033.333 | 504566.667 | 489666.667 | 509166.667 | 521066.667 | 535766.667 | 550866.667 | 425100 | 403033.333 | 504066.667 | 376733.333 | 396933.333 | 448466.667 | 414200 | 51333.333 | -1866.667 | 485533.333 | -800 | 157966.667 | Max V [484,530]
|  | 0.46 | 0.547 | 0.627 | 0.57 | 0.594 | 0.611 | 0.509 | 0.559 | 0.646 | 0.557 | 0.613 | 0.948 | 0.597 | 0.552 | 0.64 | 0.491 | 0.603 | 0.606 | 0.594 | 0.854 | 0.476 | 0.599 | 0.046 | 0.375 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [484,530]
| H | 383600 | 210066.667 | 400733.333 | 356700 | 508900 | -2366.667 | 407000 | 1166.667 | 378000 | -566.667 | 496433.333 | -1266.667 | 305700 | -2033.333 | 446766.667 | -2466.667 | 370866.667 | 766.667 | 474100 | 833.333 | 429133.333 | -2533.333 | 471166.667 | 1466.667 | Max V [484,530]
|  | 0.542 | 0.585 | 0.491 | 0.568 | 0.538 | 0.54 | 0.583 | 0.29 | 0.569 | 0.115 | 0.61 | 0.289 | 0.456 | 0.252 | 0.537 | 0.387 | 0.479 | 0.194 | 0.553 | 0.061 | 0.563 | 0.71 | 0.655 | 0.306 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:09 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:03 | ????? | 0:02 | ????? | 0:02 | ????? | 0:03 | ????? | 0:10 | ????? | ????? | ????? | 0:03 | ????? | 0:14 | Lagtime [484,530]
| I | 35266.667 | 409333.333 | 361033.333 | 468100 | 385066.667 | 485866.667 | 385100 | 271033.333 | 41500 | 301866.667 | 372166.667 | 444400 | 378833.333 | 435133.333 | 482233.333 | 448200 | 390166.667 | 54666.667 | 48133.333 | 40600 | 2066.667 | 409300 | -1033.333 | 40200 | Max V [484,530]
|  | 0.68 | 0.517 | 0.479 | 0.643 | 0.604 | 0.625 | 0.599 | 0.455 | 0.611 | 0.509 | 0.582 | 0.6 | 0.566 | 0.612 | 0.694 | 0.676 | 0.582 | 0.811 | 0.825 | 0.453 | 0.288 | 0.587 | 0.307 | 0.906 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [484,530]
| J | 253900 | 280166.667 | 369433.333 | 274400 | 307600 | 933.333 | 312600 | -3033.333 | 367933.333 | -1400 | 332800 | -2000 | 223400 | 600 | 353200 | -533.333 | 378700 | -1433.333 | 323900 | 1766.667 | 288300 | 1800 | 66200 | -1066.667 | Max V [484,530]
|  | 0.564 | 0.713 | 0.571 | 0.449 | 0.65 | 0.296 | 0.652 | 0.942 | 0.538 | 0.201 | 0.509 | 0.551 | 0.586 | 0.75 | 0.555 | 0.023 | 0.552 | 0.606 | 0.47 | 0.298 | 0.518 | 0.228 | 0.842 | 0.279 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:09 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:01 | ????? | ????? | ????? | 0:11 | ????? | 0:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:02 | ????? | ????? | Lagtime [484,530]
| K | 46200 | 200966.667 | 313600 | 278966.667 | 266833.333 | 50566.667 | 348733.333 | 36833.333 | 307733.333 | 275733.333 | 275100 | 389733.333 | 256833.333 | 357700 | 312300 | 236533.333 | 331833.333 | 288133.333 | -1966.667 | 40033.333 | 1500 | 379833.333 | 1766.667 | 32200 | Max V [484,530]
|  | 0.785 | 0.357 | 0.653 | 0.542 | 0.514 | 0.811 | 0.558 | 0.827 | 0.55 | 0.513 | 0.505 | 0.641 | 0.613 | 0.599 | 0.507 | 0.513 | 0.638 | 0.491 | 0.437 | 0.706 | 0.26 | 0.661 | 0.651 | 0.829 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:08 | ????? | Lagtime [484,530]
| L | 91333.333 | 203733.333 | 262800 | 223566.667 | 333833.333 | -1233.333 | 304900 | 2433.333 | 323500 | -2000 | 277833.333 | -1733.333 | 241133.333 | 1933.333 | 272466.667 | 900 | 287233.333 | 2733.333 | 50966.667 | 2900 | 321300 | 1700 | 56166.667 | 37266.667 | Max V [484,530]
|  | 0.644 | 0.496 | 0.627 | 0.655 | 0.566 | 0.249 | 0.613 | 0.584 | 0.515 | 0.376 | 0.469 | 0.373 | 0.479 | 0.277 | 0.541 | 0.239 | 0.534 | 0.281 | 0.817 | 0.506 | 0.603 | 0.416 | 0.664 | 0.829 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:09 | 0:06 | 0:06 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:13 | ????? | ????? | ????? | 0:12 | ????? | ????? | ????? | 0:02 | ????? | 0:09 | ????? | 0:07 | ????? | ????? | Lagtime [484,530]
| M | 8500 | 230500 | 234266.667 | 222600 | 227766.667 | 160800 | 223766.667 | 33966.667 | 323566.667 | 291966.667 | 143933.333 | 182633.333 | 100400 | 266233.333 | 260933.333 | 117533.333 | 196500 | 34433.333 | -666.667 | 152366.667 | -2066.667 | 337400 | -1400 | 30600 | Max V [484,530]
|  | 0.195 | 0.671 | 0.536 | 0.517 | 0.676 | 0.601 | 0.461 | 0.782 | 0.72 | 0.551 | 0.28 | 0.465 | 0.342 | 0.606 | 0.664 | 0.363 | 0.53 | 0.866 | 0.205 | 0.418 | 0.509 | 0.67 | 0.502 | 0.814 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:08 | ????? | 0:12 | ????? | ????? | ????? | Lagtime [484,530]
| N | 32466.667 | 287133.333 | 254733.333 | 135300 | 235633.333 | -1433.333 | 206200 | 2833.333 | 281033.333 | 1133.333 | 395500 | -2366.667 | 204000 | 1066.667 | 141933.333 | 2566.667 | 183700 | -1700 | 141400 | 3666.667 | 183633.333 | 600 | 37966.667 | 28766.667 | Max V [484,530]
|  | 0.252 | 0.68 | 0.69 | 0.436 | 0.531 | 0.787 | 0.455 | 0.793 | 0.562 | 0.116 | 0.692 | 0.595 | 0.49 | 0.153 | 0.347 | 0.608 | 0.594 | 0.397 | 0.477 | 0.894 | 0.44 | 0.566 | 0.753 | 0.082 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:06 | t at Max V [484,530]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:03 | ????? | ????? | ????? | 0:08 | ????? | ????? | ????? | 0:11 | ????? | ????? | ????? | ????? | Lagtime [484,530]
| O | -15300 | 183200 | 35933.333 | 229666.667 | 170800 | 224833.333 | 61833.333 | 37966.667 | 256966.667 | 27066.667 | 164000 | 195500 | 100466.667 | 182800 | 227133.333 | 49133.333 | 248666.667 | 118500 | -433.333 | 95666.667 | 1366.667 | 204333.333 | -1566.667 | -63900 | Max V [484,530]
|  | 0.167 | 0.517 | 0.709 | 0.648 | 0.416 | 0.603 | 0.649 | 0.728 | 0.677 | 0.586 | 0.4 | 0.506 | 0.682 | 0.554 | 0.658 | 0.174 | 0.69 | 0.395 | 0.308 | 0.271 | 0.384 | 0.624 | 0.583 | 0.481 | R-Squared [484,530]
|  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | t at Max V [484,530]
|  | 0:02 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Lagtime [484,530]
| P | -76100 | 162166.667 | 160200 | 99500 | 131833.333 | 1533.333 | 46200 | -966.667 | 158133.333 | 400 | 53500 | -2133.333 | 208500 | -466.667 | 137900 | 1833.333 | 86066.667 | -2000 | 22866.667 | -933.333 | -19000 | 300 | 21300 | -124333.333 | Max V [484,530]
|  | 0.974 | 0.723 | 0.539 | 0.883 | 0.777 | 0.32 | 0.148 | 0.102 | 0.649 | 0.045 | 0.486 | 0.612 | 0.972 | 0.05 | 0.549 | 0.898 | 0.384 | 0.313 | 0.107 | 0.162 | 0.716 | 0.104 | 0.858 | 0.815 | R-Squared [484,530]
|  | 0:09 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:09 | 0:09 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:09 | 0:06 | 0:06 | 0:06 | 0:06 | t at Max V [484,530]
|  | 0:08 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | 0:14 | 0:01 | ????? | ????? | ????? | ????? | 0:04 | ????? | ????? | 0:01 | ????? | ????? | 0:00 | Lagtime [484,530]

## plate_map
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | BTC24_11_A_1 | F6124_11_A_77 | DEL24_11_C_3 | F6124_11_B_3 | DER24_11_A_3 | KNL24_11_B_4 | F1724_11_A_17 | MIL24_11_A_3 | F1724_11_B_3 | MIL24_11_B_2 | F6124_11_A_4 | TIS24_11_B_1 | F6124_11_A_20 | TIS24_11_D_2 | F6124_11_A_33 | YUR24_11_A_13 | F6124_11_A_45 | YUR24_11_B_4 | F6124_11_A_73 | BTC24_12_A_1 |  | CLR24_12_A_7 |  | CLR24_12_C_1
B | DEL24_12_A_3 | YUR24_12_B_1 | DEL24_12_C_1 | YUR24_12_C_4 | F1724_12_A_3 | TIS24_12_C_1 | F1724_12_A_14 |  | F1724_12_B_10 |  | F6124_12_A_15 |  | F6124_12_B_1 |  | F6124_12_B_14 |  | KNL24_12_C_1 |  | MIL24_12_A_1 |  | MIL24_12_C_3 |  | YUR24_12_A_15
C | BTC24_11_C_1 | F6124_11_A_79 | DEL24_11_C_4 | F6124_11_B_4 | F1724_11_A_1 | KNL24_11_B_5 | F1724_11_A_19 | MIL24_11_A_5 | F1724_11_B_4 | MIL24_11_B_3 | F6124_11_A_7 | TIS24_11_C_5 | F6124_11_A_21 | TIS24_11_D_3 | F6124_11_A_34 | YUR24_11_A_14 | F6124_11_A_47 | YUR24_11_B_6 | F6124_11_A_74 | BUT24_12_B_1 |  | CLR24_12_A_8 |  | CLR24_12_C_2
D | DEL24_12_A_4 | YUR24_12_B_4 | DEL24_12_C_3 | YUR24_12_C_5 | F1724_12_A_5 | EBK-4-1 | F1724_12_A_18 |  | F1724_12_C_1 |  | F6124_12_A_16 |  | F6124_12_B_2 |  | F6124_12_B_16 |  | KNL24_12_C_2 |  | MIL24_12_B_1 |  | MIL24_12_D_1 |  | YUR24_12_A_16
E | BTC24_11_C_2 | F6124_11_A_82 | DEL24_11_C_5 | F6124_11_B_6 | F1724_11_A_3 | KNL24_11_C_1 | F1724_11_A_20 | MIL24_11_A_7 | F1724_11_B_5 | MIL24_11_B_5 | F6124_11_A_8 | TIS24_11_C_6 | F6124_11_A_23 | TIS24_11_D_4 | F6124_11_A_35 | YUR24_11_A_15 | F6124_11_A_52 | YUR24_11_B_9 | F6124_11_A_75 | BUT24_12_C_1 |  | CLR24_12_A_9 |  | DEL24_12_A_1
F | DEL24_12_A_5 | YUR24_12_B_5 | DEL24_12_C_5 | YUR24_12_D_1 | F1724_12_A_6 |  | F1724_12_A_21 |  | F1724_12_C_2 |  | F6124_12_A_18 |  | F6124_12_B_5 |  | F6124_12_B_19 |  | KNL24_12_C_3 |  | MIL24_12_B_2 |  | YUR24_12_A_1 |  | YUR24_12_A_17
G | BTC24_11_C_3 | F6124_11_A_83 | DEL24_11_D_1 | F6124_11_B_7 | F1724_11_A_4 | KNL24_11_D_1 | F1724_11_A_22 | MIL24_11_A_10 | F6124_10_B_6 | MIL24_11_C_1 | F6124_11_A_9 | TIS24_11_C_7 | F6124_11_A_24 | TIS24_11_D_5 | F6124_11_A_36 | YUR24_11_A_16 | F6124_11_A_56 | YUR24_11_C_1 | F6124_11_A_76 | BUT24_12_C_2 |  | CLR24_12_A_11 |  | DEL24_12_A_2
H | DEL24_12_B_4 | YUR24_12_B_6 | DEL24_12_C_6 | YUR24_12_D_2 | F1724_12_A_8 |  | F1724_12_A_25 |  | F6124_12_A_1 |  | F6124_12_A_19 |  | F6124_12_B_7 |  | KNL24_12_B_1 |  | KNL24_12_C_4 |  | MIL24_12_B_3 |  | YUR24_12_A_3 |  | YUR24_12_A_19
I | BUT24_11_C_1 | F6124_11_A_84 | DEL24_11_D_2 | F6124_11_B_8 | F1724_11_A_8 | KNL24_11_D_2 | F1724_11_A_23 | MIL24_11_A_12 | F6124_10_B_7 | MIL24_11_C_2 | F6124_11_A_13 | TIS24_11_B_2 | F6124_11_A_25 | YUR24_11_A_2 | F6124_11_A_37 | YUR24_11_A_17 | F6124_11_A_62 | YUR24_11_C_2 | EBK-1-1 | BUT24_12_C_3 |  | CLR24_12_B_1 |  | EBK-2-1
J | DEL24_12_B_5 | YUR24_12_B_10 | DEL24_12_C_8 | KNL24_11_C_2 | F1724_12_A_9 |  | F1724_12_B_2 |  | F6124_12_A_3 |  | F6124_12_A_20 |  | F6124_12_B_8 |  | KNL24_12_B_2 |  | KNL24_12_C_5 |  | MIL24_12_B_4 |  | YUR24_12_A_4 |  | EBK-3-1
K | BUT24_11_C_2 | F6124_11_A_87 | DEL24_11_D_3 | KNL24_11_B_1 | F1724_11_A_10 | KNL24_11_D_3 | F1724_11_A_24 | MIL24_11_A_14 | F6124_10_B_8 | TIS24_11_C_1 | F6124_11_A_15 | TIS24_11_C_8 | F6124_11_A_29 | YUR24_11_A_7 | F6124_11_A_40 | YUR24_11_A_20 | F6124_11_A_66 | YUR24_11_C_3 |  | BUT24_12_D_1 |  | CLR24_12_B_2 |  | NEG-DNA-1
L | DEL24_12_B_6 | YUR24_12_C_1 | DEL24_12_D_1 | KNL24_11_C_3 | F1724_12_A_10 |  | F1724_12_B_5 |  | F6124_12_A_7 |  | F6124_12_A_21 |  | F6124_12_B_9 |  | KNL24_12_B_3 |  | KNL24_12_D_1 |  | MIL24_12_B_5 |  | YUR24_12_A_5 |  | NTC-1 | NEG-DNA-2
M | BUT24_11_C_3 | F6124_11_A_88 | DER24_11_A_1 | KNL24_11_B_2 | F1724_11_A_13 | MIL24_11_A_1 | F1724_11_B_1 | MIL24_11_A_17 | F6124_10_B_9 | TIS24_11_C_2 | F6124_11_A_16 | TIS24_11_C_10 | F6124_11_A_30 | YUR24_11_A_8 | F6124_11_A_42 | YUR24_11_B_2 | F6124_11_A_67 | YUR24_11_C_4 |  | CLR24_12_A_3 |  | CLR24_12_B_4 |  | NEG-DNA-3
N | DEL24_12_B_9 | YUR24_12_C_2 | DEL24_12_D_2 | KNL24_11_C_4 | F1724_12_A_11 |  | F1724_12_B_8 |  | F6124_12_A_9 |  | F6124_12_A_22 |  | F6124_12_B_10 |  | KNL24_12_B_4 |  | KNL24_12_D_2 |  | MIL24_12_C_1 |  | YUR24_12_A_7 |  | NTC-2 | POS-DNA-1
O | CLR24_11_A_1 | F6124_11_A_89 | DER24_11_A_2 | KNL24_11_B_3 | F1724_11_A_15 | MIL24_11_A_2 | F1724_11_B_2 | MIL24_11_B_1 | F6124_11_A_2 | TIS24_11_C_3 | F6124_11_A_19 | TIS24_11_D_1 | F6124_11_A_31 | YUR24_11_A_9 | F6124_11_A_44 | YUR24_11_B_3 | F6124_11_A_69 | YUR24_11_C_5 |  | CLR24_12_A_5 |  | CLR24_12_B_6 |  | POS-DNA-2
P | DEL24_12_B_10 | YUR24_12_C_3 | F1724_12_A_1 | KNL24_11_C_5 | F1724_12_A_12 |  | F1724_12_B_9 |  | F6124_12_A_11 |  | F6124_12_A_24 |  | F6124_12_B_12 |  | KNL24_12_B_5 |  | KNL24_12_D_3 |  | MIL24_12_C_2 |  | YUR24_12_A_12 |  | NTC-3 | POS-DNA-3

## SHLCK_Results_SJC
Sample ID | Late RFU | Late Assay Detection
BTC24_11_A_1 | 53810 | YES | Late
F6124_11_A_77 | 55535 | YES | EBK-1 | 5289
DEL24_11_C_3 | 50895 | YES | EBK-2 | 5214
F6124_11_B_3 | 5314 | NO | EBK-3 | 5708
DER24_11_A_3 | 4834 | NO | EBK-4 | 6347
KNL24_11_B_4 | 54509 | YES | NTC-1 | 5426
F1724_11_A_17 | 55023 | YES | NTC-2 | 5282
MIL24_11_A_3 | 55757 | YES | NTC-3 | 5060
F1724_11_B_3 | 53062 | YES | NEG-1 | 5023
MIL24_11_B_2 | 56937 | YES | NEG-2 | 5481
F6124_11_A_4 | 55849 | YES | NEG-3 | 5045
TIS24_11_B_1 | 53239 | YES | POS-1 | 56177
F6124_11_A_20 | 51981 | YES | POS-2 | 48233
TIS24_11_D_2 | 53287 | YES | POS-3 | 52024
F6124_11_A_33 | 52133 | YES
YUR24_11_A_13 | 53831 | YES
F6124_11_A_45 | 51480 | YES
YUR24_11_B_4 | 54266 | YES
F6124_11_A_73 | 48116 | YES
BTC24_12_A_1 | 53687 | YES
CLR24_12_A_7 | 52733 | YES
CLR24_12_C_1 | 52163 | YES
DEL24_12_A_3 | 54175 | YES
YUR24_12_B_1 | 54661 | YES
DEL24_12_C_1 | 54658 | YES
YUR24_12_C_4 | 53652 | YES
F1724_12_A_3 | 54592 | YES
TIS24_12_C_1 | 52293 | YES
F1724_12_A_14 | 57305 | YES
F1724_12_B_10 | 5575 | NO
F6124_12_A_15 | 57618 | YES
F6124_12_B_1 | 55819 | YES
F6124_12_B_14 | 55752 | YES
KNL24_12_C_1 | 53478 | YES
MIL24_12_A_1 | 5691 | NO
MIL24_12_C_3 | 9901 | NO
YUR24_12_A_15 | 52536 | YES
BTC24_11_C_1 | 5037 | NO
F6124_11_A_79 | 55397 | YES
DEL24_11_C_4 | 4880 | NO
F6124_11_B_4 | 21274 | YES
F1724_11_A_1 | 54809 | YES
KNL24_11_B_5 | 55806 | YES
F1724_11_A_19 | 53812 | YES
MIL24_11_A_5 | 55495 | YES
F1724_11_B_4 | 53990 | YES
MIL24_11_B_3 | 57332 | YES
F6124_11_A_7 | 55474 | YES
TIS24_11_C_5 | 56589 | YES
F6124_11_A_21 | 52855 | YES
TIS24_11_D_3 | 54605 | YES
F6124_11_A_34 | 54028 | YES
YUR24_11_A_14 | 54276 | YES
F6124_11_A_47 | 55895 | YES
YUR24_11_B_6 | 54953 | YES
F6124_11_A_74 | 53838 | YES
BUT24_12_B_1 | 4754 | NO
CLR24_12_A_8 | 51899 | YES
CLR24_12_C_2 | 52151 | YES
DEL24_12_A_4 | 54753 | YES
YUR24_12_B_4 | 55238 | YES
DEL24_12_C_3 | 5663 | NO
YUR24_12_C_5 | 57156 | YES
F1724_12_A_5 | 55976 | YES
F1724_12_A_18 | 58179 | YES
F1724_12_C_1 | 53582 | YES
F6124_12_A_16 | 57293 | YES
F6124_12_B_2 | 56018 | YES
F6124_12_B_16 | 57043 | YES
KNL24_12_C_2 | 55118 | YES
MIL24_12_B_1 | 55925 | YES
MIL24_12_D_1 | 50457 | YES
YUR24_12_A_16 | 53838 | YES
BTC24_11_C_2 | 5037 | NO
F6124_11_A_82 | 56134 | YES
DEL24_11_C_5 | 52653 | YES
F6124_11_B_6 | 56121 | YES
F1724_11_A_3 | 53648 | YES
KNL24_11_C_1 | 53929 | YES
F1724_11_A_20 | 54761 | YES
MIL24_11_A_7 | 57562 | YES
F1724_11_B_5 | 5742 | NO
MIL24_11_B_5 | 56370 | YES
F6124_11_A_8 | 56545 | YES
TIS24_11_C_6 | 56759 | YES
F6124_11_A_23 | 19962 | YES
TIS24_11_D_4 | 53865 | YES
F6124_11_A_35 | 53202 | YES
YUR24_11_A_15 | 53872 | YES
F6124_11_A_52 | 54859 | YES
YUR24_11_B_9 | 54306 | YES
F6124_11_A_75 | 4885 | NO
BUT24_12_C_1 | 4896 | NO
CLR24_12_A_9 | 53794 | YES
DEL24_12_A_1 | 53132 | YES
DEL24_12_A_5 | 55303 | YES
YUR24_12_B_5 | 52491 | YES
DEL24_12_C_5 | 57454 | YES
YUR24_12_D_1 | 58801 | YES
F1724_12_A_6 | 55575 | YES
F1724_12_A_21 | 57170 | YES
F1724_12_C_2 | 56727 | YES
F6124_12_A_18 | 61019 | YES
F6124_12_B_5 | 56687 | YES
F6124_12_B_19 | 55847 | YES
KNL24_12_C_3 | 54491 | YES
MIL24_12_B_2 | 55459 | YES
YUR24_12_A_1 | 53857 | YES
YUR24_12_A_17 | 54546 | YES
BTC24_11_C_3 | 54771 | YES
F6124_11_A_83 | 56729 | YES
DEL24_11_D_1 | 54113 | YES
F6124_11_B_7 | 57210 | YES
F1724_11_A_4 | 55827 | YES
KNL24_11_D_1 | 55481 | YES
F1724_11_A_22 | 56246 | YES
MIL24_11_A_10 | 57754 | YES
F6124_10_B_6 | 49308 | YES
MIL24_11_C_1 | 56044 | YES
F6124_11_A_9 | 55853 | YES
TIS24_11_C_7 | 28447 | YES
F6124_11_A_24 | 53417 | YES
TIS24_11_D_5 | 53631 | YES
F6124_11_A_36 | 54738 | YES
YUR24_11_A_16 | 55083 | YES
F6124_11_A_56 | 54546 | YES
YUR24_11_C_1 | 56241 | YES
F6124_11_A_76 | 51066 | YES
BUT24_12_C_2 | 5287 | NO
CLR24_12_A_11 | 52549 | YES
DEL24_12_A_2 | 51348 | YES
DEL24_12_B_4 | 57722 | YES
YUR24_12_B_6 | 57791 | YES
DEL24_12_C_6 | 56185 | YES
YUR24_12_D_2 | 57710 | YES
F1724_12_A_8 | 56904 | YES
F1724_12_A_25 | 57672 | YES
F6124_12_A_1 | 57104 | YES
F6124_12_A_19 | 58688 | YES
F6124_12_B_7 | 55449 | YES
KNL24_12_B_1 | 56035 | YES
KNL24_12_C_4 | 54011 | YES
MIL24_12_B_3 | 54110 | YES
YUR24_12_A_3 | 55674 | YES
YUR24_12_A_19 | 54007 | YES
BUT24_11_C_1 | 5009 | NO
F6124_11_A_84 | 53423 | YES
DEL24_11_D_2 | 51935 | YES
F6124_11_B_8 | 55557 | YES
F1724_11_A_8 | 51382 | YES
KNL24_11_D_2 | 55215 | YES
F1724_11_A_23 | 55415 | YES
MIL24_11_A_12 | 55260 | YES
F6124_10_B_7 | 5399 | NO
MIL24_11_C_2 | 55395 | YES
F6124_11_A_13 | 55296 | YES
TIS24_11_B_2 | 56316 | YES
F6124_11_A_25 | 54739 | YES
YUR24_11_A_2 | 54953 | YES
F6124_11_A_37 | 54007 | YES
YUR24_11_A_17 | 56472 | YES
F6124_11_A_62 | 54975 | YES
YUR24_11_C_2 | 5445 | NO
BUT24_12_C_3 | 5245 | NO
CLR24_12_B_1 | 55629 | YES
DEL24_12_B_5 | 56478 | YES
YUR24_12_B_10 | 56268 | YES
DEL24_12_C_8 | 53987 | YES
KNL24_11_C_2 | 54625 | YES
F1724_12_A_9 | 57199 | YES
F1724_12_B_2 | 56840 | YES
F6124_12_A_3 | 58378 | YES
F6124_12_A_20 | 60263 | YES
F6124_12_B_8 | 54709 | YES
KNL24_12_B_2 | 55884 | YES
KNL24_12_C_5 | 55857 | YES
MIL24_12_B_4 | 56796 | YES
YUR24_12_A_4 | 55481 | YES
BUT24_11_C_2 | 6268 | NO
F6124_11_A_87 | 55829 | YES
DEL24_11_D_3 | 50203 | YES
KNL24_11_B_1 | 56197 | YES
F1724_11_A_10 | 55374 | YES
KNL24_11_D_3 | 4720 | NO
F1724_11_A_24 | 54199 | YES
MIL24_11_A_14 | 4947 | NO
F6124_10_B_8 | 54266 | YES
TIS24_11_C_1 | 56701 | YES
F6124_11_A_15 | 54340 | YES
TIS24_11_C_8 | 55690 | YES
F6124_11_A_29 | 52039 | YES
YUR24_11_A_7 | 55150 | YES
F6124_11_A_40 | 54343 | YES
YUR24_11_A_20 | 55947 | YES
F6124_11_A_66 | 53050 | YES
YUR24_11_C_3 | 56598 | YES
BUT24_12_D_1 | 4785 | NO
CLR24_12_B_2 | 54042 | YES
DEL24_12_B_6 | 56870 | YES
YUR24_12_C_1 | 56740 | YES
DEL24_12_D_1 | 54632 | YES
KNL24_11_C_3 | 55319 | YES
F1724_12_A_10 | 57189 | YES
F1724_12_B_5 | 57119 | YES
F6124_12_A_7 | 57681 | YES
F6124_12_A_21 | 60385 | YES
F6124_12_B_9 | 55746 | YES
KNL24_12_B_3 | 55670 | YES
KNL24_12_D_1 | 56201 | YES
MIL24_12_B_5 | 5341 | NO
YUR24_12_A_5 | 54513 | YES
BUT24_11_C_3 | 4847 | NO
F6124_11_A_88 | 55256 | YES
DER24_11_A_1 | 53342 | YES
KNL24_11_B_2 | 55539 | YES
F1724_11_A_13 | 53604 | YES
MIL24_11_A_1 | 55918 | YES
F1724_11_B_1 | 51382 | YES
MIL24_11_A_17 | 5480 | NO
F6124_10_B_9 | 54488 | YES
TIS24_11_C_2 | 58211 | YES
F6124_11_A_16 | 55276 | YES
TIS24_11_C_10 | 56965 | YES
F6124_11_A_30 | 55702 | YES
YUR24_11_A_8 | 56606 | YES
F6124_11_A_42 | 54102 | YES
YUR24_11_B_2 | 56406 | YES
F6124_11_A_67 | 55660 | YES
YUR24_11_C_4 | 5512 | NO
CLR24_12_A_3 | 55493 | YES
CLR24_12_B_4 | 55424 | YES
DEL24_12_B_9 | 54330 | YES
YUR24_12_C_2 | 57785 | YES
DEL24_12_D_2 | 54664 | YES
KNL24_11_C_4 | 55658 | YES
F1724_12_A_11 | 56413 | YES
F1724_12_B_8 | 57500 | YES
F6124_12_A_9 | 60285 | YES
F6124_12_A_22 | 60456 | YES
F6124_12_B_10 | 58450 | YES
KNL24_12_B_4 | 56954 | YES
KNL24_12_D_2 | 55379 | YES
MIL24_12_C_1 | 56124 | YES
YUR24_12_A_7 | 55975 | YES
CLR24_11_A_1 | 51895 | YES
F6124_11_A_89 | 54865 | YES
DER24_11_A_2 | 5096 | NO
KNL24_11_B_3 | 53947 | YES
F1724_11_A_15 | 56405 | YES
MIL24_11_A_2 | 56534 | YES
F1724_11_B_2 | 55371 | YES
MIL24_11_B_1 | 5253 | NO
F6124_11_A_2 | 58679 | YES
TIS24_11_C_3 | 5510 | NO
F6124_11_A_19 | 57256 | YES
TIS24_11_D_1 | 57937 | YES
F6124_11_A_31 | 56765 | YES
YUR24_11_A_9 | 57024 | YES
F6124_11_A_44 | 56776 | YES
YUR24_11_B_3 | 56318 | YES
F6124_11_A_69 | 57011 | YES
YUR24_11_C_5 | 57969 | YES
CLR24_12_A_5 | 53055 | YES
CLR24_12_B_6 | 54973 | YES
DEL24_12_B_10 | 53901 | YES
YUR24_12_C_3 | 58291 | YES
F1724_12_A_1 | 55334 | YES
KNL24_11_C_5 | 53583 | YES
F1724_12_A_12 | 57411 | YES
F1724_12_B_9 | 58070 | YES
F6124_12_A_11 | 57276 | YES
F6124_12_A_24 | 59532 | YES
F6124_12_B_12 | 20527 | YES
KNL24_12_B_5 | 58527 | YES
KNL24_12_D_3 | 57039 | YES
MIL24_12_C_2 | 57892 | YES
YUR24_12_A_12 | 55734 | YES