## sherlock_output
Software Version | 3.11.19
Experiment File Path: | C:\Users\Public\Documents\Experiments\240515_JPE24_SW_E11-12_P1_SH.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\384_SHERLOCK_2hr_3min.prt
Plate Number | Plate 1
Date | 2024-05-15
Time | 13:33
Reader Type: | Synergy H1
Reader Serial Number: | 21111913
Reading Type | Reader
Procedure Details
Plate Type | Corning 384 Low volume round bottom
Eject plate on completion
Set Temperature | Setpoint 37°C
Preheat before moving to next step
Start Kinetic | Runtime 2:00:00 (HH:MM:SS), Interval 0:03:00, 41 Reads
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 484, Emission: 530
Optics: Top, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 10 mm
End Kinetic
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | 1: SPL1; 2: SPL2; 3: SPL3; 4: SPL4; 5: SPL5; 13: SPL40; 14: SPL41; 15: SPL42; 16: SPL43; 17: SPL44 | Well ID
| B | [24 empty] | Well ID
| C | 1: SPL6; 2: SPL7; 3: SPL8; 4: SPL9; 5: SPL10; 13: SPL45; 14: SPL46; 15: SPL47; 16: SPL48; 17: SPL49 | Well ID
| D | [24 empty] | Well ID
| E | 1: SPL11; 2: SPL12; 3: SPL13; 4: SPL14; 5: SPL15; 13: SPL50; 14: SPL51; 15: SPL52; 16: SPL53; 17: SPL54 | Well ID
| F | [24 empty] | Well ID
| G | 1: SPL16; 2: SPL17; 3: SPL18; 4: SPL19; 5: SPL20; 13: SPL55; 14: SPL56; 15: SPL57; 16: SPL58; 17: SPL59 | Well ID
| H | [24 empty] | Well ID
| I | 1: SPL21; 2: SPL22; 3: SPL23; 4: SPL24; 5: SPL25; 13: SPL60; 14: SPL61; 15: SPL62; 16: SPL63; 17: SPL64 | Well ID
| J | [24 empty] | Well ID
| K | 1: SPL26; 2: SPL27; 3: SPL28; 4: SPL29; 5: SPL30; 13: SPL65; 14: SPL66; 15: SPL67; 16: SPL68; 17: SPL69 | Well ID
| L | [24 empty] | Well ID
| M | 1: SPL31; 2: SPL32; 3: SPL33; 4: SPL34; 5: SPL35; 13: SPL70; 14: SPL71; 15: SPL72; 16: SPL73; 17: SPL74 | Well ID
| N | [24 empty] | Well ID
| O | 1: SPL36; 2: SPL37; 3: SPL38; 4: SPL39; 13: SPL75; 14: SPL76; 15: SPL77; 16: SPL78 | Well ID
| P | [24 empty] | Well ID
484530
| Time | T° 484,530 | A1 | A2 | A3 | A4 | A5 | A13 | A14 | A15 | A16 | A17 | C1 | C2 | C3 | C4 | C5 | C13 | C14 | C15 | C16 | C17 | E1 | E2 | E3 | E4 | E5 | E13 | E14 | E15 | E16 | E17 | G1 | G2 | G3 | G4 | G5 | G13 | G14 | G15 | G16 | G17 | I1 | I2 | I3 | I4 | I5 | I13 | I14 | I15 | I16 | I17 | K1 | K2 | K3 | K4 | K5 | K13 | K14 | K15 | K16 | K17 | M1 | M2 | M3 | M4 | M5 | M13 | M14 | M15 | M16 | M17 | O1 | O2 | O3 | O4 | O13 | O14 | O15 | O16
| 0:00 | 36.9 | 1547 | 1396 | 1543 | 1426 | 1370 | 1715 | 1760 | 1743 | 1676 | 1721 | 1307 | 1468 | 1609 | 1343 | 1599 | 1678 | 1758 | 1774 | 1774 | 1753 | 1259 | 1594 | 1658 | 1357 | 1628 | 1730 | 1821 | 1818 | 1805 | 1842 | 1497 | 1582 | 1654 | 1611 | 1673 | 1820 | 1825 | 1816 | 1845 | 1749 | 1435 | 1601 | 1743 | 1599 | 1768 | 1782 | 1835 | 1849 | 1769 | 1799 | 1644 | 1639 | 1703 | 1381 | 1672 | 1863 | 1853 | 1905 | 1907 | 1878 | 1672 | 1635 | 1669 | 1726 | 1905 | 1731 | 1935 | 1940 | 1969 | 2065 | 1561 | 1688 | 1702 | 1792 | 1862 | 2076 | 1983 | 2073
| 0:03 | 37 | 1907 | 1616 | 1778 | 1617 | 1610 | 1966 | 1963 | 1903 | 1911 | 2057 | 1524 | 1743 | 1774 | 1625 | 1785 | 1864 | 1915 | 1881 | 1907 | 1956 | 1514 | 1722 | 1805 | 1569 | 1791 | 1854 | 2053 | 1962 | 2036 | 2051 | 1601 | 1701 | 1888 | 1722 | 1817 | 2017 | 1990 | 1970 | 1974 | 1904 | 1580 | 1755 | 1879 | 1816 | 1920 | 2017 | 2028 | 2002 | 1958 | 1982 | 1842 | 1770 | 1811 | 1609 | 1804 | 1906 | 2068 | 2045 | 2159 | 2077 | 1862 | 1814 | 1864 | 1879 | 2080 | 2030 | 2127 | 2088 | 2214 | 2199 | 1777 | 1875 | 1977 | 1964 | 2058 | 2215 | 2148 | 2157
| 0:06 | 37 | 2049 | 1822 | 2009 | 1857 | 1783 | 2116 | 2158 | 2069 | 2124 | 2232 | 1859 | 1925 | 1908 | 1810 | 1869 | 2090 | 2117 | 2195 | 2060 | 2209 | 1693 | 1822 | 1956 | 1777 | 1972 | 2116 | 2233 | 2147 | 2192 | 2191 | 1829 | 1909 | 2018 | 1888 | 2140 | 2169 | 2228 | 2213 | 2207 | 2087 | 1775 | 1968 | 2078 | 1962 | 2054 | 2228 | 2211 | 2278 | 2221 | 2185 | 1832 | 1929 | 2050 | 1834 | 2026 | 2100 | 2330 | 2245 | 2303 | 2212 | 2000 | 1971 | 2043 | 2126 | 2308 | 2197 | 2296 | 2282 | 2457 | 2410 | 1864 | 2001 | 2092 | 2123 | 2143 | 2370 | 2300 | 2404
| 0:09 | 37 | 2288 | 2012 | 2105 | 1972 | 1948 | 2357 | 2324 | 2307 | 2251 | 2387 | 2124 | 2040 | 2058 | 1945 | 2086 | 2249 | 2361 | 2347 | 2334 | 2330 | 1749 | 2048 | 2197 | 2034 | 2119 | 2157 | 2361 | 2320 | 2436 | 2436 | 1902 | 2133 | 2173 | 2097 | 2262 | 2379 | 2506 | 2373 | 2457 | 2181 | 1881 | 2114 | 2203 | 2128 | 2213 | 2320 | 2382 | 2421 | 2423 | 2318 | 2032 | 2160 | 2168 | 2025 | 2256 | 2246 | 2460 | 2410 | 2508 | 2392 | 2169 | 2135 | 2307 | 2237 | 2467 | 2414 | 2562 | 2421 | 2600 | 2600 | 1981 | 2088 | 2335 | 2257 | 2216 | 2504 | 2596 | 2503
| 0:12 | 37 | 2497 | 2191 | 2211 | 2186 | 2067 | 2368 | 2487 | 2390 | 2504 | 2550 | 2286 | 2177 | 2213 | 2160 | 2180 | 2285 | 2388 | 2458 | 2473 | 2501 | 1966 | 2101 | 2307 | 2203 | 2248 | 2395 | 2593 | 2439 | 2640 | 2460 | 2136 | 2149 | 2393 | 2348 | 2427 | 2508 | 2524 | 2533 | 2690 | 2366 | 1955 | 2260 | 2395 | 2289 | 2428 | 2443 | 2570 | 2524 | 2689 | 2488 | 2156 | 2270 | 2347 | 2088 | 2318 | 2407 | 2625 | 2622 | 2616 | 2417 | 2326 | 2259 | 2375 | 2352 | 2630 | 2568 | 2681 | 2555 | 2671 | 2738 | 2162 | 2282 | 2486 | 2424 | 2399 | 2636 | 2785 | 2675
| 0:15 | 37 | 2512 | 2275 | 2324 | 2376 | 2232 | 2560 | 2571 | 2530 | 2606 | 2663 | 2375 | 2293 | 2450 | 2288 | 2374 | 2415 | 2534 | 2689 | 2520 | 2593 | 1991 | 2223 | 2372 | 2302 | 2450 | 2491 | 2637 | 2575 | 2691 | 2593 | 2219 | 2291 | 2467 | 2477 | 2641 | 2637 | 2581 | 2604 | 2765 | 2449 | 2081 | 2371 | 2472 | 2451 | 2557 | 2689 | 2627 | 2696 | 2752 | 2556 | 2319 | 2419 | 2450 | 2281 | 2515 | 2547 | 2681 | 2775 | 2768 | 2666 | 2372 | 2405 | 2491 | 2492 | 2755 | 2711 | 2713 | 2697 | 2703 | 2877 | 2314 | 2351 | 2709 | 2523 | 2536 | 2623 | 2767 | 2802
| 0:18 | 37 | 2653 | 2379 | 2495 | 2529 | 2314 | 2594 | 2746 | 2524 | 2616 | 2654 | 2601 | 2435 | 2525 | 2483 | 2544 | 2569 | 2679 | 2762 | 2623 | 2600 | 2095 | 2413 | 2518 | 2496 | 2513 | 2567 | 2922 | 2821 | 2784 | 2614 | 2277 | 2420 | 2714 | 2689 | 2831 | 2648 | 2723 | 2723 | 2838 | 2581 | 2203 | 2451 | 2642 | 2632 | 2633 | 2773 | 2763 | 2826 | 2818 | 2616 | 2508 | 2547 | 2619 | 2447 | 2583 | 2578 | 2825 | 2904 | 2901 | 2699 | 2572 | 2437 | 2663 | 2618 | 2865 | 2869 | 2846 | 2814 | 2932 | 2983 | 2376 | 2453 | 2837 | 2655 | 2597 | 2828 | 2920 | 2910
| 0:21 | 37 | 2959 | 2538 | 2658 | 2562 | 2342 | 2627 | 2740 | 2661 | 2751 | 2793 | 2776 | 2538 | 2681 | 2566 | 2710 | 2686 | 2763 | 2934 | 2687 | 2776 | 2255 | 2508 | 2710 | 2731 | 2687 | 2631 | 2975 | 2893 | 3054 | 2766 | 2399 | 2588 | 2815 | 2854 | 2870 | 2687 | 2952 | 2830 | 3002 | 2599 | 2340 | 2592 | 2879 | 2855 | 2822 | 2859 | 2812 | 2922 | 3033 | 2710 | 2570 | 2586 | 2750 | 2539 | 2751 | 2678 | 2908 | 2944 | 3056 | 2821 | 2716 | 2682 | 2763 | 2728 | 2976 | 2848 | 2979 | 2882 | 2999 | 2988 | 2508 | 2634 | 3048 | 2786 | 2765 | 2964 | 3031 | 2964
| 0:24 | 37 | 2961 | 2651 | 2827 | 2745 | 2539 | 2969 | 2826 | 2773 | 2782 | 3016 | 2902 | 2602 | 2811 | 2756 | 2695 | 2933 | 2869 | 2967 | 2829 | 2895 | 2354 | 2784 | 2833 | 2878 | 2838 | 2717 | 3032 | 2940 | 3149 | 2850 | 2599 | 2666 | 2852 | 3016 | 3042 | 2826 | 2963 | 2883 | 3064 | 2646 | 2513 | 2731 | 2890 | 3015 | 2922 | 2927 | 2989 | 3094 | 3154 | 2842 | 2610 | 2872 | 2837 | 2650 | 2756 | 2716 | 3159 | 3023 | 3130 | 2936 | 2835 | 2735 | 2875 | 2741 | 3162 | 3008 | 3075 | 2996 | 3090 | 3234 | 2617 | 2742 | 3235 | 2853 | 2806 | 2932 | 3105 | 3063
| 0:27 | 37 | 3183 | 2924 | 2979 | 2852 | 2647 | 3810 | 2886 | 2921 | 2901 | 3691 | 3069 | 2839 | 3004 | 2844 | 2855 | 3321 | 2937 | 3017 | 2899 | 3217 | 2388 | 2860 | 2874 | 2980 | 3005 | 2904 | 3019 | 3046 | 3271 | 3129 | 2714 | 2802 | 3054 | 3253 | 3113 | 2945 | 3078 | 2964 | 3213 | 2877 | 2674 | 3037 | 3269 | 3132 | 3097 | 3031 | 3047 | 3135 | 3184 | 2854 | 2865 | 3086 | 3029 | 2793 | 3053 | 2865 | 3115 | 3129 | 3273 | 2933 | 2905 | 2872 | 3128 | 2889 | 3328 | 3107 | 3221 | 2941 | 3190 | 3160 | 2746 | 3081 | 3403 | 2984 | 2900 | 3016 | 3176 | 3229
| 0:30 | 37 | 3361 | 3247 | 3012 | 3119 | 2670 | 5607 | 3084 | 2984 | 2927 | 5523 | 3242 | 3025 | 3160 | 3290 | 2940 | 4671 | 2975 | 3148 | 3041 | 4740 | 2613 | 3035 | 3091 | 3047 | 2983 | 3006 | 3136 | 3253 | 3307 | 4113 | 2719 | 3006 | 3147 | 3303 | 3297 | 3094 | 3092 | 2982 | 3289 | 2758 | 3028 | 3668 | 3943 | 3393 | 3248 | 3067 | 3177 | 3210 | 3311 | 2914 | 3434 | 3538 | 3056 | 2977 | 3094 | 3003 | 3219 | 3272 | 3398 | 3034 | 3056 | 3061 | 3405 | 2925 | 3332 | 3265 | 3298 | 3250 | 3268 | 3218 | 2945 | 3896 | 3498 | 3053 | 3011 | 3145 | 3371 | 3317
| 0:33 | 37 | 3590 | 4023 | 3197 | 3651 | 2825 | 9800 | 3084 | 3029 | 3075 | 9356 | 3538 | 3558 | 3268 | 3783 | 3085 | 8011 | 3097 | 3256 | 3126 | 7964 | 2686 | 3247 | 3407 | 3313 | 3092 | 2962 | 3302 | 3290 | 3580 | 6308 | 2822 | 3319 | 3415 | 3592 | 3504 | 3198 | 3170 | 3250 | 3303 | 2887 | 3634 | 4762 | 5342 | 3472 | 3291 | 3291 | 3268 | 3314 | 3406 | 3089 | 4114 | 4055 | 3297 | 3080 | 3223 | 3087 | 3398 | 3299 | 3422 | 3127 | 3157 | 3171 | 3817 | 3062 | 3418 | 3233 | 3354 | 3257 | 3300 | 3410 | 3113 | 5137 | 3753 | 3222 | 3074 | 3260 | 3546 | 3312
| 0:36 | 37 | 3944 | 5204 | 3471 | 4170 | 3422 | 16189 | 3233 | 3090 | 3231 | 15397 | 3633 | 4245 | 3363 | 4758 | 3175 | 13920 | 3223 | 3305 | 3219 | 13820 | 3075 | 3750 | 3936 | 3486 | 3185 | 3116 | 3352 | 3299 | 3668 | 10828 | 2975 | 3685 | 3744 | 3734 | 3597 | 3251 | 3326 | 3266 | 3458 | 2977 | 4427 | 6705 | 7248 | 3612 | 3390 | 3297 | 3276 | 3463 | 3571 | 3165 | 5048 | 4954 | 3506 | 3268 | 3215 | 3111 | 3500 | 3470 | 3501 | 3188 | 3311 | 3402 | 4601 | 3122 | 3572 | 3307 | 3555 | 3401 | 3542 | 3466 | 3304 | 6966 | 3901 | 3272 | 3261 | 3432 | 3597 | 3496
| 0:39 | 37 | 4353 | 7009 | 3927 | 5255 | 4131 | 24036 | 3327 | 3242 | 3329 | 21941 | 3797 | 5488 | 3703 | 6305 | 3337 | 21759 | 3284 | 3446 | 3342 | 21616 | 3343 | 4346 | 5179 | 3495 | 3265 | 3249 | 3401 | 3425 | 3921 | 17101 | 3068 | 4114 | 4284 | 3767 | 3574 | 3476 | 3446 | 3374 | 3450 | 3107 | 5556 | 8899 | 9277 | 3751 | 3488 | 3442 | 3347 | 3470 | 3569 | 3205 | 6345 | 5864 | 3797 | 3391 | 3394 | 3159 | 3553 | 3600 | 3646 | 3130 | 3428 | 3827 | 5717 | 3255 | 3615 | 3568 | 3653 | 3549 | 3438 | 3561 | 3865 | 9115 | 4354 | 3319 | 3248 | 3429 | 3671 | 3430
| 0:42 | 36.9 | 4950 | 9249 | 4357 | 6158 | 5096 | 31966 | 3374 | 3372 | 3415 | 29024 | 3951 | 6769 | 4097 | 8089 | 3510 | 29989 | 3486 | 3518 | 3354 | 29627 | 3702 | 5327 | 6294 | 3754 | 3400 | 3294 | 3518 | 3342 | 3756 | 24182 | 3133 | 4672 | 5056 | 3994 | 3700 | 3371 | 3540 | 3456 | 3794 | 3122 | 6725 | 11801 | 11782 | 3820 | 3573 | 3593 | 3489 | 3629 | 3759 | 3238 | 7913 | 7113 | 4321 | 3510 | 3519 | 3282 | 3767 | 3622 | 3715 | 3370 | 3459 | 4051 | 7113 | 3360 | 3682 | 3539 | 3643 | 3668 | 3663 | 3623 | 4782 | 12108 | 4882 | 3406 | 3422 | 3470 | 3714 | 3570
| 0:45 | 37 | 5507 | 12123 | 5225 | 7714 | 6545 | 38832 | 3492 | 3422 | 3450 | 36455 | 4009 | 8323 | 4657 | 10125 | 3857 | 37536 | 3326 | 3686 | 3354 | 36883 | 4248 | 6576 | 7916 | 3781 | 3506 | 3325 | 3613 | 3487 | 4035 | 31326 | 3211 | 5414 | 6052 | 4096 | 3875 | 3490 | 3586 | 3601 | 3762 | 3087 | 7856 | 14562 | 14611 | 3952 | 3694 | 3626 | 3547 | 3868 | 3762 | 3394 | 9747 | 8527 | 5080 | 3468 | 3591 | 3381 | 3896 | 3709 | 3895 | 3490 | 3791 | 4525 | 8765 | 3489 | 3710 | 3755 | 3835 | 3691 | 3695 | 3797 | 6015 | 15140 | 5202 | 3474 | 3498 | 3599 | 3904 | 3656
| 0:48 | 37 | 6437 | 15065 | 6385 | 9347 | 8927 | 44454 | 3537 | 3560 | 3535 | 41849 | 4174 | 10355 | 5617 | 12863 | 4379 | 43313 | 3588 | 3787 | 3517 | 43002 | 4760 | 8112 | 10051 | 3959 | 3670 | 3424 | 3779 | 3607 | 4182 | 37595 | 3225 | 5853 | 7356 | 4136 | 3925 | 3599 | 3810 | 3528 | 3767 | 3296 | 9067 | 18037 | 17764 | 4152 | 3810 | 3784 | 3633 | 3856 | 3814 | 3355 | 11931 | 10570 | 6122 | 3645 | 3684 | 3541 | 3897 | 3764 | 3959 | 3548 | 3959 | 5063 | 10602 | 3449 | 3883 | 3786 | 3936 | 3764 | 3782 | 3851 | 7505 | 19057 | 5724 | 3625 | 3533 | 3711 | 4109 | 3716
| 0:51 | 37 | 7241 | 18517 | 7775 | 11511 | 12143 | 49036 | 3672 | 3706 | 3741 | 45905 | 4423 | 12477 | 7002 | 15869 | 5160 | 47056 | 3689 | 3998 | 3729 | 47984 | 5337 | 9823 | 12508 | 4224 | 4034 | 3563 | 3802 | 3814 | 4319 | 43744 | 3398 | 6581 | 8822 | 4327 | 4077 | 3775 | 3787 | 3784 | 3920 | 3310 | 10501 | 21018 | 21920 | 4247 | 3956 | 3848 | 3771 | 3972 | 4007 | 3547 | 14454 | 12880 | 7351 | 3715 | 3805 | 3565 | 4130 | 3942 | 4008 | 3612 | 4296 | 5564 | 13410 | 3607 | 4110 | 3926 | 3995 | 4018 | 3841 | 3833 | 9162 | 22714 | 6349 | 3613 | 3655 | 3801 | 4202 | 3884
| 0:54 | 37 | 8400 | 21862 | 9872 | 14250 | 15466 | 52356 | 3838 | 3711 | 3714 | 49234 | 4536 | 14253 | 8699 | 18946 | 6212 | 51327 | 3743 | 3893 | 3807 | 51928 | 6061 | 11825 | 14895 | 4242 | 4237 | 3639 | 3959 | 3852 | 4478 | 48177 | 3553 | 7497 | 11208 | 4441 | 4118 | 3795 | 4006 | 3781 | 4007 | 3425 | 12163 | 23887 | 25645 | 4420 | 3948 | 4091 | 3800 | 4143 | 4041 | 3588 | 17271 | 15345 | 9228 | 3926 | 3881 | 3662 | 4078 | 3938 | 4059 | 3733 | 4475 | 6101 | 16266 | 3726 | 4232 | 4008 | 4087 | 4084 | 3928 | 4017 | 11261 | 26692 | 7070 | 3784 | 3782 | 3836 | 4169 | 3776
| 0:57 | 37 | 9975 | 26014 | 11821 | 17254 | 19527 | 54149 | 4068 | 3876 | 3939 | 52001 | 4654 | 16545 | 10905 | 23051 | 7662 | 53124 | 3918 | 4106 | 3860 | 54900 | 6725 | 14419 | 18274 | 4360 | 4652 | 3737 | 3988 | 3903 | 4551 | 50759 | 3507 | 8234 | 13636 | 4536 | 4173 | 3991 | 4099 | 3824 | 4182 | 3526 | 13862 | 26781 | 29996 | 4532 | 4097 | 3992 | 3953 | 4197 | 4280 | 3685 | 19964 | 18364 | 11004 | 3956 | 3901 | 3712 | 4355 | 4089 | 4177 | 3868 | 4986 | 6860 | 19267 | 3809 | 4220 | 4283 | 4243 | 4054 | 3956 | 4053 | 13397 | 30398 | 8171 | 3807 | 3865 | 3950 | 4248 | 3933
| 1:00 | 37 | 11560 | 29473 | 14421 | 20491 | 23253 | 55544 | 4033 | 3968 | 3999 | 52828 | 4849 | 18979 | 13093 | 26091 | 9156 | 55150 | 3893 | 4312 | 3962 | 55344 | 7911 | 16792 | 22156 | 4455 | 5247 | 3865 | 4100 | 3991 | 4592 | 52426 | 3696 | 8913 | 16609 | 4612 | 4308 | 3994 | 4071 | 4015 | 4241 | 3663 | 15734 | 29622 | 34113 | 4580 | 4046 | 4186 | 4037 | 4228 | 4285 | 3715 | 23007 | 21326 | 13558 | 4154 | 4085 | 3748 | 4376 | 4274 | 4307 | 3814 | 5487 | 7499 | 23156 | 3718 | 4357 | 4344 | 4326 | 4286 | 4013 | 4042 | 15992 | 34335 | 9474 | 3975 | 4121 | 4086 | 4368 | 3939
| 1:03 | 37 | 13557 | 32917 | 16987 | 23989 | 27405 | 56491 | 4200 | 4076 | 4225 | 53662 | 5042 | 21577 | 16000 | 30010 | 11045 | 54860 | 4022 | 4406 | 4090 | 57205 | 8715 | 19864 | 25768 | 4466 | 6151 | 3934 | 4232 | 4105 | 4731 | 54226 | 3760 | 9764 | 19965 | 4878 | 4448 | 4162 | 4067 | 3927 | 4178 | 3571 | 17682 | 32531 | 38156 | 4743 | 4306 | 4326 | 4175 | 4317 | 4325 | 3750 | 25777 | 24366 | 16075 | 4217 | 4133 | 3876 | 4546 | 4334 | 4399 | 3918 | 5788 | 8263 | 26479 | 4012 | 4462 | 4501 | 4324 | 4319 | 4102 | 4225 | 18676 | 37813 | 10620 | 4078 | 4270 | 4130 | 4627 | 4019
| 1:06 | 37 | 15714 | 35796 | 19684 | 27254 | 30879 | 56666 | 4324 | 4214 | 4145 | 54082 | 5266 | 24461 | 19246 | 33372 | 13130 | 55697 | 4066 | 4415 | 4173 | 57121 | 9742 | 22701 | 30182 | 4656 | 7310 | 3923 | 4323 | 4252 | 4839 | 55230 | 3753 | 10680 | 23447 | 4847 | 4490 | 4102 | 4382 | 4129 | 4411 | 3690 | 19646 | 34601 | 41721 | 4754 | 4354 | 4477 | 4250 | 4486 | 4466 | 3906 | 28387 | 27101 | 19105 | 4256 | 4120 | 3898 | 4769 | 4451 | 4500 | 4054 | 6475 | 9244 | 30068 | 4068 | 4462 | 4647 | 4435 | 4563 | 4225 | 4433 | 21231 | 40746 | 12013 | 4179 | 4334 | 4224 | 4712 | 4185
| 1:09 | 37 | 18382 | 39210 | 22826 | 31205 | 34173 | 56799 | 4328 | 4320 | 4410 | 55225 | 5289 | 27394 | 22373 | 36409 | 15928 | 55710 | 4168 | 4598 | 4198 | 57328 | 10848 | 25539 | 33896 | 4741 | 8731 | 4168 | 4456 | 4211 | 4956 | 55861 | 3939 | 11652 | 27371 | 4980 | 4655 | 4334 | 4281 | 4225 | 4430 | 3795 | 21992 | 37047 | 44480 | 4911 | 4284 | 4542 | 4324 | 4647 | 4513 | 4075 | 31356 | 29952 | 22305 | 4320 | 4192 | 4049 | 4863 | 4524 | 4666 | 4233 | 7703 | 10055 | 33370 | 4090 | 4611 | 4713 | 4685 | 4666 | 4376 | 4429 | 23673 | 43614 | 13415 | 4173 | 4514 | 4453 | 4796 | 4089
| 1:12 | 37 | 20878 | 41316 | 25616 | 35513 | 37655 | 56899 | 4546 | 4427 | 4535 | 55580 | 5432 | 30289 | 25161 | 39619 | 18627 | 55586 | 4408 | 4674 | 4454 | 57470 | 11770 | 29264 | 37463 | 4877 | 10504 | 4197 | 4711 | 4407 | 5130 | 56434 | 3919 | 12471 | 30885 | 5146 | 4685 | 4314 | 4618 | 4411 | 4611 | 3893 | 24252 | 39275 | 47613 | 4973 | 4467 | 4653 | 4423 | 4736 | 4672 | 4102 | 33659 | 32511 | 25246 | 4472 | 4293 | 4167 | 4954 | 4681 | 4682 | 4245 | 8874 | 11244 | 36513 | 4240 | 4688 | 4894 | 4787 | 4738 | 4496 | 4508 | 26631 | 45768 | 14595 | 4212 | 4686 | 4434 | 4974 | 4288
| 1:15 | 37 | 24402 | 43390 | 28104 | 38928 | 40937 | 57271 | 4675 | 4518 | 4703 | 55967 | 5545 | 33066 | 28301 | 42525 | 21594 | 56248 | 4378 | 4963 | 4415 | 58041 | 13068 | 32880 | 41228 | 4849 | 12770 | 4311 | 4809 | 4454 | 5211 | 55849 | 3965 | 13481 | 34655 | 5250 | 4821 | 4467 | 4514 | 4444 | 4644 | 3945 | 26828 | 41350 | 50215 | 5140 | 4517 | 4781 | 4495 | 4896 | 4660 | 4071 | 36226 | 35140 | 28654 | 4589 | 4410 | 4141 | 5134 | 4930 | 4863 | 4450 | 10554 | 12103 | 39285 | 4353 | 4797 | 5074 | 4792 | 4917 | 4482 | 4604 | 29731 | 47440 | 16488 | 4322 | 4672 | 4608 | 5102 | 4375
| 1:18 | 36.9 | 27497 | 45962 | 30291 | 41842 | 43617 | 56729 | 4758 | 4614 | 4660 | 56041 | 5767 | 35275 | 31107 | 44850 | 24312 | 55852 | 4569 | 4949 | 4486 | 57222 | 14062 | 36138 | 43260 | 4953 | 15237 | 4438 | 4890 | 4621 | 5344 | 56469 | 4052 | 14636 | 38325 | 5299 | 4764 | 4504 | 4708 | 4482 | 4674 | 3965 | 29411 | 43383 | 51841 | 5240 | 4627 | 4852 | 4692 | 4938 | 4780 | 4174 | 37780 | 38013 | 31698 | 4590 | 4423 | 4392 | 5278 | 4934 | 4916 | 4381 | 12381 | 13219 | 42454 | 4412 | 4922 | 5174 | 4935 | 5112 | 4444 | 4615 | 32953 | 49312 | 18120 | 4341 | 5061 | 4665 | 5319 | 4425
| 1:21 | 37 | 30669 | 46515 | 32842 | 44985 | 45270 | 57152 | 4849 | 4750 | 4905 | 57083 | 5849 | 38046 | 33738 | 46269 | 26830 | 56049 | 4643 | 5251 | 4641 | 57427 | 15196 | 39420 | 46331 | 5092 | 17789 | 4489 | 5036 | 4732 | 5444 | 57201 | 4011 | 15669 | 41482 | 5499 | 4906 | 4705 | 4872 | 4690 | 4776 | 4038 | 31904 | 44973 | 52607 | 5348 | 4781 | 5054 | 4769 | 5151 | 4882 | 4308 | 39913 | 40111 | 35120 | 4644 | 4573 | 4392 | 5417 | 5002 | 4862 | 4422 | 14432 | 14868 | 44283 | 4366 | 4889 | 5346 | 5090 | 5304 | 4695 | 4725 | 35355 | 50721 | 19853 | 4524 | 5156 | 4884 | 5327 | 4330
| 1:24 | 37 | 34020 | 48759 | 34386 | 47662 | 47848 | 56963 | 5048 | 4916 | 4985 | 57048 | 5960 | 40813 | 35198 | 47864 | 29674 | 55623 | 4824 | 5257 | 4773 | 57865 | 16430 | 42538 | 48202 | 5310 | 20989 | 4587 | 5089 | 4717 | 5513 | 56020 | 4165 | 16866 | 44119 | 5528 | 4963 | 4748 | 4952 | 4636 | 4874 | 4206 | 34240 | 46199 | 53659 | 5379 | 4778 | 5155 | 4728 | 5154 | 4901 | 4345 | 41378 | 41424 | 37795 | 4757 | 4703 | 4423 | 5592 | 5280 | 4952 | 4603 | 16286 | 16099 | 46649 | 4506 | 5046 | 5530 | 5093 | 5298 | 4716 | 4753 | 38309 | 51314 | 21332 | 4462 | 5313 | 4948 | 5519 | 4678
| 1:27 | 37 | 37551 | 49615 | 36695 | 49541 | 48977 | 56531 | 5059 | 5024 | 5064 | 56856 | 6074 | 43658 | 37438 | 49422 | 31525 | 55707 | 4808 | 5457 | 4945 | 57516 | 17285 | 45451 | 49717 | 5381 | 23592 | 4665 | 5176 | 4879 | 5758 | 56504 | 4291 | 17754 | 46133 | 5490 | 5038 | 4881 | 5027 | 4870 | 4910 | 4317 | 36200 | 48121 | 53884 | 5490 | 4887 | 5164 | 5026 | 5328 | 4994 | 4500 | 43785 | 43221 | 40792 | 4666 | 4692 | 4561 | 5659 | 5396 | 5033 | 4711 | 18532 | 17654 | 47938 | 4526 | 5076 | 5543 | 5168 | 5379 | 4724 | 4874 | 40643 | 52230 | 22625 | 4685 | 5356 | 4941 | 5646 | 4514
| 1:30 | 37 | 40262 | 50512 | 38526 | 50623 | 50349 | 56471 | 5295 | 5309 | 5291 | 56514 | 6107 | 45376 | 39332 | 50011 | 33647 | 54657 | 5013 | 5684 | 4895 | 56814 | 18932 | 48111 | 50852 | 5349 | 26665 | 4803 | 5320 | 4980 | 5682 | 56644 | 4447 | 18868 | 48227 | 5618 | 5059 | 4883 | 5094 | 4901 | 5002 | 4359 | 38102 | 48985 | 54812 | 5682 | 4892 | 5390 | 5030 | 5450 | 5076 | 4635 | 44779 | 44634 | 43353 | 4963 | 4685 | 4782 | 5712 | 5492 | 5142 | 4760 | 20834 | 19258 | 49441 | 4648 | 5127 | 5712 | 5442 | 5571 | 4868 | 5009 | 43149 | 52734 | 24339 | 4660 | 5692 | 5082 | 5703 | 4655
| 1:33 | 37 | 42408 | 50949 | 39784 | 51391 | 51646 | 56215 | 5377 | 5399 | 5434 | 56443 | 6148 | 47795 | 41339 | 50901 | 35454 | 54671 | 5112 | 5669 | 4978 | 57412 | 20081 | 49517 | 52090 | 5388 | 29844 | 4827 | 5476 | 5124 | 5938 | 56721 | 4551 | 20196 | 50339 | 5695 | 5237 | 4965 | 5277 | 5076 | 5104 | 4362 | 40147 | 50802 | 54369 | 5644 | 5076 | 5543 | 5044 | 5556 | 5167 | 4600 | 45875 | 45756 | 45307 | 4941 | 4858 | 4720 | 5990 | 5588 | 5245 | 4887 | 23556 | 20806 | 50234 | 4711 | 5245 | 5827 | 5524 | 5772 | 4948 | 4965 | 44988 | 53260 | 25654 | 4793 | 5686 | 5191 | 6032 | 4776
| 1:36 | 37 | 44514 | 51802 | 41261 | 52419 | 52324 | 56298 | 5458 | 5505 | 5518 | 55786 | 6344 | 48613 | 43357 | 51376 | 37348 | 54232 | 5058 | 5819 | 5093 | 56799 | 21127 | 50937 | 52821 | 5468 | 32667 | 4958 | 5668 | 5184 | 5929 | 56126 | 4502 | 21479 | 50805 | 5782 | 5211 | 5097 | 5345 | 5117 | 5178 | 4438 | 41381 | 50934 | 54576 | 5757 | 4935 | 5674 | 5231 | 5713 | 5191 | 4763 | 47557 | 47068 | 47053 | 5010 | 4966 | 4846 | 6062 | 5700 | 5382 | 4802 | 25412 | 22548 | 50877 | 4729 | 5320 | 6155 | 5725 | 5909 | 5079 | 5058 | 46381 | 52999 | 26963 | 4713 | 5923 | 5264 | 5985 | 4827
| 1:39 | 37 | 46767 | 52527 | 43208 | 53355 | 53447 | 55826 | 5547 | 5634 | 5560 | 55776 | 6448 | 50375 | 44610 | 51295 | 38698 | 54871 | 5339 | 5976 | 5249 | 56696 | 22264 | 52038 | 53687 | 5530 | 35464 | 4918 | 5713 | 5272 | 6032 | 56253 | 4665 | 22762 | 52235 | 5912 | 5341 | 5044 | 5541 | 5268 | 5306 | 4528 | 43119 | 51895 | 55301 | 5878 | 5149 | 5696 | 5251 | 5877 | 5308 | 4818 | 47699 | 47753 | 47936 | 5197 | 4973 | 4931 | 6106 | 5758 | 5360 | 5020 | 28063 | 23837 | 52007 | 4840 | 5454 | 6179 | 5794 | 6028 | 5051 | 5178 | 47745 | 53012 | 28266 | 4930 | 6161 | 5446 | 6186 | 4889
| 1:42 | 37 | 48295 | 51893 | 43852 | 53145 | 53993 | 54864 | 5741 | 5719 | 5925 | 55619 | 6550 | 51480 | 46207 | 51613 | 40570 | 54528 | 5484 | 6153 | 5562 | 56631 | 23581 | 52730 | 53388 | 5673 | 37390 | 5117 | 6035 | 5408 | 6331 | 56132 | 4484 | 24204 | 52758 | 6017 | 5506 | 5250 | 5732 | 5254 | 5337 | 4611 | 44023 | 52487 | 55300 | 6135 | 5197 | 5830 | 5366 | 6095 | 5455 | 4938 | 49185 | 48991 | 49591 | 5166 | 5066 | 4946 | 6436 | 5947 | 5588 | 5123 | 30907 | 25646 | 52336 | 4950 | 5555 | 6582 | 5917 | 6229 | 5147 | 5226 | 48599 | 52399 | 29320 | 5040 | 6326 | 5550 | 6506 | 4922
| 1:45 | 37 | 49893 | 52989 | 45146 | 52894 | 53365 | 55523 | 5988 | 5774 | 5822 | 56182 | 6698 | 51876 | 47569 | 51741 | 42168 | 54229 | 5452 | 6172 | 5519 | 56405 | 24642 | 52913 | 53998 | 5949 | 39508 | 5342 | 6048 | 5523 | 6359 | 55474 | 4651 | 25226 | 53887 | 6075 | 5448 | 5298 | 5754 | 5406 | 5369 | 4793 | 44697 | 52793 | 55752 | 6052 | 5190 | 6080 | 5453 | 6076 | 5476 | 4969 | 49612 | 49940 | 51241 | 5229 | 5103 | 5011 | 6558 | 6051 | 5591 | 5214 | 33675 | 27576 | 52254 | 5028 | 5618 | 6629 | 6120 | 6364 | 5207 | 5225 | 48167 | 53248 | 30704 | 5127 | 6434 | 5802 | 6613 | 5122
| 1:48 | 37 | 51154 | 52503 | 46037 | 53138 | 53755 | 55418 | 5914 | 5948 | 6013 | 55812 | 6805 | 53038 | 49056 | 51517 | 42931 | 53801 | 5664 | 6399 | 5667 | 55758 | 25880 | 52721 | 53505 | 5878 | 41387 | 5307 | 6065 | 5630 | 6305 | 55638 | 4786 | 26793 | 53390 | 6156 | 5485 | 5367 | 5682 | 5643 | 5353 | 4814 | 45735 | 52669 | 55145 | 6125 | 5392 | 6132 | 5691 | 6243 | 5577 | 5193 | 49662 | 50750 | 51595 | 5309 | 5140 | 5071 | 6668 | 6187 | 5614 | 5362 | 36636 | 29526 | 52841 | 5081 | 5820 | 6740 | 6236 | 6550 | 5323 | 5415 | 48614 | 53072 | 31657 | 5198 | 6658 | 5867 | 6598 | 5095
| 1:51 | 37 | 52146 | 52857 | 47440 | 53923 | 53586 | 55317 | 6190 | 6130 | 6270 | 55708 | 6917 | 52644 | 49437 | 51736 | 44907 | 53905 | 5790 | 6438 | 5667 | 56098 | 27297 | 53328 | 53883 | 5873 | 42600 | 5544 | 6295 | 5787 | 6575 | 55599 | 4813 | 28123 | 54778 | 6190 | 5661 | 5636 | 6044 | 5560 | 5634 | 4916 | 46257 | 53245 | 55121 | 6142 | 5424 | 6161 | 5763 | 6326 | 5691 | 5105 | 50378 | 50241 | 52090 | 5350 | 5238 | 5244 | 6892 | 6410 | 5742 | 5356 | 40443 | 30546 | 53224 | 5254 | 5719 | 6971 | 6330 | 6601 | 5240 | 5427 | 49187 | 53741 | 32519 | 5143 | 6823 | 5903 | 6729 | 5133
| 1:54 | 37 | 52474 | 52670 | 48351 | 53683 | 54084 | 55688 | 6257 | 6258 | 6229 | 55815 | 6971 | 53850 | 51114 | 52207 | 45981 | 54570 | 5918 | 6808 | 5790 | 55379 | 28653 | 53497 | 54340 | 5920 | 44877 | 5629 | 6449 | 5958 | 6610 | 55281 | 4774 | 30184 | 54589 | 6413 | 5736 | 5724 | 6014 | 5730 | 5694 | 5110 | 46494 | 53456 | 55561 | 6383 | 5485 | 6415 | 5842 | 6426 | 5688 | 5326 | 50384 | 51457 | 52899 | 5472 | 5251 | 5366 | 6926 | 6555 | 5800 | 5419 | 43109 | 32360 | 53309 | 5229 | 5853 | 7031 | 6429 | 6856 | 5309 | 5516 | 48880 | 53170 | 33831 | 5216 | 7005 | 6133 | 6997 | 5219
| 1:57 | 37 | 52934 | 52883 | 49449 | 52834 | 53434 | 55521 | 6544 | 6424 | 6430 | 55782 | 7005 | 54173 | 51927 | 52031 | 47249 | 53667 | 6014 | 6881 | 6008 | 55641 | 29799 | 54568 | 54323 | 6114 | 45846 | 5717 | 6660 | 6079 | 6800 | 54901 | 4950 | 31205 | 54962 | 6412 | 5714 | 5842 | 6368 | 5869 | 5700 | 5003 | 46893 | 54028 | 54899 | 6341 | 5525 | 6772 | 6003 | 6746 | 5882 | 5365 | 50794 | 51330 | 53024 | 5525 | 5314 | 5393 | 7086 | 6631 | 5796 | 5536 | 44713 | 33904 | 53082 | 5319 | 5907 | 7355 | 6529 | 7072 | 5445 | 5578 | 48691 | 52915 | 34110 | 5315 | 7098 | 6180 | 7081 | 5239
| 2:00 | 37 | 53724 | 52636 | 49547 | 53267 | 53612 | 55286 | 6607 | 6551 | 6637 | 55711 | 7293 | 53683 | 52127 | 51110 | 47439 | 53957 | 6223 | 7049 | 5958 | 56065 | 30943 | 54272 | 54680 | 6152 | 47035 | 5937 | 6635 | 6055 | 6796 | 55530 | 4996 | 32256 | 54571 | 6384 | 5682 | 5683 | 6407 | 6078 | 5854 | 5119 | 47349 | 53667 | 54759 | 6365 | 5491 | 6792 | 6039 | 6763 | 5867 | 5476 | 50323 | 52107 | 54217 | 5586 | 5491 | 5550 | 7404 | 6975 | 5951 | 5618 | 46512 | 35019 | 53415 | 5351 | 5906 | 7245 | 6572 | 7179 | 5500 | 5632 | 48345 | 52433 | 34936 | 5463 | 7393 | 6306 | 7306 | 5257
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | 1: 1094033.333; 2: 1213700; 3: 940966.667; 4: 1271233.333; 5: 1290133.333; 13: 2461366.667; 14: 60500; 15: 56600; 16: 66533.333; 17: 2260833.333 | Max V [484,530]
|  | 1: 0.999; 2: 0.999; 3: 0.999; 4: 0.998; 5: 0.999; 13: 0.999; 14: 0.997; 15: 0.985; 16: 0.991; 17: 0.998 | R-Squared [484,530]
|  | 1: 1:21; 2: 0:57; 3: 1:06; 4: 1:09; 5: 1:00; 13: 0:39; 14: 0:06; 15: 0:06; 16: 0:06; 17: 0:39 | t at Max V [484,530]
|  | 1: 0:54; 2: 0:37; 3: 0:46; 4: 0:45; 5: 0:43; 13: 0:30; 14: ?????; 15: 0:00; 16: ?????; 17: 0:30 | Lagtime [484,530]
| B | [24 empty] | Max V [484,530]
R-Squared [484,530]
t at Max V [484,530]
Lagtime [484,530]
| C | 1: 85266.667; 2: 960200; 3: 1017233.333; 4: 1193700; 5: 934333.333; 13: 2503966.667; 14: 56866.667; 15: 62633.333; 16: 60833.333; 17: 2454833.333 | Max V [484,530]
|  | 1: 0.989; 2: 1; 3: 0.999; 4: 0.998; 5: 1; 13: 0.997; 14: 0.963; 15: 0.97; 16: 0.984; 17: 0.997 | R-Squared [484,530]
|  | 1: 0:06; 2: 1:09; 3: 1:09; 4: 1:00; 5: 1:12; 13: 0:39; 14: 0:06; 15: 0:09; 16: 0:06; 17: 0:39 | t at Max V [484,530]
|  | 1: ?????; 2: 0:42; 3: 0:49; 4: 0:39; 5: 0:54; 13: 0:31; 14: ?????; 15: 0:00; 16: 0:00; 17: 0:31 | Lagtime [484,530]
| D | [24 empty] | Max V [484,530]
R-Squared [484,530]
t at Max V [484,530]
Lagtime [484,530]
| E | 1: 436233.333; 2: 1154533.333; 3: 1309000; 4: 71900; 5: 992866.667; 13: 54433.333; 14: 61733.333; 15: 53433.333; 16: 69000; 17: 2258633.333 | Max V [484,530]
|  | 1: 0.999; 2: 0.999; 3: 0.999; 4: 0.997; 5: 0.999; 13: 0.967; 14: 0.991; 15: 0.982; 16: 0.997; 17: 0.999 | R-Squared [484,530]
|  | 1: 1:51; 2: 1:15; 3: 1:03; 4: 0:06; 5: 1:27; 13: 0:06; 14: 0:06; 15: 0:12; 16: 0:06; 17: 0:42 | t at Max V [484,530]
|  | 1: 0:51; 2: 0:48; 3: 0:44; 4: 0:00; 5: 1:05; 13: 0:00; 14: ?????; 15: ?????; 16: ?????; 17: 0:32 | Lagtime [484,530]
| F | [24 empty] | Max V [484,530]
R-Squared [484,530]
t at Max V [484,530]
Lagtime [484,530]
| G | 1: 52633.333; 2: 511633.333; 3: 1234666.667; 4: 66066.667; 5: 65100; 13: 57933.333; 14: 63800; 15: 61233.333; 16: 72433.333; 17: 50366.667 | Max V [484,530]
|  | 1: 0.977; 2: 0.992; 3: 1; 4: 0.992; 5: 0.976; 13: 0.995; 14: 0.956; 15: 0.994; 16: 0.989; 17: 0.993 | R-Squared [484,530]
|  | 1: 0:06; 2: 1:51; 3: 1:12; 4: 0:12; 5: 0:06; 13: 0:06; 14: 0:06; 15: 0:06; 16: 0:06; 17: 0:06 | t at Max V [484,530]
|  | 1: 0:00; 2: 0:59; 3: 0:48; 4: 0:02; 5: ?????; 13: ?????; 14: ?????; 15: 0:00; 16: 0:01; 17: ????? | Lagtime [484,530]
| H | [24 empty] | Max V [484,530]
R-Squared [484,530]
t at Max V [484,530]
Lagtime [484,530]
| I | 1: 835066.667; 2: 1020933.333; 3: 1364666.667; 4: 61866.667; 5: 54933.333; 13: 64366.667; 14: 60800; 15: 58966.667; 16: 76833.333; 17: 57133.333 | Max V [484,530]
|  | 1: 1; 2: 0.999; 3: 1; 4: 0.997; 5: 0.993; 13: 0.917; 14: 1; 15: 0.974; 16: 0.997; 17: 0.996 | R-Squared [484,530]
|  | 1: 1:18; 2: 0:48; 3: 0:57; 4: 0:18; 5: 0:09; 13: 1:54; 14: 0:06; 15: 0:06; 16: 0:06; 17: 0:06 | t at Max V [484,530]
|  | 1: 0:45; 2: 0:32; 3: 0:36; 4: 0:01; 5: 0:01; 13: 0:41; 14: ?????; 15: ?????; 16: 0:00; 17: ????? | Lagtime [484,530]
| J | [24 empty] | Max V [484,530]
R-Squared [484,530]
t at Max V [484,530]
Lagtime [484,530]
| K | 1: 946066.667; 2: 983800; 3: 1069400; 4: 61000; 5: 58133.333; 13: 52966.667; 14: 64533.333; 15: 61233.333; 16: 58900; 17: 46433.333 | Max V [484,530]
|  | 1: 1; 2: 1; 3: 0.999; 4: 0.968; 5: 0.974; 13: 0.997; 14: 0.985; 15: 0.998; 16: 0.984; 17: 0.957 | R-Squared [484,530]
|  | 1: 0:57; 2: 1:00; 3: 1:15; 4: 0:06; 5: 0:06; 13: 0:09; 14: 0:06; 15: 0:09; 16: 0:06; 17: 0:06 | t at Max V [484,530]
|  | 1: 0:38; 2: 0:40; 3: 0:50; 4: ?????; 5: 0:00; 13: 0:02; 14: ?????; 15: 0:01; 16: ?????; 17: ????? | Lagtime [484,530]
| L | [24 empty] | Max V [484,530]
R-Squared [484,530]
t at Max V [484,530]
Lagtime [484,530]
| M | 1: 1039066.667; 2: 589833.333; 3: 1170600; 4: 53666.667; 5: 61233.333; 13: 69733.333; 14: 64233.333; 15: 57633.333; 16: 59666.667; 17: 58233.333 | Max V [484,530]
|  | 1: 0.997; 2: 0.994; 3: 0.999; 4: 0.977; 5: 0.996; 13: 0.939; 14: 0.99; 15: 0.966; 16: 0.955; 17: 0.994 | R-Squared [484,530]
|  | 1: 1:48; 2: 1:42; 3: 1:03; 4: 0:06; 5: 0:06; 13: 1:36; 14: 0:06; 15: 1:54; 16: 0:06; 17: 0:06 | t at Max V [484,530]
|  | 1: 1:14; 2: 1:01; 3: 0:42; 4: ?????; 5: ?????; 13: 0:33; 14: 0:00; 15: 0:29; 16: ?????; 17: 0:00 | Lagtime [484,530]
| N | [24 empty] | Max V [484,530]
R-Squared [484,530]
t at Max V [484,530]
Lagtime [484,530]
| O | 1: 989533.333; 2: 1274666.667; 3: 561300; 4: 51900; 13: 63300; 14: 52066.667; 15: 68400; 16: 52033.333 | Max V [484,530]
|  | 1: 0.998; 2: 1; 3: 0.998; 4: 0.998; 13: 0.978; 14: 0.975; 15: 0.986; 16: 0.981 | R-Squared [484,530]
|  | 1: 1:15; 2: 0:54; 3: 1:18; 4: 0:06; 13: 1:39; 14: 1:42; 15: 0:06; 16: 0:09 | t at Max V [484,530]
|  | 1: 0:47; 2: 0:34; 3: 0:49; 4: ?????; 13: 0:32; 14: 0:35; 15: 0:00; 16: 0:01 | Lagtime [484,530]
| P | [24 empty] | Max V [484,530]
R-Squared [484,530]
t at Max V [484,530]
Lagtime [484,530]

## plate_map
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | BTC24_11_C_1 | F1724_11_B_5 | YUR24_11_C_2 | F1724_12_B_10 | POS-DNA-1 | [7 empty] | BTC24_11_C_1 | F1724_11_B_5 | YUR24_11_C_2 | F1724_12_B_10 | POS-DNA-1
B
C | BTC24_11_C_2 | F6124_10_B_7 | YUR24_11_C_4 | MIL24_12_B_5 | POS-DNA-2 | [7 empty] | BTC24_11_C_2 | F6124_10_B_7 | YUR24_11_C_4 | MIL24_12_B_5 | POS-DNA-2
D
E | BUT24_11_C_1 | F6124_11_A_75 | BUT24_12_B_1 | EBK-1-1 | POS-DNA-3 | [7 empty] | BUT24_11_C_1 | F6124_11_A_75 | BUT24_12_B_1 | EBK-1-1 | POS-DNA-3
F
G | BUT24_11_C_2 | F6124_11_B_3 | BUT24_12_C_1 | EBK-2-1 | NEG-DNA-1 | [7 empty] | BUT24_11_C_2 | F6124_11_B_3 | BUT24_12_C_1 | EBK-2-1 | NEG-DNA-1
H
I | BUT24_11_C_3 | KNL24_11_D_3 | BUT24_12_C_2 | EBK-3-1 | NEG-DNA-2 | [7 empty] | BUT24_11_C_3 | KNL24_11_D_3 | BUT24_12_C_2 | EBK-3-1 | NEG-DNA-2
J
K | DEL24_11_C_4 | MIL24_11_A_14 | BUT24_12_C_3 | EBK-4-1 | NEG-DNA-3 | [7 empty] | DEL24_11_C_4 | MIL24_11_A_14 | BUT24_12_C_3 | EBK-4-1 | NEG-DNA-3
L
M | DER24_11_A_2 | MIL24_11_B_1 | BUT24_12_D_1 | NTC-1 | NTC-3 | [7 empty] | DER24_11_A_2 | MIL24_11_B_1 | BUT24_12_D_1 | NTC-1 | NTC-3
N
O | DER24_11_A_3 | TIS24_11_C_3 | DEL24_12_C_3 | NTC-2 | [8 empty] | DER24_11_A_3 | TIS24_11_C_3 | DEL24_12_C_3 | NTC-2
P