## sherlock_output
Software Version | 3.11.19
Experiment File Path: | C:\Users\sstinson\Desktop\JPE2024_E3+4_Ots16_SAS_01042024.xpt
Protocol File Path: | C:\Users\sstinson\OneDrive - California Department of Water Resources\GeM\equipment\BioTek Synergy H1 plate reader\protocols\SHERLOCK_2hr_3minintervals_384plate.prt
Plate Number | Plate 1
Date | 2024-01-04
Time | 11:22
Reader Type: | Synergy H1
Reader Serial Number: | 21111913
Reading Type | Reader
Procedure Details
Plate Type | Corning 384 Low volume round bottom
Eject plate on completion
Set Temperature | Setpoint 37°C
Preheat before moving to next step
Start Kinetic | Runtime 2:00:00 (HH:MM:SS), Interval 0:03:00, 41 Reads
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 484, Emission: 530
Optics: Top, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 9.5 mm
End Kinetic
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | SPL1 | SPL2 | SPL3 | SPL4 | SPL5 | SPL6 | SPL7 | SPL8 | SPL9 |  |  | SPL70 | SPL83 | SPL84 | SPL85 | SPL86 | SPL87 | SPL88 | SPL89 | SPL90 | SPL91 |  |  | SPL152 | Well ID
| B | [24 empty] | Well ID
| C | SPL10 | SPL11 | SPL12 | SPL13 | SPL14 | SPL15 | SPL16 | SPL17 | SPL18 |  |  | SPL71 | SPL92 | SPL93 | SPL94 | SPL95 | SPL96 | SPL97 | SPL98 | SPL99 | SPL100 |  |  | SPL153 | Well ID
| D | [24 empty] | Well ID
| E | SPL19 | SPL20 | SPL21 | SPL22 | SPL23 | SPL24 | SPL25 | SPL26 | SPL27 |  |  | SPL72 | SPL101 | SPL102 | SPL103 | SPL104 | SPL105 | SPL106 | SPL107 | SPL108 | SPL109 |  |  | SPL154 | Well ID
| F | [24 empty] | Well ID
| G | SPL28 | SPL29 | SPL30 | SPL31 | SPL32 | SPL33 | SPL34 | SPL35 | SPL36 |  |  | SPL73 | SPL110 | SPL111 | SPL112 | SPL113 | SPL114 | SPL115 | SPL116 | SPL117 | SPL118 |  |  | SPL155 | Well ID
| H | [11 empty] | SPL73: SPL74 |  |  | SPL156 | Well ID
| I | SPL37 | SPL38 | SPL39 | SPL40 | SPL41 | SPL42 | SPL43 | SPL44 | SPL45 |  |  | SPL75 | SPL119 | SPL120 | SPL121 | SPL122 | SPL123 | SPL124 | SPL125 | SPL126 | SPL127 |  |  | SPL157 | Well ID
| J | [11 empty] | SPL74 SPL75: SPL76 |  |  | SPL158 | Well ID
| K | SPL46 | SPL47 | SPL48 | SPL49 | SPL50 | SPL51 | SPL52 | SPL53 |  |  |  | SPL77 | SPL128 | SPL129 | SPL130 | SPL131 | SPL132 | SPL133 | SPL134 | SPL135 |  |  |  | SPL159 | Well ID
| L | [11 empty] | SPL76 SPL77: SPL78 |  |  |  | SPL160 | Well ID
| M | SPL54 | SPL55 | SPL56 | SPL57 | SPL58 | SPL59 | SPL60 | SPL61 |  |  |  | SPL79 | SPL136 | SPL137 | SPL138 | SPL139 | SPL140 | SPL141 | SPL142 | SPL143 |  |  |  | SPL161 | Well ID
| N | [11 empty] | SPL78 SPL79: SPL80 |  |  |  | SPL162 | Well ID
| O | SPL62 | SPL63 | SPL64 | SPL65 | SPL66 | SPL67 | SPL68 | SPL69 |  |  |  | SPL81 | SPL144 | SPL145 | SPL146 | SPL147 | SPL148 | SPL149 | SPL150 | SPL151 |  |  |  | SPL163 | Well ID
| P | [11 empty] | SPL80 SPL81: SPL82 |  |  |  | SPL164 | Well ID
484530
| Time | T° 484,530 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A12 | A13 | A14 | A15 | A16 | A17 | A18 | A19 | A20 | A21 | A24 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C12 | C13 | C14 | C15 | C16 | C17 | C18 | C19 | C20 | C21 | C24 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E12 | E13 | E14 | E15 | E16 | E17 | E18 | E19 | E20 | E21 | E24 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G12 | G13 | G14 | G15 | G16 | G17 | G18 | G19 | G20 | G21 | G24 | H12 | H24 | I1 | I2 | I3 | I4 | I5 | I6 | I7 | I8 | I9 | I12 | I13 | I14 | I15 | I16
| 0:00 | 37 | 2017 | 2142 | 1966 | 1933 | 2030 | 2078 | 2069 | 1936 | 2049 | 2095 | 2613 | 2474 | 2560 | 2443 | 2535 | 2370 | 2411 | 2196 | 2323 | 2339 | 2204 | 2127 | 2019 | 1927 | 1749 | 1931 | 2026 | 1851 | 2012 | 1973 | 2444 | 2420 | 2570 | 2365 | 2396 | 2069 | 2283 | 2059 | 1972 | 2416 | 2144 | 2089 | 1895 | 1899 | 1942 | 1866 | 1787 | 1931 | 2206 | 1996 | 2484 | 2426 | 2548 | 2364 | 2533 | 2448 | 2361 | 2073 | 2413 | 2379 | 2224 | 1906 | 2130 | 1987 | 1883 | 2024 | 2120 | 2142 | 2049 | 2029 | 2492 | 2343 | 2537 | 2369 | 2417 | 2476 | 2470 | 2332 | 2337 | 2503 | 2138 | 2234 | 2127 | 2087 | 1976 | 2123 | 1864 | 2053 | 2061 | 2090 | 1714 | 2031 | 2684 | 2556 | 2810 | 2491
| 0:03 | 37 | 2349 | 2425 | 2347 | 2183 | 2399 | 2393 | 2397 | 2170 | 2424 | 2430 | 3099 | 3035 | 2895 | 2709 | 3085 | 2911 | 2886 | 2534 | 2804 | 2907 | 2526 | 2556 | 2288 | 2272 | 1969 | 2224 | 2358 | 2127 | 2298 | 2298 | 2869 | 2948 | 2987 | 2858 | 2849 | 2416 | 2783 | 2473 | 2318 | 2824 | 2470 | 2343 | 2221 | 2073 | 2258 | 2204 | 2123 | 2271 | 2436 | 2394 | 2923 | 2947 | 3068 | 2810 | 3115 | 2825 | 2824 | 2474 | 2824 | 2955 | 2645 | 2116 | 2403 | 2315 | 2269 | 2326 | 2414 | 2362 | 2350 | 2410 | 3013 | 2734 | 3005 | 2888 | 2790 | 2936 | 2827 | 2747 | 2913 | 2973 | 2404 | 2485 | 2435 | 2327 | 2363 | 2419 | 2103 | 2375 | 2440 | 2386 | 1932 | 2232 | 3034 | 2858 | 3198 | 2942
| 0:06 | 37 | 2720 | 2805 | 2660 | 2438 | 2659 | 2739 | 2597 | 2415 | 2685 | 2829 | 3423 | 3402 | 3376 | 3075 | 3495 | 3227 | 3288 | 2948 | 3200 | 3304 | 2801 | 2848 | 2656 | 2681 | 2253 | 2544 | 2722 | 2441 | 2484 | 2557 | 3243 | 3506 | 3462 | 3298 | 3183 | 2666 | 3278 | 2795 | 2527 | 3235 | 2728 | 2654 | 2672 | 2251 | 2529 | 2576 | 2443 | 2563 | 2802 | 2735 | 3255 | 3275 | 3478 | 3178 | 3490 | 3255 | 3279 | 2879 | 3080 | 3307 | 2931 | 2372 | 2739 | 2658 | 2560 | 2679 | 2644 | 2738 | 2628 | 2681 | 3364 | 3058 | 3393 | 3336 | 3242 | 3353 | 3131 | 2995 | 3252 | 3323 | 2578 | 2693 | 2715 | 2595 | 2615 | 2826 | 2341 | 2824 | 2814 | 2730 | 2340 | 2504 | 3525 | 3148 | 3641 | 3526
| 0:09 | 37 | 2910 | 3057 | 2851 | 2646 | 3031 | 3058 | 2827 | 2572 | 2893 | 3078 | 3749 | 3851 | 3730 | 3322 | 3799 | 3660 | 3586 | 3156 | 3548 | 3521 | 3149 | 3166 | 2980 | 3138 | 2512 | 2848 | 3056 | 2716 | 2792 | 2976 | 3606 | 3954 | 3854 | 3720 | 3611 | 2940 | 3508 | 3136 | 2727 | 3437 | 3046 | 2992 | 2950 | 2420 | 2805 | 2852 | 2653 | 2865 | 3069 | 3119 | 3661 | 3704 | 3880 | 3544 | 3854 | 3527 | 3553 | 3119 | 3510 | 3593 | 3147 | 2542 | 3014 | 3047 | 2860 | 3023 | 2926 | 2933 | 2902 | 3160 | 3606 | 3340 | 3723 | 3646 | 3523 | 3758 | 3422 | 3291 | 3655 | 3611 | 2846 | 2783 | 2858 | 2881 | 2982 | 3143 | 2448 | 3093 | 3046 | 2979 | 2606 | 2760 | 3673 | 3490 | 4065 | 3750
| 0:12 | 37 | 3195 | 3277 | 3114 | 2776 | 3216 | 3203 | 2929 | 2670 | 3193 | 3289 | 4123 | 4007 | 3941 | 3591 | 4183 | 3846 | 3804 | 3307 | 3527 | 3738 | 3335 | 3493 | 3278 | 3489 | 2711 | 3131 | 3382 | 2909 | 2939 | 3343 | 3717 | 4242 | 4227 | 4043 | 3854 | 3061 | 3706 | 3382 | 2790 | 3609 | 3277 | 3174 | 3331 | 2557 | 3046 | 3120 | 2971 | 3203 | 3312 | 3480 | 3835 | 3992 | 4066 | 3770 | 4114 | 3661 | 3747 | 3500 | 3735 | 3810 | 3471 | 2737 | 3320 | 3230 | 3165 | 3247 | 3056 | 3270 | 3224 | 3312 | 3890 | 3556 | 4012 | 4004 | 3688 | 3971 | 3679 | 3441 | 3894 | 3788 | 3108 | 2782 | 3170 | 3070 | 3254 | 3465 | 2589 | 3415 | 3374 | 3306 | 2899 | 2932 | 3951 | 3626 | 4433 | 4116
| 0:15 | 37 | 3393 | 3448 | 3403 | 2852 | 3479 | 3496 | 3169 | 2899 | 3571 | 3536 | 4165 | 4072 | 4230 | 3675 | 4373 | 3992 | 3935 | 3360 | 3692 | 3925 | 3659 | 3668 | 3374 | 3724 | 2907 | 3378 | 3521 | 3132 | 3111 | 3541 | 4127 | 4321 | 4475 | 4328 | 4056 | 3200 | 4026 | 3504 | 2919 | 3840 | 3491 | 3400 | 3498 | 2712 | 3232 | 3347 | 3174 | 3456 | 3553 | 3658 | 4037 | 4097 | 4279 | 4008 | 4287 | 3874 | 4026 | 3629 | 3874 | 3948 | 3646 | 2905 | 3536 | 3516 | 3336 | 3604 | 3293 | 3449 | 3493 | 3644 | 4118 | 3611 | 4257 | 4245 | 3846 | 4241 | 3847 | 3550 | 4083 | 3938 | 3230 | 2830 | 3351 | 3352 | 3466 | 3635 | 2834 | 3606 | 3673 | 3488 | 3036 | 3077 | 4042 | 3971 | 4639 | 4311
| 0:18 | 37 | 3505 | 3709 | 3609 | 3108 | 3760 | 3670 | 3319 | 3078 | 3769 | 3825 | 4210 | 4279 | 4336 | 3777 | 4527 | 4037 | 4115 | 3448 | 3904 | 4035 | 3687 | 3910 | 3664 | 3993 | 3052 | 3690 | 3831 | 3246 | 3347 | 3717 | 4186 | 4561 | 4571 | 4422 | 4192 | 3199 | 4220 | 3664 | 3031 | 3883 | 3549 | 3638 | 3692 | 2818 | 3372 | 3594 | 3446 | 3728 | 3801 | 3945 | 4199 | 4235 | 4523 | 4207 | 4427 | 3955 | 4299 | 3715 | 4055 | 4155 | 3803 | 3134 | 3825 | 3766 | 3613 | 3778 | 3536 | 3636 | 3644 | 3957 | 4343 | 3643 | 4418 | 4272 | 4068 | 4390 | 3949 | 3665 | 4307 | 4140 | 3383 | 2882 | 3497 | 3430 | 3779 | 3830 | 2939 | 3858 | 3896 | 3718 | 3368 | 3217 | 4210 | 3940 | 4816 | 4460
| 0:21 | 37 | 3614 | 3799 | 3705 | 3241 | 3923 | 3933 | 3430 | 3091 | 4034 | 3967 | 4509 | 4401 | 4443 | 3872 | 4695 | 4115 | 4050 | 3543 | 3924 | 4112 | 3871 | 4093 | 3815 | 4252 | 3246 | 3800 | 3945 | 3431 | 3498 | 4004 | 4318 | 4597 | 4740 | 4574 | 4329 | 3356 | 4355 | 3815 | 3057 | 4099 | 3739 | 3819 | 3883 | 2816 | 3530 | 3868 | 3632 | 3684 | 3923 | 4079 | 4383 | 4402 | 4620 | 4290 | 4701 | 4111 | 4294 | 3779 | 4111 | 4173 | 3999 | 3261 | 3942 | 4096 | 3808 | 4043 | 3631 | 3786 | 3968 | 4171 | 4512 | 3709 | 4630 | 4331 | 4158 | 4542 | 4073 | 3717 | 4302 | 4174 | 3507 | 3001 | 3679 | 3727 | 3966 | 4084 | 3126 | 4102 | 4194 | 3818 | 3512 | 3289 | 4306 | 3983 | 4978 | 4485
| 0:24 | 37 | 3832 | 3904 | 3871 | 3289 | 4130 | 4040 | 3572 | 3245 | 4088 | 4235 | 4599 | 4514 | 4457 | 3990 | 4717 | 4167 | 4237 | 3602 | 4089 | 4180 | 4147 | 4234 | 4016 | 4379 | 3300 | 3859 | 4227 | 3544 | 3719 | 4153 | 4341 | 4816 | 4791 | 4616 | 4370 | 3399 | 4384 | 3776 | 3174 | 4143 | 3886 | 3971 | 4121 | 2839 | 3677 | 3950 | 3774 | 3971 | 4175 | 4274 | 4455 | 4506 | 4761 | 4500 | 4732 | 4243 | 4322 | 3868 | 4200 | 4279 | 4140 | 3293 | 4104 | 4171 | 3917 | 4081 | 3855 | 3955 | 4075 | 4296 | 4545 | 3735 | 4764 | 4527 | 4262 | 4582 | 4136 | 3745 | 4414 | 4237 | 3651 | 3016 | 3866 | 3759 | 4192 | 4237 | 3113 | 4417 | 4212 | 4128 | 3715 | 3501 | 4493 | 4113 | 5100 | 4599
| 0:27 | 37 | 3930 | 4110 | 4019 | 3349 | 4413 | 4308 | 3645 | 3328 | 4286 | 4331 | 4581 | 4659 | 4570 | 4211 | 4830 | 4368 | 4264 | 3642 | 4228 | 4232 | 4741 | 4448 | 4189 | 4594 | 3444 | 4114 | 4418 | 3717 | 3759 | 4456 | 4435 | 5100 | 4956 | 4716 | 4432 | 3398 | 4611 | 3856 | 3107 | 4295 | 4035 | 4152 | 4295 | 2917 | 3833 | 4078 | 3918 | 4130 | 4322 | 4585 | 4597 | 4639 | 5166 | 4520 | 4861 | 4269 | 4535 | 3945 | 4370 | 4445 | 4188 | 3489 | 4297 | 4394 | 4117 | 4385 | 4344 | 4299 | 4239 | 4488 | 4619 | 3838 | 4797 | 4580 | 4331 | 4684 | 4246 | 3864 | 4395 | 4407 | 3817 | 3237 | 4291 | 4075 | 4426 | 4443 | 3235 | 4665 | 4500 | 4386 | 3973 | 3689 | 4509 | 4223 | 5524 | 4748
| 0:30 | 37 | 4121 | 4317 | 4250 | 3462 | 5151 | 4300 | 3920 | 3608 | 4565 | 4551 | 4796 | 4817 | 4628 | 4585 | 4987 | 4420 | 4326 | 3695 | 4196 | 4238 | 5213 | 4621 | 4324 | 4829 | 3622 | 4363 | 4638 | 4001 | 3952 | 4604 | 4687 | 5428 | 4949 | 4849 | 4583 | 3496 | 4642 | 4123 | 3247 | 4306 | 4341 | 4438 | 4472 | 3076 | 4169 | 4400 | 4346 | 4334 | 4567 | 4667 | 4576 | 4839 | 5885 | 4547 | 4898 | 4342 | 4585 | 3889 | 4431 | 4357 | 4469 | 3566 | 4896 | 4515 | 4348 | 4554 | 5242 | 5059 | 4553 | 4746 | 4642 | 3875 | 4944 | 4661 | 4382 | 4779 | 4267 | 3952 | 4464 | 4541 | 4124 | 3397 | 4768 | 4558 | 4817 | 4609 | 3307 | 5169 | 4610 | 4906 | 4039 | 4011 | 4576 | 4392 | 6459 | 4836
| 0:33 | 37 | 4373 | 4566 | 4731 | 3493 | 5693 | 4639 | 4146 | 3981 | 4833 | 4791 | 4873 | 4866 | 4769 | 5421 | 5016 | 4443 | 4466 | 3779 | 4254 | 4375 | 6103 | 4986 | 4378 | 4900 | 3825 | 4971 | 4871 | 4214 | 4142 | 4853 | 4676 | 6498 | 5051 | 4889 | 4663 | 3515 | 4679 | 3972 | 3293 | 4408 | 4641 | 5143 | 4654 | 3231 | 4535 | 4641 | 4966 | 4631 | 4539 | 5062 | 4695 | 4899 | 7085 | 4578 | 4925 | 4470 | 4698 | 4081 | 4442 | 4524 | 4555 | 3618 | 5676 | 4793 | 4652 | 4737 | 6482 | 6666 | 4878 | 4927 | 4822 | 4059 | 4868 | 4793 | 4679 | 4973 | 4308 | 3977 | 4645 | 4531 | 4423 | 4116 | 5415 | 5453 | 5405 | 4930 | 3454 | 5950 | 4821 | 5618 | 4509 | 4305 | 4759 | 4242 | 7954 | 4892
| 0:36 | 37 | 4925 | 4921 | 5085 | 3642 | 6268 | 4933 | 4381 | 4657 | 5417 | 4802 | 4914 | 4893 | 4788 | 6417 | 5113 | 4573 | 4335 | 3786 | 4308 | 4422 | 7599 | 5379 | 4601 | 5113 | 4248 | 6268 | 5355 | 4665 | 4405 | 4854 | 4783 | 9142 | 5261 | 4977 | 4825 | 3512 | 4895 | 4143 | 3340 | 4497 | 4996 | 6046 | 4877 | 3576 | 5034 | 5063 | 5556 | 5153 | 5000 | 5028 | 4746 | 4935 | 10108 | 4730 | 5097 | 4562 | 4728 | 4072 | 4527 | 4481 | 4762 | 3797 | 6951 | 5175 | 5022 | 4952 | 7585 | 8406 | 5094 | 5199 | 4837 | 4113 | 5031 | 4788 | 4636 | 5120 | 4345 | 4012 | 4614 | 4713 | 5050 | 5613 | 6461 | 6473 | 5973 | 5293 | 3662 | 7328 | 4956 | 6376 | 4773 | 4830 | 4778 | 4429 | 10655 | 4982
| 0:39 | 37 | 5540 | 5376 | 5765 | 3651 | 6844 | 5376 | 4845 | 5263 | 6021 | 4982 | 4941 | 4853 | 4845 | 8579 | 5180 | 4630 | 4661 | 3838 | 4386 | 4635 | 9781 | 5650 | 4771 | 5219 | 4537 | 8575 | 5993 | 5269 | 4729 | 5079 | 4932 | 14182 | 5235 | 5109 | 4705 | 3725 | 5000 | 4176 | 3398 | 4530 | 5814 | 7692 | 5117 | 4090 | 5924 | 5434 | 6371 | 5979 | 5416 | 5204 | 4825 | 4992 | 14731 | 4905 | 5102 | 4610 | 4818 | 4187 | 4677 | 4772 | 5054 | 3963 | 7696 | 5625 | 5660 | 5173 | 9070 | 10558 | 5849 | 5126 | 4937 | 4067 | 5135 | 4898 | 4643 | 5037 | 4420 | 4111 | 4766 | 4732 | 5875 | 8956 | 7764 | 7905 | 6881 | 5996 | 3844 | 8917 | 5244 | 7532 | 5260 | 5222 | 4844 | 4551 | 14591 | 5125
| 0:42 | 37 | 6186 | 6137 | 6744 | 3763 | 7470 | 5752 | 5616 | 5904 | 6907 | 5083 | 5093 | 4833 | 4979 | 11305 | 5224 | 4642 | 4687 | 3829 | 4441 | 4700 | 12304 | 6293 | 5173 | 5500 | 5099 | 10752 | 6802 | 6026 | 5169 | 5269 | 4872 | 21358 | 5247 | 5086 | 4880 | 3773 | 5007 | 4291 | 3385 | 4619 | 6948 | 10034 | 5487 | 4842 | 6917 | 5936 | 7084 | 7040 | 5764 | 5507 | 4960 | 5095 | 21090 | 4859 | 5280 | 4770 | 4944 | 4338 | 4750 | 4713 | 5443 | 4059 | 8436 | 6218 | 6279 | 5069 | 10449 | 13208 | 6480 | 5453 | 5031 | 4185 | 5180 | 4996 | 4783 | 5148 | 4561 | 4071 | 4847 | 4754 | 6936 | 14361 | 9565 | 9402 | 7935 | 6788 | 4153 | 11000 | 5499 | 8485 | 5612 | 6263 | 4988 | 4561 | 19516 | 5191
| 0:45 | 37 | 7369 | 6972 | 7763 | 3827 | 8714 | 6690 | 6519 | 6669 | 7896 | 5287 | 5031 | 4967 | 4930 | 15000 | 5475 | 4695 | 4692 | 3997 | 4526 | 4724 | 14911 | 7005 | 5383 | 5551 | 5689 | 13208 | 8025 | 6893 | 5747 | 5352 | 4901 | 29409 | 5340 | 5254 | 4913 | 3767 | 5061 | 4415 | 3499 | 4734 | 8253 | 12783 | 5936 | 5802 | 8130 | 6724 | 8134 | 8189 | 6321 | 5338 | 5038 | 5081 | 28034 | 4954 | 5330 | 4711 | 5013 | 4324 | 4653 | 4802 | 6034 | 4260 | 9955 | 7423 | 7084 | 5379 | 11911 | 15531 | 7298 | 5508 | 5194 | 4251 | 5145 | 5055 | 4818 | 5074 | 4605 | 4220 | 4859 | 4832 | 7976 | 21480 | 11723 | 10962 | 9094 | 8279 | 4521 | 13550 | 5831 | 9603 | 6209 | 7983 | 5038 | 4571 | 25209 | 5186
| 0:48 | 37 | 9002 | 8186 | 8934 | 3831 | 10328 | 8032 | 8043 | 7545 | 8785 | 5269 | 5136 | 5029 | 5053 | 18827 | 5465 | 4853 | 4730 | 4106 | 4601 | 4668 | 18097 | 7713 | 5881 | 5642 | 6583 | 16571 | 9281 | 8061 | 6264 | 5561 | 5013 | 36327 | 5423 | 5249 | 5069 | 3774 | 5097 | 4358 | 3567 | 4715 | 10460 | 15812 | 6604 | 7082 | 9603 | 7628 | 9017 | 9892 | 6881 | 5625 | 5037 | 5244 | 34398 | 5025 | 5341 | 4876 | 5046 | 4387 | 4818 | 4927 | 6831 | 4670 | 12266 | 8719 | 8002 | 5611 | 13483 | 18277 | 8248 | 5675 | 5131 | 4292 | 5371 | 5147 | 4828 | 5257 | 4604 | 4226 | 5047 | 5021 | 9212 | 28875 | 14065 | 12179 | 10674 | 10007 | 4881 | 16451 | 6416 | 11199 | 6808 | 10375 | 5077 | 4604 | 30661 | 5385
| 0:51 | 37 | 10979 | 10224 | 10264 | 3951 | 12223 | 9962 | 10403 | 8535 | 10205 | 5408 | 5126 | 5250 | 5122 | 23016 | 5594 | 4797 | 4776 | 4101 | 4693 | 4813 | 21278 | 8565 | 6676 | 5773 | 7781 | 20558 | 11033 | 9639 | 7183 | 5612 | 4979 | 41504 | 5552 | 5335 | 4973 | 3839 | 5088 | 4438 | 3511 | 4731 | 12938 | 19054 | 7280 | 8607 | 11202 | 8839 | 10049 | 12048 | 7623 | 5817 | 4997 | 5280 | 39770 | 4988 | 5479 | 4868 | 5065 | 4520 | 4805 | 4953 | 8229 | 5053 | 15464 | 10668 | 8898 | 5739 | 15021 | 21313 | 9638 | 5799 | 5327 | 4276 | 5357 | 5231 | 4891 | 5338 | 4757 | 4401 | 5007 | 4973 | 10753 | 35656 | 16575 | 13461 | 12572 | 12586 | 5347 | 19057 | 6846 | 12660 | 7558 | 12849 | 5023 | 4701 | 36658 | 5363
| 0:54 | 37 | 13631 | 12718 | 11973 | 4031 | 14796 | 12707 | 12905 | 9644 | 11413 | 5577 | 5326 | 5219 | 5242 | 26871 | 5501 | 4872 | 4830 | 4089 | 4622 | 4847 | 25706 | 9486 | 7497 | 5917 | 9349 | 24980 | 13480 | 11588 | 8281 | 5700 | 5124 | 45169 | 5636 | 5393 | 5133 | 3908 | 5238 | 4559 | 3581 | 4731 | 16007 | 22702 | 8361 | 10544 | 13532 | 10358 | 11463 | 14793 | 8579 | 5778 | 4989 | 5314 | 43899 | 5064 | 5528 | 5004 | 5310 | 4547 | 4862 | 4946 | 10150 | 5555 | 18580 | 13382 | 10265 | 5663 | 16391 | 24486 | 11275 | 5844 | 5328 | 4297 | 5324 | 5322 | 4970 | 5345 | 4682 | 4352 | 5138 | 5092 | 12255 | 40463 | 19753 | 14817 | 14711 | 16104 | 5950 | 22629 | 7526 | 14694 | 8049 | 15464 | 5208 | 4849 | 40426 | 5435
| 0:57 | 37 | 17059 | 16030 | 13985 | 4020 | 17748 | 16261 | 15741 | 10716 | 12949 | 5572 | 5382 | 5219 | 5236 | 30368 | 5713 | 4965 | 4889 | 4098 | 4702 | 4876 | 30484 | 10644 | 8864 | 5958 | 10956 | 29143 | 16342 | 13971 | 9358 | 5807 | 5103 | 47825 | 5670 | 5498 | 5135 | 3890 | 5398 | 4557 | 3646 | 4873 | 19364 | 26788 | 9929 | 12368 | 15844 | 12250 | 13117 | 17797 | 9808 | 6062 | 5151 | 5315 | 46829 | 5070 | 5542 | 5022 | 5220 | 4590 | 4851 | 5122 | 12618 | 6283 | 22468 | 16297 | 11617 | 5835 | 17760 | 27747 | 13550 | 6113 | 5530 | 4328 | 5557 | 5324 | 4994 | 5499 | 4770 | 4448 | 5226 | 5127 | 14184 | 45179 | 22545 | 16505 | 17172 | 20418 | 6540 | 25914 | 8536 | 17218 | 8894 | 17770 | 5190 | 4929 | 44396 | 5528
| 1:00 | 37 | 20630 | 19936 | 16721 | 4017 | 21716 | 20667 | 19438 | 12169 | 14585 | 5793 | 5432 | 5390 | 5285 | 33585 | 5675 | 4971 | 5043 | 4173 | 4708 | 4966 | 35234 | 11853 | 10303 | 6182 | 13390 | 32124 | 19727 | 17032 | 10781 | 5902 | 5382 | 49400 | 5612 | 5676 | 5244 | 3947 | 5431 | 4614 | 3564 | 4985 | 23264 | 31573 | 12080 | 14604 | 19227 | 14623 | 14986 | 21213 | 11359 | 6134 | 5192 | 5460 | 48717 | 5275 | 5700 | 5102 | 5263 | 4581 | 4849 | 5054 | 15633 | 6872 | 27002 | 20142 | 13414 | 5937 | 19116 | 31487 | 16111 | 6071 | 5421 | 4473 | 5537 | 5512 | 5045 | 5604 | 4815 | 4359 | 5332 | 5225 | 15957 | 47970 | 26930 | 18526 | 19992 | 24482 | 7254 | 29270 | 9676 | 19862 | 9738 | 20655 | 5174 | 4849 | 47171 | 5604
| 1:03 | 37 | 25082 | 23855 | 19857 | 4053 | 25285 | 25520 | 22916 | 13808 | 16477 | 5848 | 5454 | 5309 | 5353 | 35948 | 5799 | 4983 | 5055 | 4159 | 4814 | 5049 | 40462 | 13067 | 12205 | 6148 | 15604 | 35970 | 23158 | 20353 | 12473 | 6084 | 5377 | 50258 | 5636 | 5655 | 5314 | 4009 | 5371 | 4688 | 3725 | 5025 | 27090 | 36036 | 14398 | 16995 | 22947 | 17211 | 17522 | 24713 | 13079 | 6274 | 5390 | 5517 | 50125 | 5269 | 5784 | 5150 | 5344 | 4649 | 4966 | 5177 | 18918 | 7651 | 30953 | 24292 | 15360 | 6205 | 20515 | 34228 | 19264 | 6289 | 5487 | 4600 | 5646 | 5566 | 5015 | 5603 | 4837 | 4514 | 5398 | 5280 | 18192 | 48804 | 29912 | 20748 | 22837 | 29352 | 8122 | 33133 | 10955 | 22826 | 10803 | 23536 | 5298 | 4937 | 49514 | 5627
| 1:06 | 37 | 29556 | 28005 | 23467 | 4253 | 29713 | 30867 | 27139 | 15432 | 18643 | 5845 | 5578 | 5395 | 5253 | 38260 | 5932 | 5079 | 5050 | 4288 | 4787 | 5067 | 44474 | 14485 | 14371 | 6245 | 18432 | 39114 | 26979 | 24250 | 14464 | 6093 | 5296 | 51392 | 5845 | 5648 | 5335 | 4024 | 5449 | 4690 | 3666 | 5082 | 31509 | 40114 | 17409 | 18938 | 26329 | 20213 | 19768 | 28169 | 15129 | 6380 | 5377 | 5621 | 50882 | 5401 | 5750 | 5319 | 5358 | 4637 | 4924 | 5243 | 22296 | 8685 | 35212 | 28918 | 17479 | 6322 | 22638 | 36978 | 22784 | 6347 | 5594 | 4536 | 5648 | 5719 | 5094 | 5606 | 4911 | 4596 | 5342 | 5387 | 20277 | 50106 | 33773 | 23256 | 25804 | 33625 | 8886 | 36757 | 12600 | 25916 | 11881 | 25965 | 5376 | 4958 | 50487 | 5613
| 1:09 | 37 | 33971 | 32232 | 27165 | 4204 | 33737 | 36294 | 30944 | 17310 | 21175 | 5959 | 5658 | 5390 | 5375 | 39264 | 5901 | 5106 | 5172 | 4284 | 4934 | 5116 | 47951 | 15968 | 17013 | 6467 | 21146 | 42057 | 30731 | 27981 | 16274 | 6255 | 5308 | 51629 | 5874 | 5752 | 5398 | 4066 | 5592 | 4794 | 3694 | 5066 | 35191 | 43596 | 21070 | 21543 | 30392 | 23177 | 22549 | 31348 | 17174 | 6469 | 5234 | 5513 | 51456 | 5355 | 5790 | 5229 | 5451 | 4806 | 5017 | 5337 | 25576 | 9968 | 39076 | 33361 | 19785 | 6397 | 23931 | 39428 | 26645 | 6450 | 5585 | 4409 | 5710 | 5664 | 5203 | 5655 | 4908 | 4526 | 5502 | 5283 | 22969 | 50238 | 36987 | 26366 | 29233 | 38216 | 9576 | 39760 | 14568 | 29299 | 13393 | 28587 | 5402 | 5097 | 52107 | 5717
| 1:12 | 37 | 37810 | 36747 | 30818 | 4245 | 37850 | 40873 | 34625 | 19228 | 23723 | 6121 | 5557 | 5431 | 5532 | 40992 | 5944 | 5345 | 5199 | 4302 | 4913 | 5181 | 49882 | 17604 | 20039 | 6466 | 23700 | 45450 | 34487 | 31589 | 18601 | 6311 | 5325 | 51446 | 5892 | 5936 | 5351 | 4130 | 5663 | 4775 | 3803 | 5114 | 38607 | 46645 | 24748 | 23158 | 33885 | 26356 | 25412 | 34379 | 19740 | 6454 | 5388 | 5712 | 51580 | 5464 | 5887 | 5249 | 5532 | 4749 | 5007 | 5421 | 28738 | 11134 | 43319 | 37592 | 22089 | 6538 | 25960 | 41406 | 30437 | 6607 | 5571 | 4594 | 5706 | 5851 | 5127 | 5757 | 4952 | 4658 | 5530 | 5369 | 25122 | 51075 | 40015 | 29144 | 32347 | 42077 | 10670 | 43119 | 16690 | 32525 | 14359 | 31110 | 5383 | 5055 | 52945 | 5754
| 1:15 | 37 | 41391 | 40207 | 34652 | 4356 | 40532 | 44699 | 38062 | 21530 | 26458 | 6088 | 5756 | 5565 | 5506 | 41899 | 6048 | 5239 | 5220 | 4304 | 4997 | 5219 | 51750 | 19448 | 23266 | 6591 | 27032 | 47396 | 37892 | 35132 | 20663 | 6367 | 5455 | 52144 | 6069 | 5935 | 5526 | 4199 | 5737 | 4771 | 3818 | 5263 | 41735 | 48969 | 28879 | 25172 | 37260 | 29573 | 28104 | 36916 | 22550 | 6587 | 5528 | 5840 | 51941 | 5556 | 5914 | 5257 | 5526 | 4843 | 5177 | 5387 | 32050 | 12671 | 45690 | 40868 | 24272 | 6665 | 28087 | 43814 | 34465 | 6664 | 5674 | 4616 | 5892 | 5721 | 5249 | 5833 | 5030 | 4749 | 5556 | 5488 | 28076 | 49781 | 42327 | 32087 | 35393 | 44970 | 11590 | 45691 | 18946 | 36095 | 15967 | 33490 | 5539 | 5158 | 53223 | 5879
| 1:18 | 37 | 43839 | 43754 | 37979 | 4383 | 43567 | 47331 | 40681 | 23853 | 29380 | 6138 | 5673 | 5530 | 5392 | 42402 | 6086 | 5230 | 5309 | 4235 | 5056 | 5389 | 53090 | 21540 | 27264 | 6706 | 30001 | 48890 | 40590 | 38187 | 23092 | 6546 | 5495 | 52490 | 6093 | 5955 | 5508 | 4099 | 5723 | 4994 | 3847 | 5233 | 43933 | 50614 | 32743 | 27037 | 40155 | 32462 | 31232 | 38748 | 25292 | 6726 | 5538 | 5728 | 51645 | 5567 | 5923 | 5265 | 5687 | 4895 | 5202 | 5337 | 35131 | 14180 | 48746 | 43783 | 26675 | 6870 | 30249 | 45739 | 37763 | 6701 | 5724 | 4651 | 5927 | 5811 | 5301 | 5903 | 5026 | 4702 | 5557 | 5549 | 30729 | 50504 | 44158 | 35189 | 37735 | 47255 | 12630 | 48060 | 21197 | 39081 | 17432 | 36037 | 5604 | 5159 | 53945 | 5850
| 1:21 | 37 | 45402 | 46299 | 40937 | 4401 | 45646 | 49112 | 42455 | 26107 | 32322 | 6330 | 5817 | 5664 | 5543 | 42697 | 6037 | 5362 | 5328 | 4387 | 5082 | 5232 | 53711 | 23394 | 30796 | 6755 | 32312 | 49891 | 43278 | 40280 | 24871 | 6574 | 5543 | 52187 | 6117 | 5867 | 5730 | 4203 | 5764 | 5076 | 3859 | 5249 | 46403 | 51589 | 36308 | 28729 | 42393 | 35138 | 34367 | 41020 | 28155 | 6863 | 5606 | 5912 | 52042 | 5694 | 6104 | 5479 | 5830 | 4812 | 5287 | 5469 | 38656 | 15743 | 51233 | 45688 | 29177 | 7255 | 32143 | 46539 | 40532 | 6725 | 5866 | 4753 | 6055 | 5891 | 5355 | 5976 | 5156 | 4753 | 5679 | 5569 | 33515 | 50533 | 45801 | 37665 | 40521 | 49182 | 13688 | 49946 | 23790 | 41786 | 19217 | 38364 | 5744 | 5243 | 54348 | 5939
| 1:24 | 37 | 47015 | 48688 | 43742 | 4484 | 47331 | 50194 | 44263 | 28270 | 34860 | 6316 | 5870 | 5737 | 5555 | 43375 | 6101 | 5444 | 5498 | 4417 | 5017 | 5388 | 54149 | 25583 | 35032 | 6877 | 34710 | 50772 | 45525 | 43092 | 27306 | 6651 | 5590 | 52271 | 6161 | 6103 | 5683 | 4271 | 5897 | 5055 | 3859 | 5302 | 47894 | 51659 | 40171 | 30139 | 44385 | 37662 | 36679 | 42525 | 30763 | 6995 | 5568 | 5821 | 52482 | 5691 | 6225 | 5449 | 5800 | 4981 | 5358 | 5556 | 41834 | 17304 | 51631 | 47954 | 31742 | 7515 | 34627 | 47136 | 42825 | 6809 | 5850 | 4723 | 6050 | 5995 | 5340 | 6047 | 5199 | 4771 | 5745 | 5609 | 36373 | 50366 | 47242 | 40199 | 42078 | 50427 | 15221 | 52134 | 25783 | 44317 | 20573 | 40133 | 5749 | 5270 | 53968 | 6087
| 1:27 | 37 | 47834 | 49513 | 45719 | 4554 | 48302 | 50571 | 45511 | 30197 | 38089 | 6315 | 5988 | 5784 | 5688 | 44330 | 6172 | 5474 | 5507 | 4518 | 5102 | 5486 | 54293 | 27034 | 38380 | 6936 | 36765 | 51175 | 47277 | 44448 | 29332 | 6727 | 5679 | 52746 | 6324 | 6096 | 5718 | 4270 | 5847 | 5019 | 3897 | 5294 | 48918 | 51819 | 42866 | 31805 | 45410 | 39620 | 38873 | 44138 | 33386 | 6953 | 5631 | 6062 | 52455 | 5845 | 6078 | 5523 | 5862 | 4879 | 5245 | 5656 | 44975 | 19377 | 53150 | 49256 | 33708 | 7676 | 36093 | 48717 | 44692 | 6899 | 5847 | 4705 | 6176 | 6027 | 5402 | 6068 | 5249 | 4796 | 5728 | 5765 | 38907 | 50470 | 48629 | 42257 | 44351 | 51318 | 16263 | 52640 | 28125 | 46351 | 22616 | 41312 | 5665 | 5327 | 54798 | 6156
| 1:30 | 37 | 48292 | 50422 | 46951 | 4635 | 48708 | 50534 | 46250 | 31805 | 40078 | 6504 | 5885 | 5873 | 5709 | 43722 | 6417 | 5523 | 5462 | 4572 | 5182 | 5444 | 54933 | 29558 | 41797 | 6911 | 38260 | 50910 | 48574 | 45976 | 30988 | 6811 | 5575 | 52899 | 6227 | 6123 | 5709 | 4271 | 5894 | 5192 | 3980 | 5306 | 50299 | 52383 | 45228 | 33033 | 46696 | 42010 | 41087 | 44645 | 35628 | 6967 | 5606 | 6016 | 52613 | 5711 | 6195 | 5436 | 5958 | 4900 | 5425 | 5576 | 48238 | 21285 | 53766 | 50508 | 35279 | 8014 | 38732 | 48746 | 46300 | 7089 | 5894 | 4813 | 6210 | 6207 | 5585 | 6164 | 5233 | 4873 | 5887 | 5710 | 41548 | 50148 | 49060 | 43593 | 45941 | 52022 | 17736 | 54358 | 29817 | 47079 | 24378 | 42951 | 5821 | 5377 | 54503 | 6129
| 1:33 | 37 | 49128 | 50803 | 48149 | 4525 | 49310 | 50562 | 46199 | 33251 | 42358 | 6611 | 5885 | 5879 | 5770 | 44291 | 6369 | 5518 | 5582 | 4535 | 5235 | 5553 | 54125 | 31412 | 44326 | 7011 | 39853 | 50952 | 49989 | 46634 | 32783 | 6984 | 5664 | 53300 | 6386 | 6267 | 5840 | 4213 | 6086 | 5234 | 3928 | 5344 | 50893 | 52037 | 46714 | 34033 | 47473 | 43190 | 43081 | 46246 | 37650 | 7046 | 5653 | 5996 | 52510 | 5908 | 6241 | 5555 | 5921 | 5075 | 5399 | 5782 | 50205 | 22760 | 54062 | 51144 | 37570 | 8300 | 39745 | 49177 | 47319 | 7136 | 6028 | 4817 | 6231 | 6233 | 5502 | 6169 | 5232 | 4944 | 5896 | 5687 | 43565 | 49442 | 49383 | 45743 | 47043 | 52456 | 18813 | 55040 | 31848 | 49234 | 26190 | 45213 | 5867 | 5519 | 54893 | 6150
| 1:36 | 37 | 49534 | 50807 | 48462 | 4673 | 50095 | 50778 | 46662 | 34909 | 43838 | 6669 | 6107 | 5921 | 5752 | 44575 | 6358 | 5541 | 5511 | 4653 | 5343 | 5619 | 54333 | 33791 | 46147 | 7156 | 40645 | 50882 | 50947 | 47474 | 34248 | 6955 | 5632 | 52785 | 6370 | 6359 | 5896 | 4370 | 6135 | 5257 | 3942 | 5398 | 52147 | 51657 | 48582 | 35422 | 48687 | 44933 | 44260 | 46768 | 39127 | 7210 | 5721 | 6174 | 52829 | 5807 | 6344 | 5694 | 6010 | 5256 | 5571 | 5769 | 51987 | 24708 | 53554 | 51156 | 38810 | 8778 | 41694 | 49480 | 47910 | 7225 | 5976 | 4915 | 6352 | 6218 | 5659 | 6190 | 5276 | 5009 | 5897 | 5688 | 45668 | 50275 | 49506 | 46809 | 47735 | 52979 | 20309 | 55754 | 33538 | 49540 | 27277 | 45976 | 5831 | 5581 | 54610 | 6322
| 1:39 | 37 | 49016 | 50910 | 49635 | 4794 | 49851 | 51379 | 46479 | 36382 | 45519 | 6794 | 6074 | 5864 | 5776 | 44821 | 6449 | 5577 | 5689 | 4705 | 5303 | 5685 | 54418 | 36461 | 47602 | 7124 | 41588 | 51101 | 51762 | 48677 | 35830 | 7059 | 5826 | 53019 | 6397 | 6225 | 5952 | 4482 | 6205 | 5325 | 4033 | 5374 | 52052 | 51916 | 49225 | 36430 | 48544 | 45963 | 45643 | 48125 | 40833 | 7291 | 5750 | 6196 | 52056 | 5989 | 6336 | 5661 | 6012 | 5074 | 5547 | 5799 | 53617 | 26496 | 54350 | 52282 | 40349 | 9174 | 42736 | 49641 | 48848 | 7201 | 6096 | 4944 | 6566 | 6214 | 5706 | 6147 | 5315 | 5008 | 6137 | 5876 | 47609 | 49837 | 49912 | 48243 | 48634 | 52864 | 21610 | 56232 | 35290 | 50593 | 28645 | 46659 | 6019 | 5494 | 54792 | 6373
| 1:42 | 37 | 49186 | 51091 | 49696 | 4896 | 49632 | 51255 | 46683 | 37570 | 47140 | 6999 | 6055 | 5945 | 5831 | 44829 | 6521 | 5812 | 5660 | 4787 | 5267 | 5475 | 54492 | 38143 | 49051 | 7222 | 41861 | 51756 | 52845 | 48351 | 37480 | 7162 | 5862 | 52367 | 6430 | 6303 | 6059 | 4486 | 6238 | 5338 | 4158 | 5491 | 52553 | 52197 | 49830 | 37320 | 48886 | 46880 | 45989 | 48647 | 41746 | 7313 | 5786 | 6162 | 52215 | 5827 | 6596 | 5709 | 6089 | 5243 | 5488 | 5902 | 54610 | 28398 | 54021 | 51672 | 41614 | 9717 | 43993 | 49971 | 50270 | 7243 | 6102 | 4892 | 6453 | 6396 | 5736 | 6280 | 5449 | 5002 | 6117 | 5959 | 49643 | 50174 | 49817 | 49067 | 49308 | 53469 | 22902 | 55589 | 37220 | 50781 | 30216 | 47643 | 6039 | 5661 | 54869 | 6241
| 1:45 | 37 | 49586 | 51621 | 49872 | 4874 | 50043 | 51403 | 46739 | 38302 | 48247 | 6861 | 6108 | 6105 | 6032 | 44734 | 6691 | 5702 | 5676 | 4632 | 5472 | 5754 | 54268 | 40402 | 49699 | 7202 | 42870 | 51275 | 53517 | 48978 | 38230 | 7269 | 5781 | 51957 | 6607 | 6416 | 5936 | 4542 | 6176 | 5349 | 4172 | 5579 | 52666 | 52163 | 50541 | 38701 | 49362 | 47850 | 46477 | 48885 | 43206 | 7332 | 5878 | 6371 | 52708 | 6079 | 6797 | 5794 | 6172 | 5357 | 5637 | 5795 | 55013 | 30226 | 54646 | 52005 | 43272 | 10091 | 45397 | 50253 | 50676 | 7371 | 6213 | 4927 | 6484 | 6268 | 5619 | 6404 | 5398 | 5116 | 6041 | 5863 | 50768 | 49673 | 50514 | 49696 | 50052 | 53948 | 24091 | 56213 | 38531 | 51436 | 31562 | 48134 | 6131 | 5612 | 55205 | 6507
| 1:48 | 37 | 49764 | 51207 | 49842 | 4873 | 49318 | 51327 | 46531 | 39021 | 49021 | 6979 | 6290 | 6060 | 5883 | 45599 | 6710 | 5807 | 5797 | 4808 | 5545 | 5792 | 54541 | 42296 | 50645 | 7483 | 43256 | 51047 | 53630 | 49238 | 39478 | 7343 | 5865 | 52147 | 6615 | 6607 | 6143 | 4555 | 6380 | 5495 | 4084 | 5542 | 52896 | 51630 | 50526 | 38960 | 48969 | 48437 | 47025 | 49942 | 44315 | 7448 | 5899 | 6465 | 51761 | 6077 | 6677 | 5867 | 6140 | 5253 | 5742 | 5875 | 55229 | 31781 | 54026 | 51972 | 44459 | 10756 | 46666 | 50369 | 50956 | 7414 | 6299 | 4899 | 6807 | 6500 | 5833 | 6324 | 5484 | 5068 | 6160 | 5980 | 51909 | 49834 | 50547 | 49918 | 50509 | 53848 | 25478 | 56492 | 39925 | 51714 | 33008 | 49734 | 6074 | 5497 | 54673 | 6458
| 1:51 | 37 | 49973 | 51205 | 49681 | 4938 | 50059 | 50807 | 46269 | 39794 | 49267 | 6945 | 6335 | 6192 | 6058 | 44898 | 6756 | 5741 | 5819 | 4851 | 5493 | 5879 | 54229 | 44321 | 50868 | 7490 | 43423 | 51479 | 54001 | 49219 | 40743 | 7304 | 6082 | 52463 | 6617 | 6492 | 6190 | 4549 | 6400 | 5682 | 4226 | 5632 | 53175 | 52234 | 50945 | 39825 | 49533 | 48983 | 47495 | 50586 | 45442 | 7581 | 6129 | 6359 | 52327 | 6232 | 6768 | 6009 | 6364 | 5464 | 5713 | 5998 | 55745 | 32869 | 53924 | 52427 | 45372 | 11404 | 47303 | 50513 | 50809 | 7572 | 6253 | 5079 | 6792 | 6623 | 5896 | 6376 | 5512 | 5162 | 6171 | 6008 | 53339 | 49834 | 50462 | 50694 | 49800 | 53469 | 26769 | 56360 | 41027 | 52113 | 34253 | 50050 | 6125 | 5752 | 54735 | 6490
| 1:54 | 37 | 49611 | 51071 | 50022 | 4961 | 49434 | 51130 | 46388 | 40712 | 50285 | 7114 | 6285 | 6154 | 6119 | 45497 | 6719 | 5853 | 5855 | 4957 | 5455 | 5808 | 54191 | 45809 | 50991 | 7538 | 43772 | 51537 | 54159 | 49289 | 41062 | 7440 | 6034 | 52458 | 6802 | 6687 | 6253 | 4679 | 6465 | 5533 | 4323 | 5593 | 52574 | 52427 | 51032 | 40060 | 49088 | 49339 | 47521 | 50220 | 46196 | 7735 | 6005 | 6399 | 52124 | 6055 | 6788 | 6042 | 6339 | 5419 | 5758 | 5992 | 56096 | 34417 | 54155 | 51834 | 46089 | 12093 | 47833 | 50721 | 51695 | 7574 | 6344 | 5064 | 7019 | 6624 | 5983 | 6456 | 5526 | 5357 | 6187 | 6108 | 54233 | 50112 | 50453 | 51038 | 51117 | 54139 | 27611 | 56544 | 42337 | 51954 | 35083 | 50388 | 6294 | 5776 | 55202 | 6686
| 1:57 | 37 | 50167 | 51381 | 50226 | 5052 | 50212 | 50896 | 46469 | 40540 | 50878 | 6966 | 6277 | 6235 | 6037 | 45343 | 6898 | 5971 | 6026 | 4930 | 5592 | 5886 | 54424 | 47535 | 51050 | 7580 | 43659 | 51361 | 54668 | 49423 | 41931 | 7446 | 6155 | 52085 | 6725 | 6758 | 6415 | 4643 | 6562 | 5819 | 4157 | 5758 | 52841 | 51805 | 51216 | 41073 | 49610 | 49576 | 47825 | 50996 | 47311 | 7812 | 6097 | 6568 | 51583 | 6245 | 6925 | 5942 | 6323 | 5397 | 5903 | 5898 | 56053 | 35629 | 53863 | 52265 | 47252 | 12842 | 48312 | 50485 | 51501 | 7589 | 6413 | 5150 | 7147 | 6736 | 5937 | 6385 | 5610 | 5160 | 6319 | 6070 | 55050 | 49465 | 50640 | 50823 | 50787 | 53587 | 28996 | 56487 | 43442 | 52121 | 36007 | 50637 | 6380 | 5899 | 54438 | 6704
| 2:00 | 37 | 50077 | 51285 | 50318 | 5037 | 49553 | 51394 | 46486 | 41351 | 50874 | 7291 | 6433 | 6222 | 6222 | 45404 | 6874 | 5947 | 6004 | 4921 | 5713 | 6031 | 54319 | 48500 | 51046 | 7684 | 43997 | 51724 | 54848 | 49219 | 42691 | 7593 | 6222 | 52098 | 6875 | 6776 | 6501 | 4805 | 6576 | 5698 | 4335 | 5745 | 52847 | 51959 | 50987 | 41541 | 49442 | 49822 | 48271 | 51547 | 47040 | 7739 | 6161 | 6650 | 51887 | 6283 | 6919 | 5952 | 6528 | 5626 | 5955 | 5960 | 56598 | 36629 | 54207 | 51229 | 47244 | 13766 | 48560 | 50557 | 51789 | 7757 | 6453 | 5172 | 6973 | 6682 | 6102 | 6677 | 5677 | 5326 | 6398 | 6182 | 55303 | 49447 | 50085 | 50850 | 51171 | 53833 | 30111 | 56314 | 44320 | 52029 | 37332 | 51297 | 6302 | 5867 | 55251 | 6703
484530
| Time | T° 484,530 | I17 | I18 | I19 | I20 | I21 | I24 | J12 | J24 | K1 | K2 | K3 | K4 | K5 | K6 | K7 | K8 | K12 | K13 | K14 | K15 | K16 | K17 | K18 | K19 | K20 | K24 | L12 | L24 | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M12 | M13 | M14 | M15 | M16 | M17 | M18 | M19 | M20 | M24 | N12 | N24 | O1 | O2 | O3 | O4 | O5 | O6 | O7 | O8 | O12 | O13 | O14 | O15 | O16 | O17 | O18 | O19 | O20 | O24 | P12 | P24
| 0:00 | 37 | 2784 | 2427 | 2574 | 2263 | 2548 | 2384 | 2393 | 2321 | 2268 | 2229 | 2276 | 2079 | 2243 | 2177 | 2314 | 2122 | 1764 | 2752 | 2696 | 2920 | 2798 | 2772 | 2366 | 2779 | 2718 | 2521 | 2135 | 2439 | 2324 | 2181 | 2113 | 2279 | 1968 | 2216 | 2532 | 2468 | 2172 | 2838 | 2934 | 2909 | 2827 | 2919 | 2749 | 2851 | 2672 | 2565 | 2118 | 2699 | 2469 | 2298 | 2396 | 2123 | 2295 | 2283 | 2935 | 2175 | 2139 | 3027 | 2875 | 3036 | 3009 | 2960 | 2796 | 2942 | 2591 | 2357 | 308 | 511
| 0:03 | 37 | 3016 | 2746 | 3031 | 2716 | 2952 | 2568 | 2696 | 2484 | 2590 | 2435 | 2634 | 2406 | 2605 | 2465 | 2620 | 2528 | 1955 | 3024 | 3152 | 3502 | 3120 | 3204 | 2635 | 3173 | 3195 | 2751 | 2408 | 2781 | 2629 | 2580 | 2435 | 2545 | 2202 | 2541 | 2959 | 2987 | 2334 | 3312 | 3419 | 3329 | 3396 | 3264 | 3260 | 3276 | 3129 | 2835 | 2343 | 3124 | 2755 | 2613 | 2765 | 2419 | 2641 | 2632 | 3277 | 2393 | 2524 | 3529 | 3334 | 3484 | 3495 | 3420 | 3317 | 3371 | 2957 | 2747 | 319 | 559
| 0:06 | 37 | 3293 | 3174 | 3535 | 3070 | 3361 | 2744 | 2914 | 2733 | 2931 | 2797 | 3017 | 2570 | 2890 | 2756 | 3014 | 2904 | 2102 | 3497 | 3708 | 3777 | 3517 | 3614 | 2930 | 3714 | 3649 | 2967 | 2503 | 2981 | 2860 | 2916 | 2724 | 2787 | 2495 | 2911 | 3339 | 3355 | 2548 | 3803 | 3970 | 3714 | 3763 | 3794 | 3668 | 3733 | 3408 | 3082 | 2869 | 3603 | 2887 | 2937 | 3082 | 2621 | 2887 | 2964 | 3822 | 2787 | 2889 | 4005 | 3492 | 3938 | 3928 | 3723 | 3758 | 3793 | 3258 | 3140 | 304 | 560
| 0:09 | 37 | 3525 | 3417 | 3792 | 3286 | 3764 | 2816 | 3130 | 2830 | 3184 | 3113 | 3340 | 2835 | 3208 | 3103 | 3391 | 3261 | 2228 | 3773 | 4064 | 4239 | 3763 | 4024 | 3181 | 4124 | 3995 | 3155 | 2846 | 3079 | 3098 | 3190 | 2969 | 3021 | 2700 | 3116 | 3595 | 3738 | 2714 | 4132 | 4246 | 3976 | 4141 | 3957 | 4025 | 4038 | 3670 | 3227 | 3292 | 3796 | 3149 | 3184 | 3383 | 2937 | 3198 | 3311 | 4195 | 3043 | 3205 | 4295 | 3753 | 4309 | 4149 | 4090 | 3977 | 4031 | 3473 | 3370 | 312 | 596
| 0:12 | 37 | 3699 | 3640 | 4210 | 3522 | 4043 | 2933 | 3313 | 2942 | 3406 | 3318 | 3637 | 3124 | 3462 | 3352 | 3663 | 3555 | 2303 | 4039 | 4284 | 4600 | 4030 | 4233 | 3290 | 4326 | 4231 | 3227 | 3028 | 3176 | 3312 | 3429 | 3366 | 3289 | 3000 | 3471 | 3827 | 4008 | 2759 | 4267 | 4534 | 4393 | 4341 | 4234 | 4327 | 4270 | 3864 | 3303 | 3525 | 3924 | 3269 | 3233 | 3684 | 3130 | 3410 | 3556 | 4450 | 3204 | 3568 | 4446 | 3922 | 4550 | 4395 | 4257 | 4194 | 4275 | 3533 | 3470 | 280 | 578
| 0:15 | 37 | 3873 | 3766 | 4381 | 3733 | 4174 | 2964 | 3499 | 2993 | 3461 | 3538 | 3886 | 3240 | 3705 | 3540 | 3890 | 3867 | 2424 | 4217 | 4455 | 4731 | 4183 | 4434 | 3295 | 4605 | 4546 | 3304 | 3082 | 3321 | 3539 | 3726 | 3437 | 3526 | 3134 | 3697 | 4067 | 4236 | 2976 | 4426 | 4711 | 4421 | 4507 | 4465 | 4337 | 4448 | 4059 | 3336 | 3776 | 4186 | 3396 | 3457 | 3931 | 3259 | 3550 | 3726 | 4721 | 3316 | 3909 | 4723 | 4111 | 4814 | 4502 | 4413 | 4375 | 4426 | 3673 | 3539 | 301 | 604
| 0:18 | 37 | 3888 | 3955 | 4423 | 3797 | 4451 | 3117 | 3648 | 3059 | 3702 | 3718 | 4142 | 3477 | 4017 | 3784 | 4194 | 4032 | 2561 | 4258 | 4422 | 4923 | 4386 | 4619 | 3402 | 4763 | 4761 | 3424 | 3163 | 3357 | 3685 | 4013 | 3733 | 3649 | 3291 | 3878 | 4296 | 4527 | 3060 | 4508 | 4883 | 4591 | 4613 | 4392 | 4492 | 4624 | 4181 | 3430 | 4145 | 4248 | 3489 | 3565 | 4205 | 3430 | 3772 | 3971 | 4847 | 3489 | 3983 | 4841 | 4233 | 4962 | 4620 | 4497 | 4392 | 4528 | 3654 | 3649 | 299 | 585
| 0:21 | 37 | 4074 | 4102 | 4539 | 3807 | 4550 | 3139 | 3679 | 3136 | 3895 | 3996 | 4245 | 3477 | 4112 | 3865 | 4413 | 4464 | 2727 | 4253 | 4652 | 5119 | 4356 | 4740 | 3433 | 4765 | 4748 | 3488 | 3365 | 3359 | 3825 | 4213 | 3950 | 3779 | 3322 | 4040 | 4412 | 4724 | 3104 | 4729 | 5004 | 4874 | 4843 | 4673 | 4595 | 4651 | 4244 | 3571 | 4317 | 4463 | 3678 | 3769 | 4439 | 3604 | 3923 | 4155 | 5091 | 3805 | 4207 | 4793 | 4230 | 4945 | 4761 | 4605 | 4568 | 4584 | 3693 | 3759 | 307 | 606
| 0:24 | 37 | 4070 | 4047 | 4652 | 3945 | 4615 | 3176 | 3852 | 3176 | 4089 | 4112 | 4483 | 3525 | 4290 | 3985 | 4613 | 4489 | 2711 | 4478 | 4818 | 5200 | 4496 | 4905 | 3543 | 5024 | 4858 | 3535 | 3425 | 3485 | 4043 | 4366 | 4044 | 4028 | 3583 | 4239 | 4496 | 5020 | 3151 | 4748 | 5130 | 4950 | 4817 | 4729 | 4677 | 4799 | 4309 | 3638 | 4595 | 4373 | 3816 | 3806 | 4604 | 3698 | 4103 | 4390 | 5337 | 3827 | 4514 | 4930 | 4414 | 5133 | 4825 | 4705 | 4683 | 4679 | 3755 | 3783 | 317 | 598
| 0:27 | 37 | 4200 | 4215 | 4730 | 4054 | 5035 | 3269 | 4099 | 3345 | 4312 | 4324 | 4723 | 3869 | 4698 | 4276 | 4706 | 4687 | 2804 | 4644 | 4977 | 5345 | 4645 | 4933 | 3589 | 4963 | 4847 | 3681 | 3530 | 3496 | 4229 | 4546 | 4235 | 4160 | 3757 | 4429 | 4779 | 5390 | 3312 | 4855 | 5159 | 5023 | 4955 | 4726 | 4758 | 4871 | 4479 | 3645 | 4748 | 4544 | 3983 | 4072 | 4995 | 3886 | 4216 | 4744 | 5469 | 4187 | 4772 | 4970 | 4412 | 5198 | 5013 | 4701 | 4833 | 4692 | 3844 | 3963 | 273 | 621
| 0:30 | 37 | 4311 | 4237 | 4800 | 4005 | 5968 | 3683 | 4194 | 3582 | 4869 | 4478 | 4998 | 3858 | 4935 | 4705 | 5105 | 4922 | 3013 | 4787 | 5015 | 5342 | 4804 | 4996 | 3586 | 5129 | 5027 | 3677 | 3656 | 3641 | 4464 | 4661 | 4507 | 4521 | 4017 | 5002 | 4871 | 5994 | 3433 | 4961 | 5238 | 5166 | 5072 | 4891 | 4968 | 5063 | 4496 | 3660 | 4963 | 4701 | 4253 | 4245 | 5357 | 4117 | 4551 | 5642 | 5795 | 4533 | 4867 | 5230 | 4604 | 5278 | 5025 | 4840 | 4991 | 4878 | 4025 | 3936 | 293 | 598
| 0:33 | 37 | 4335 | 4335 | 4835 | 4111 | 9025 | 4625 | 4242 | 4581 | 5720 | 4680 | 5479 | 4064 | 5443 | 5115 | 5625 | 5190 | 3084 | 4692 | 5038 | 5583 | 4771 | 5144 | 3733 | 5210 | 5031 | 3744 | 3751 | 3623 | 4996 | 5030 | 4571 | 4834 | 4364 | 5822 | 5161 | 6767 | 3539 | 5006 | 5291 | 5142 | 5097 | 5027 | 5071 | 5014 | 4602 | 3668 | 5194 | 4852 | 4855 | 4410 | 6169 | 4456 | 4728 | 7498 | 6575 | 5079 | 5091 | 5205 | 4511 | 5466 | 5008 | 4817 | 4947 | 5020 | 4100 | 4041 | 298 | 623
| 0:36 | 37 | 4488 | 4355 | 4816 | 4260 | 15796 | 6506 | 4373 | 6928 | 6936 | 4934 | 5958 | 4270 | 6009 | 5756 | 6333 | 5483 | 3219 | 4756 | 5248 | 5650 | 4870 | 5241 | 3811 | 5360 | 5138 | 3777 | 3935 | 3699 | 5678 | 5482 | 4808 | 5349 | 4818 | 7437 | 5309 | 7806 | 3555 | 5071 | 5447 | 5256 | 5224 | 5123 | 5101 | 5050 | 4498 | 3837 | 5301 | 4826 | 5615 | 4567 | 7414 | 4938 | 4944 | 9582 | 7201 | 6223 | 5258 | 5260 | 4633 | 5507 | 5224 | 4951 | 4968 | 5197 | 4027 | 4171 | 274 | 596
| 0:39 | 37 | 4516 | 4503 | 5113 | 4339 | 25900 | 9386 | 4500 | 11268 | 8580 | 5304 | 6464 | 4570 | 6798 | 6415 | 7252 | 5792 | 3426 | 4832 | 5253 | 5696 | 4848 | 5368 | 3871 | 5372 | 5299 | 3767 | 4025 | 3773 | 7080 | 5889 | 5384 | 6033 | 5219 | 9221 | 5661 | 9003 | 3666 | 5284 | 5582 | 5247 | 5275 | 5130 | 5155 | 5185 | 4693 | 3928 | 5490 | 5022 | 6573 | 4928 | 9365 | 5833 | 5346 | 12585 | 8182 | 7467 | 5428 | 5337 | 4714 | 5534 | 5209 | 5139 | 5139 | 5056 | 4176 | 4262 | 289 | 624
| 0:42 | 37 | 4611 | 4418 | 5075 | 4349 | 35897 | 14655 | 4610 | 17336 | 10818 | 5824 | 7326 | 4714 | 7594 | 7421 | 8371 | 6117 | 3537 | 4901 | 5367 | 5795 | 5029 | 5310 | 3905 | 5376 | 5298 | 3982 | 4040 | 3818 | 8127 | 6522 | 5971 | 6961 | 5879 | 11689 | 6044 | 10498 | 3693 | 5291 | 5637 | 5391 | 5355 | 5157 | 5169 | 5330 | 4718 | 3880 | 5563 | 4960 | 7461 | 5397 | 11766 | 7130 | 6046 | 16498 | 9532 | 8925 | 5522 | 5408 | 4661 | 5631 | 5415 | 5077 | 5155 | 5234 | 4152 | 4298 | 292 | 638
| 0:45 | 37 | 4614 | 4548 | 5254 | 4309 | 43015 | 21372 | 4678 | 25070 | 13468 | 6488 | 8574 | 5200 | 8687 | 8728 | 9871 | 6488 | 3929 | 4836 | 5399 | 5881 | 5111 | 5425 | 4040 | 5528 | 5439 | 4015 | 4056 | 3886 | 9418 | 7314 | 6740 | 8331 | 6606 | 14478 | 6563 | 12241 | 3932 | 5243 | 5768 | 5498 | 5480 | 5181 | 5274 | 5289 | 4800 | 3901 | 5740 | 5039 | 8798 | 6214 | 14374 | 8751 | 6694 | 21161 | 10996 | 10522 | 5753 | 5353 | 4756 | 5754 | 5409 | 5241 | 5287 | 5285 | 4161 | 4236 | 254 | 600
| 0:48 | 37 | 4619 | 4690 | 5318 | 4448 | 47503 | 28364 | 4731 | 32657 | 16618 | 7466 | 9779 | 5661 | 9863 | 10370 | 11433 | 7094 | 4380 | 5007 | 5398 | 5864 | 5147 | 5548 | 4085 | 5531 | 5527 | 3919 | 4150 | 3886 | 11197 | 8309 | 7823 | 9919 | 7635 | 17324 | 7594 | 14264 | 3897 | 5430 | 5917 | 5459 | 5618 | 5319 | 5302 | 5442 | 4808 | 4052 | 5930 | 5047 | 10659 | 7100 | 17214 | 11207 | 7905 | 25980 | 12701 | 12607 | 5839 | 5457 | 4904 | 5898 | 5400 | 5309 | 5423 | 5238 | 4217 | 4502 | 259 | 605
| 0:51 | 37 | 4636 | 4640 | 5321 | 4450 | 50443 | 34832 | 4751 | 39251 | 20848 | 8991 | 11843 | 6068 | 11399 | 12380 | 13519 | 7872 | 4976 | 4965 | 5565 | 5967 | 5143 | 5607 | 3928 | 5711 | 5490 | 4107 | 4352 | 4025 | 13540 | 9422 | 9444 | 12630 | 8934 | 20314 | 8398 | 16834 | 3964 | 5435 | 5879 | 5649 | 5556 | 5434 | 5513 | 5414 | 4978 | 4077 | 5970 | 5163 | 12636 | 8439 | 20148 | 14143 | 9143 | 30754 | 14657 | 14579 | 5911 | 5685 | 4919 | 5822 | 5468 | 5455 | 5359 | 5360 | 4233 | 4509 | 296 | 629
| 0:54 | 37 | 4684 | 4746 | 5313 | 4512 | 51808 | 40945 | 4987 | 44061 | 24864 | 11182 | 13709 | 6761 | 13361 | 15090 | 15914 | 8742 | 5888 | 5048 | 5658 | 6040 | 5243 | 5632 | 4047 | 5889 | 5400 | 4155 | 4476 | 4033 | 16198 | 11152 | 11718 | 15641 | 10727 | 23743 | 9705 | 19451 | 4088 | 5576 | 5963 | 5488 | 5487 | 5451 | 5377 | 5567 | 4967 | 4037 | 6052 | 5292 | 14942 | 9744 | 23307 | 17716 | 10925 | 35174 | 17051 | 17208 | 6137 | 5656 | 4971 | 5911 | 5526 | 5442 | 5411 | 5415 | 4267 | 4688 | 289 | 617
| 0:57 | 37 | 4777 | 4842 | 5485 | 4648 | 51777 | 45024 | 5030 | 47898 | 29827 | 13512 | 16161 | 7360 | 15416 | 17657 | 18774 | 10032 | 6841 | 5334 | 5767 | 6181 | 5327 | 5684 | 3972 | 5877 | 5730 | 4173 | 4492 | 4016 | 19882 | 13018 | 14158 | 18884 | 12854 | 27500 | 11224 | 22648 | 4012 | 5541 | 6095 | 5793 | 5791 | 5421 | 5519 | 5626 | 5112 | 4195 | 6205 | 5218 | 17634 | 11610 | 26787 | 21623 | 12882 | 39745 | 19474 | 19731 | 6232 | 5745 | 4981 | 6092 | 5676 | 5423 | 5538 | 5568 | 4353 | 4635 | 290 | 646
| 1:00 | 37 | 4797 | 4816 | 5638 | 4681 | 52307 | 47314 | 5059 | 50049 | 34087 | 16631 | 19103 | 7893 | 17987 | 20886 | 21638 | 11240 | 8176 | 5134 | 5755 | 6168 | 5324 | 5826 | 4085 | 5913 | 5747 | 4208 | 4502 | 4156 | 24700 | 14894 | 16990 | 22917 | 15460 | 30912 | 13065 | 26553 | 4197 | 5713 | 6162 | 5670 | 5710 | 5582 | 5564 | 5585 | 5104 | 4205 | 6224 | 5445 | 19927 | 13682 | 30263 | 26587 | 15606 | 43316 | 22686 | 22609 | 6378 | 5765 | 4951 | 6122 | 5603 | 5432 | 5546 | 5509 | 4372 | 4757 | 276 | 634
| 1:03 | 37 | 4854 | 4904 | 5521 | 4634 | 52809 | 49561 | 5189 | 51522 | 38489 | 20112 | 22457 | 8817 | 20857 | 24603 | 25639 | 12643 | 9781 | 5229 | 5790 | 6302 | 5338 | 5751 | 4066 | 5980 | 5675 | 4316 | 4650 | 4187 | 30052 | 17589 | 20217 | 26686 | 18502 | 34581 | 14883 | 29735 | 4260 | 5701 | 6066 | 5763 | 5821 | 5535 | 5651 | 5715 | 5212 | 4306 | 6400 | 5511 | 22958 | 15913 | 33803 | 31853 | 18485 | 45882 | 26339 | 25939 | 6331 | 5819 | 5035 | 6228 | 5843 | 5565 | 5604 | 5524 | 4396 | 4722 | 299 | 625
| 1:06 | 37 | 4789 | 4925 | 5637 | 4662 | 52308 | 50959 | 5382 | 51679 | 42134 | 23919 | 25768 | 9578 | 24068 | 28440 | 29830 | 14389 | 11297 | 5266 | 5783 | 6133 | 5361 | 5924 | 4129 | 5894 | 6008 | 4381 | 4722 | 4205 | 35560 | 20444 | 23823 | 31024 | 21936 | 38034 | 17188 | 33958 | 4330 | 5857 | 6147 | 5958 | 5848 | 5646 | 5784 | 5722 | 5343 | 4351 | 6453 | 5446 | 26055 | 18422 | 37564 | 36762 | 21545 | 47762 | 29932 | 28988 | 6530 | 5901 | 5182 | 6186 | 5762 | 5607 | 5664 | 5559 | 4404 | 4678 | 313 | 631
| 1:09 | 37 | 4864 | 4812 | 5651 | 4716 | 52178 | 52250 | 5317 | 53027 | 45629 | 27505 | 29215 | 10471 | 27705 | 31895 | 33286 | 16357 | 13245 | 5216 | 5906 | 6335 | 5450 | 5863 | 4256 | 5983 | 5958 | 4427 | 4701 | 4244 | 39848 | 23846 | 27691 | 35267 | 25554 | 41182 | 20164 | 37878 | 4271 | 5811 | 6307 | 5953 | 5874 | 5643 | 5692 | 5829 | 5366 | 4399 | 6573 | 5553 | 29145 | 21002 | 40968 | 40775 | 24636 | 49623 | 33536 | 32238 | 6707 | 5863 | 5128 | 6246 | 5844 | 5660 | 5750 | 5650 | 4506 | 4845 | 258 | 604
| 1:12 | 37 | 5006 | 4939 | 5800 | 4672 | 52315 | 52030 | 5512 | 52341 | 47974 | 31375 | 32493 | 11301 | 30497 | 35516 | 37244 | 18773 | 15431 | 5415 | 5929 | 6465 | 5497 | 5863 | 4183 | 6049 | 6084 | 4413 | 4837 | 4338 | 43970 | 26916 | 31342 | 38994 | 28833 | 43587 | 23564 | 41700 | 4432 | 5881 | 6441 | 6061 | 5860 | 5909 | 5798 | 5847 | 5352 | 4506 | 6683 | 5500 | 31861 | 23437 | 44368 | 43705 | 28252 | 50102 | 36986 | 34909 | 6651 | 5950 | 5167 | 6372 | 5735 | 5679 | 5633 | 5706 | 4513 | 4838 | 292 | 601
| 1:15 | 37 | 5063 | 5151 | 5788 | 4832 | 52703 | 51810 | 5565 | 53031 | 49545 | 35256 | 36590 | 12302 | 33817 | 39440 | 41240 | 21268 | 17835 | 5433 | 6117 | 6524 | 5688 | 5886 | 4279 | 6151 | 6234 | 4494 | 4895 | 4417 | 47273 | 30004 | 35202 | 42461 | 32176 | 46070 | 27283 | 44741 | 4460 | 5902 | 6371 | 6061 | 5990 | 5745 | 5802 | 6040 | 5331 | 4462 | 6864 | 5673 | 34697 | 25860 | 47177 | 45828 | 31979 | 50146 | 39980 | 37491 | 6763 | 6029 | 5172 | 6454 | 5871 | 5625 | 5845 | 5708 | 4603 | 4901 | 287 | 603
| 1:18 | 37 | 5091 | 5100 | 5897 | 4810 | 52665 | 52147 | 5713 | 52873 | 50995 | 38493 | 39653 | 13558 | 37071 | 41941 | 44051 | 23806 | 20542 | 5442 | 6144 | 6605 | 5694 | 6002 | 4212 | 6318 | 6155 | 4572 | 4892 | 4369 | 49500 | 33405 | 38731 | 45439 | 34535 | 47494 | 30932 | 47467 | 4591 | 5954 | 6380 | 6123 | 5957 | 5923 | 5853 | 6017 | 5453 | 4485 | 6733 | 5741 | 37179 | 28430 | 49239 | 47382 | 35104 | 50226 | 42867 | 40037 | 6865 | 6037 | 5291 | 6491 | 5850 | 5675 | 5817 | 5790 | 4570 | 4997 | 302 | 633
| 1:21 | 37 | 5058 | 5039 | 5826 | 4916 | 52412 | 52216 | 5742 | 52933 | 52259 | 41405 | 42568 | 14641 | 38769 | 44417 | 46597 | 27003 | 23801 | 5381 | 6182 | 6571 | 5742 | 6008 | 4309 | 6301 | 6357 | 4457 | 5058 | 4437 | 51113 | 36579 | 41620 | 48015 | 36903 | 48986 | 34591 | 49446 | 4513 | 6047 | 6531 | 6133 | 6010 | 5826 | 5913 | 6083 | 5525 | 4508 | 6975 | 5737 | 39910 | 30525 | 51111 | 48029 | 37513 | 50565 | 45138 | 42192 | 7074 | 6069 | 5294 | 6631 | 5895 | 5792 | 5909 | 5691 | 4623 | 5045 | 274 | 629
| 1:24 | 37 | 5044 | 5222 | 5887 | 4969 | 52437 | 51691 | 5753 | 52695 | 52633 | 44374 | 45110 | 15840 | 41715 | 46041 | 48490 | 29809 | 27419 | 5528 | 6191 | 6548 | 5826 | 6170 | 4350 | 6239 | 6209 | 4561 | 5088 | 4529 | 52034 | 40083 | 44814 | 49601 | 38971 | 49633 | 38147 | 51491 | 4626 | 6059 | 6537 | 6289 | 6180 | 5958 | 5885 | 6063 | 5491 | 4580 | 7108 | 5874 | 42056 | 33219 | 52357 | 48555 | 39951 | 50867 | 47796 | 43524 | 7170 | 6050 | 5396 | 6493 | 5941 | 5907 | 6029 | 5784 | 4663 | 5040 | 295 | 649
| 1:27 | 37 | 5128 | 5310 | 5893 | 4854 | 52179 | 51604 | 5916 | 52511 | 53408 | 46207 | 46920 | 17098 | 43199 | 47777 | 50783 | 32993 | 31165 | 5602 | 6230 | 6698 | 5812 | 6161 | 4453 | 6374 | 6443 | 4610 | 5205 | 4522 | 51903 | 42910 | 46376 | 50940 | 40487 | 51371 | 41329 | 52930 | 4648 | 6128 | 6672 | 6256 | 6230 | 6050 | 6047 | 6148 | 5530 | 4618 | 7047 | 5793 | 43971 | 35247 | 52571 | 48595 | 42286 | 51062 | 49362 | 45038 | 7261 | 6079 | 5458 | 6644 | 5978 | 5865 | 5991 | 5951 | 4626 | 5037 | 270 | 646
| 1:30 | 37 | 5129 | 5243 | 6215 | 5113 | 52445 | 51541 | 6092 | 52186 | 53400 | 47981 | 49015 | 18742 | 44998 | 49229 | 53024 | 35529 | 34906 | 5598 | 6274 | 6798 | 5902 | 6307 | 4475 | 6422 | 6549 | 4629 | 5279 | 4559 | 52501 | 45402 | 48347 | 51414 | 42027 | 52199 | 44562 | 53702 | 4717 | 6244 | 6675 | 6270 | 6322 | 6022 | 6146 | 6203 | 5588 | 4673 | 7087 | 5921 | 45807 | 37044 | 53343 | 49532 | 43746 | 50581 | 50529 | 46118 | 7389 | 6264 | 5410 | 6700 | 6006 | 5961 | 6102 | 6019 | 4773 | 5094 | 278 | 604
| 1:33 | 37 | 5188 | 5345 | 6195 | 5056 | 52136 | 51699 | 5951 | 52190 | 53880 | 49051 | 50452 | 20157 | 46680 | 49996 | 54057 | 38437 | 38648 | 5598 | 6423 | 6776 | 5931 | 6241 | 4411 | 6638 | 6535 | 4665 | 5351 | 4636 | 52296 | 47787 | 49705 | 52014 | 42700 | 52794 | 46579 | 54561 | 4894 | 6254 | 6736 | 6436 | 6164 | 6123 | 6060 | 6222 | 5647 | 4681 | 7127 | 6028 | 47032 | 38561 | 53614 | 48826 | 44691 | 50772 | 51666 | 47569 | 7203 | 6248 | 5352 | 6674 | 6211 | 5927 | 6148 | 6113 | 4902 | 5261 | 290 | 625
| 1:36 | 37 | 5271 | 5339 | 6260 | 5161 | 51717 | 51269 | 5995 | 51845 | 53621 | 50213 | 51295 | 21371 | 47584 | 50370 | 54339 | 41064 | 41683 | 5745 | 6453 | 6911 | 5948 | 6337 | 4445 | 6589 | 6654 | 4707 | 5337 | 4609 | 52719 | 49239 | 50718 | 52189 | 43593 | 53284 | 48797 | 55152 | 4892 | 6397 | 6832 | 6474 | 6260 | 6298 | 6169 | 6196 | 5712 | 4797 | 7382 | 5979 | 48283 | 40469 | 53858 | 48728 | 46181 | 50785 | 52807 | 48364 | 7368 | 6230 | 5664 | 6900 | 6229 | 5878 | 6172 | 6226 | 4763 | 5278 | 292 | 610
| 1:39 | 37 | 5369 | 5449 | 6199 | 5049 | 51528 | 51224 | 6047 | 52180 | 54264 | 51066 | 52297 | 23123 | 48836 | 51322 | 56004 | 43600 | 44234 | 5617 | 6493 | 6928 | 6038 | 6309 | 4465 | 6598 | 6820 | 4810 | 5350 | 4734 | 52673 | 51181 | 51271 | 52621 | 44309 | 53474 | 49962 | 55375 | 4888 | 6276 | 6771 | 6571 | 6322 | 6321 | 6228 | 6308 | 5806 | 4786 | 7483 | 6082 | 48789 | 41415 | 54428 | 48840 | 46550 | 50168 | 53710 | 48907 | 7409 | 6386 | 5496 | 6937 | 6193 | 6153 | 6231 | 6103 | 4845 | 5327 | 297 | 614
| 1:42 | 37 | 5313 | 5532 | 6367 | 5204 | 51734 | 51270 | 6159 | 52315 | 54565 | 51939 | 52915 | 24038 | 50034 | 51572 | 56219 | 46424 | 45698 | 5748 | 6481 | 7091 | 6020 | 6447 | 4514 | 6678 | 6744 | 4935 | 5531 | 4643 | 51947 | 52036 | 51842 | 52980 | 45305 | 53444 | 51872 | 56016 | 4964 | 6462 | 7006 | 6624 | 6464 | 6298 | 6263 | 6414 | 5867 | 4855 | 7479 | 6174 | 49728 | 42682 | 54586 | 48923 | 47206 | 50435 | 54429 | 49251 | 7492 | 6292 | 5676 | 6891 | 6246 | 6180 | 6301 | 6282 | 4871 | 5241 | 285 | 644
| 1:45 | 37 | 5298 | 5624 | 6369 | 5185 | 51550 | 51155 | 6398 | 52165 | 54464 | 52148 | 53215 | 25525 | 50605 | 52611 | 57042 | 48603 | 47414 | 5727 | 6595 | 7079 | 6212 | 6535 | 4625 | 6862 | 6822 | 4982 | 5576 | 4824 | 51919 | 53274 | 51570 | 53024 | 45845 | 53660 | 52924 | 56339 | 5046 | 6464 | 7124 | 6510 | 6497 | 6312 | 6331 | 6465 | 5887 | 4926 | 7577 | 6160 | 50342 | 43553 | 53994 | 48866 | 48083 | 50272 | 54975 | 49942 | 7603 | 6473 | 5646 | 7039 | 6296 | 6211 | 6422 | 6332 | 4784 | 5332 | 280 | 630
| 1:48 | 37 | 5353 | 5724 | 6384 | 5327 | 51667 | 51031 | 6196 | 51968 | 54606 | 52801 | 54036 | 26664 | 50461 | 52293 | 56808 | 49669 | 48497 | 5775 | 6653 | 7160 | 6205 | 6530 | 4630 | 6888 | 6758 | 4943 | 5580 | 4796 | 51915 | 53478 | 52125 | 52841 | 45861 | 54737 | 53296 | 56491 | 4983 | 6510 | 6981 | 6651 | 6429 | 6373 | 6332 | 6587 | 5952 | 5004 | 7609 | 6197 | 50684 | 44215 | 53821 | 48852 | 48560 | 50682 | 55169 | 50805 | 7673 | 6489 | 5775 | 7075 | 6345 | 6283 | 6392 | 6362 | 4995 | 5313 | 250 | 621
| 1:51 | 37 | 5377 | 5686 | 6579 | 5310 | 51753 | 50836 | 6265 | 52167 | 54466 | 52617 | 54201 | 28098 | 51685 | 53081 | 57206 | 50917 | 48772 | 5893 | 6716 | 7133 | 6175 | 6721 | 4633 | 6837 | 7000 | 5026 | 5669 | 4911 | 51938 | 53839 | 52281 | 52862 | 45959 | 54844 | 53862 | 56638 | 5208 | 6545 | 7175 | 6720 | 6532 | 6490 | 6510 | 6500 | 6051 | 4999 | 7787 | 6240 | 50891 | 44666 | 54186 | 48849 | 49145 | 50590 | 55850 | 50790 | 7778 | 6583 | 5819 | 7127 | 6365 | 6357 | 6530 | 6416 | 4929 | 5417 | 273 | 620
| 1:54 | 37 | 5374 | 5802 | 6650 | 5442 | 51540 | 50678 | 6403 | 51766 | 54935 | 52225 | 53904 | 29176 | 51392 | 52434 | 58096 | 52940 | 49845 | 5978 | 6798 | 7328 | 6278 | 6614 | 4708 | 7096 | 7092 | 4987 | 5804 | 4875 | 52286 | 53843 | 52408 | 52533 | 46848 | 54985 | 54005 | 57096 | 5239 | 6755 | 7266 | 6849 | 6635 | 6507 | 6483 | 6559 | 6090 | 4916 | 7818 | 6228 | 51275 | 45812 | 54170 | 48953 | 49220 | 50013 | 56280 | 50809 | 7732 | 6625 | 5746 | 7201 | 6410 | 6393 | 6490 | 6501 | 5135 | 5332 | 283 | 602
| 1:57 | 37 | 5513 | 5852 | 6596 | 5442 | 51752 | 50841 | 6367 | 51421 | 55141 | 53144 | 54160 | 30035 | 51775 | 52852 | 58007 | 53544 | 49826 | 5995 | 6776 | 7289 | 6144 | 6815 | 4777 | 7221 | 7148 | 5140 | 5808 | 4899 | 51623 | 54163 | 52597 | 53145 | 46816 | 55114 | 55008 | 57049 | 5208 | 6593 | 7251 | 6936 | 6705 | 6669 | 6567 | 6863 | 6221 | 5165 | 7842 | 6397 | 51537 | 45560 | 53658 | 49018 | 49788 | 50240 | 56821 | 51666 | 8010 | 6669 | 5823 | 7115 | 6446 | 6435 | 6529 | 6460 | 5063 | 5402 | 288 | 666
| 2:00 | 37 | 5563 | 5897 | 6634 | 5474 | 51471 | 50835 | 6601 | 51653 | 54992 | 52857 | 54223 | 31531 | 52476 | 52715 | 57895 | 53827 | 50364 | 6112 | 6986 | 7364 | 6312 | 6804 | 4744 | 7226 | 7294 | 5156 | 5882 | 5055 | 51934 | 53947 | 52269 | 52850 | 46858 | 55024 | 54984 | 56888 | 5186 | 6786 | 7346 | 6947 | 6806 | 6620 | 6499 | 6850 | 6079 | 5206 | 7960 | 6351 | 51108 | 45718 | 54201 | 48659 | 49775 | 50128 | 57400 | 52063 | 8124 | 6702 | 5887 | 7335 | 6522 | 6391 | 6697 | 6676 | 5199 | 5446 | 288 | 633
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | 1441633.333 | 1399966.667 | 1231366.667 | 71633.333 | 1357333.333 | 1706200 | 1280066.667 | 755366.667 | 958066.667 |  |  | 101200 | 122333.333 | 129400 | 119900 | 1304933.333 | 133666.667 | 123366.667 | 116200 | 94800 | 105066.667 |  |  | 113733.333 | Max V [484,530]
|  | 0.999 | 0.999 | 1 | 0.986 | 0.999 | 0.999 | 0.999 | 1 | 0.999 |  |  | 0.985 | 0.994 | 0.971 | 0.985 | 1 | 0.988 | 0.977 | 0.978 | 0.966 | 0.918 |  |  | 0.952 | R-Squared [484,530]
|  | 1:06 | 1:06 | 1:09 | 0:06 | 1:06 | 1:06 | 1:06 | 1:18 | 1:21 |  |  | 0:06 | 0:06 | 0:06 | 0:06 | 0:48 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 |  |  | 0:06 | t at Max V [484,530]
|  | 0:47 | 0:47 | 0:49 | ????? | 0:46 | 0:49 | 0:47 | 0:49 | 0:49 |  |  | ????? | ????? | ????? | ????? | 0:35 | ????? | ????? | ????? | ????? | ????? |  |  | ????? | Lagtime [484,530]
| B | [24 empty] | Max V [484,530]
R-Squared [484,530]
t at Max V [484,530]
Lagtime [484,530]
| C | 1596533.333 | 769566.667 | 1266533.333 | 133000 | 967466.667 | 1342633.333 | 1236433.333 | 1229900 | 722833.333 |  |  | 113933.333 | 109433.333 | 2320433.333 | 139366.667 | 140600 | 122600 | 83600 | 119033.333 | 110300 | 68166.667 |  |  | 99966.667 | Max V [484,530]
|  | 0.999 | 0.997 | 0.999 | 0.998 | 0.998 | 0.998 | 1 | 1 | 0.998 |  |  | 0.994 | 0.969 | 0.995 | 0.998 | 0.995 | 0.992 | 0.977 | 0.957 | 0.993 | 0.945 |  |  | 0.962 | R-Squared [484,530]
|  | 0:57 | 1:33 | 1:21 | 0:06 | 1:12 | 0:51 | 1:06 | 1:09 | 1:15 |  |  | 0:06 | 0:06 | 0:45 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 |  |  | 0:06 | t at Max V [484,530]
|  | 0:39 | 0:55 | 0:58 | 0:00 | 0:49 | 0:37 | 0:46 | 0:48 | 0:49 |  |  | 0:00 | ????? | 0:34 | ????? | ????? | ????? | ????? | ????? | ????? | ????? |  |  | ????? | Lagtime [484,530]
| D | [24 empty] | Max V [484,530]
R-Squared [484,530]
t at Max V [484,530]
Lagtime [484,530]
| E | 1329966.667 | 1469066.667 | 1282566.667 | 756133.333 | 1225366.667 | 1029800 | 981866.667 | 1135266.667 | 921700 |  |  | 123100 | 114666.667 | 129633.333 | 2112866.667 | 118200 | 130033.333 | 104266.667 | 116700 | 116633.333 | 111000 |  |  | 116666.667 | Max V [484,530]
|  | 0.999 | 0.999 | 0.999 | 0.999 | 0.999 | 1 | 0.999 | 1 | 1 |  |  | 1 | 0.984 | 0.991 | 0.998 | 0.988 | 0.979 | 0.966 | 0.97 | 0.993 | 0.991 |  |  | 0.963 | R-Squared [484,530]
|  | 1:03 | 1:00 | 1:12 | 1:03 | 1:06 | 1:12 | 1:15 | 1:03 | 1:18 |  |  | 0:06 | 0:06 | 0:06 | 0:45 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 |  |  | 0:06 | t at Max V [484,530]
|  | 0:44 | 0:40 | 0:54 | 0:43 | 0:46 | 0:48 | 0:48 | 0:43 | 0:53 |  |  | ????? | ????? | ????? | 0:33 | ????? | ????? | ????? | ????? | ????? | ????? |  |  | ????? | Lagtime [484,530]
| F | [24 empty] | Max V [484,530]
R-Squared [484,530]
t at Max V [484,530]
Lagtime [484,530]
| G | 1095600 | 620733.333 | 1391633.333 | 1465633.333 | 807033.333 | 248600 | 713000 | 1095133.333 | 1268500 |  |  | 110533.333 | 112966.667 | 101066.667 | 122266.667 | 134266.667 | 109166.667 | 127066.667 | 100433.333 | 92066.667 | 128533.333 |  |  | 106933.333 | Max V [484,530]
|  | 1 | 1 | 1 | 1 | 0.999 | 0.995 | 0.999 | 0.998 | 0.999 |  |  | 0.983 | 0.975 | 0.988 | 0.991 | 0.989 | 0.973 | 0.986 | 0.996 | 0.976 | 0.98 |  |  | 0.972 | R-Squared [484,530]
|  | 1:06 | 1:39 | 1:00 | 1:06 | 1:18 | 1:54 | 1:18 | 0:54 | 1:09 |  |  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 |  |  | 0:06 | t at Max V [484,530]
|  | 0:48 | 0:59 | 0:42 | 0:48 | 0:47 | 1:13 | 0:39 | 0:33 | 0:50 |  |  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? |  |  | ????? | Lagtime [484,530]
| H | 12: 931366.667; 24: 2263800 | Max V [484,530]
|  | 12: 1; 24: 0.997 | R-Squared [484,530]
|  | 12: 1:18; 24: 0:45 | t at Max V [484,530]
|  | 12: 0:47; 24: 0:36 | Lagtime [484,530]
| I | 1190900 | 986233.333 | 1055166.667 | 1491300 | 442233.333 | 1182500 | 767666.667 | 1104900 | 591700 |  |  | 898133.333 | 105766.667 | 92400 | 1842633.333 | 135266.667 | 77966.667 | 103233.333 | 134433.333 | 102933.333 | 2936033.333 |  |  | 2201333.333 | Max V [484,530]
|  | 0.997 | 1 | 1 | 0.999 | 0.998 | 0.999 | 0.999 | 0.999 | 0.997 |  |  | 0.999 | 0.971 | 0.986 | 0.999 | 0.98 | 0.995 | 0.985 | 0.99 | 0.974 | 0.995 |  |  | 0.999 | R-Squared [484,530]
|  | 1:03 | 1:12 | 1:09 | 1:03 | 1:33 | 1:00 | 1:18 | 1:09 | 1:27 |  |  | 1:03 | 0:06 | 0:06 | 0:45 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:39 |  |  | 0:48 | t at Max V [484,530]
|  | 0:40 | 0:44 | 0:43 | 0:45 | 0:54 | 0:37 | 0:53 | 0:44 | 0:52 |  |  | 0:39 | ????? | ????? | 0:33 | ????? | ????? | ????? | ????? | ????? | 0:31 |  |  | 0:36 | Lagtime [484,530]
| J | 12: 75800; 24: 2376233.333 | Max V [484,530]
|  | 12: 0.991; 24: 0.998 | R-Squared [484,530]
|  | 12: 0:06; 24: 0:45 | t at Max V [484,530]
|  | 12: ?????; 24: 0:35 | Lagtime [484,530]
| K | 1483500 | 1258133.333 | 1171500 | 489300 | 1078300 | 1225000 | 1295300 | 981766.667 |  |  |  | 1239366.667 | 110766.667 | 136266.667 | 136566.667 | 103566.667 | 124733.333 | 79800 | 134833.333 | 127533.333 |  |  |  | 60533.333 | Max V [484,530]
|  | 0.999 | 1 | 0.998 | 0.997 | 0.999 | 1 | 0.999 | 0.999 |  |  |  | 1 | 0.989 | 0.977 | 0.99 | 0.992 | 0.987 | 0.979 | 0.981 | 0.983 |  |  |  | 0.972 | R-Squared [484,530]
|  | 0:57 | 1:09 | 1:12 | 1:33 | 1:09 | 1:09 | 1:06 | 1:21 |  |  |  | 1:27 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 |  |  |  | 0:06 | t at Max V [484,530]
|  | 0:39 | 0:49 | 0:46 | 0:56 | 0:46 | 0:45 | 0:45 | 0:56 |  |  |  | 1:03 | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? |  |  |  | ????? | Lagtime [484,530]
| L | 12: 74133.333; 24: 59066.667 | Max V [484,530]
|  | 12: 0.98; 24: 0.921 | R-Squared [484,530]
|  | 12: 0:06; 24: 0:06 | t at Max V [484,530]
|  | 12: ?????; 24: ????? | Lagtime [484,530]
| M | 1693066.667 | 1096966.667 | 1249633.333 | 1362433.333 | 1141500 | 1190100 | 1215800 | 1281233.333 |  |  |  | 51800 | 122600 | 134233.333 | 120500 | 125766.667 | 110766.667 | 130700 | 120000 | 97500 |  |  |  | 62266.667 | Max V [484,530]
|  | 0.999 | 1 | 1 | 0.999 | 1 | 1 | 1 | 0.998 |  |  |  | 0.965 | 0.961 | 0.977 | 0.995 | 0.973 | 0.97 | 0.99 | 0.983 | 0.974 |  |  |  | 0.952 | R-Squared [484,530]
|  | 1:03 | 1:18 | 1:09 | 1:03 | 1:09 | 0:57 | 1:18 | 1:06 |  |  |  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 |  |  |  | 0:06 | t at Max V [484,530]
|  | 0:47 | 0:50 | 0:49 | 0:45 | 0:48 | 0:36 | 0:55 | 0:41 |  |  |  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? |  |  |  | ????? | Lagtime [484,530]
| N | 12: 125433.333; 24: 104066.667 | Max V [484,530]
|  | 12: 0.982; 24: 0.941 | R-Squared [484,530]
|  | 12: 0:06; 24: 0:06 | t at Max V [484,530]
|  | 12: 0:00; 24: ????? | Lagtime [484,530]
| O | 1001833.333 | 830300 | 1188766.667 | 1615966.667 | 1148700 | 1564833.333 | 1193233.333 | 1046433.333 |  |  |  | 117966.667 | 120133.333 | 83766.667 | 128433.333 | 114200 | 108800 | 115200 | 110866.667 | 80000 |  |  |  | 94966.667 | Max V [484,530]
|  | 0.999 | 1 | 1 | 0.998 | 0.999 | 1 | 1 | 1 |  |  |  | 0.999 | 0.957 | 0.961 | 0.987 | 0.969 | 0.979 | 0.959 | 0.979 | 0.942 |  |  |  | 0.951 | R-Squared [484,530]
|  | 1:06 | 1:09 | 1:03 | 1:03 | 1:12 | 0:48 | 1:06 | 1:03 |  |  |  | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 | 0:06 |  |  |  | 0:06 | t at Max V [484,530]
|  | 0:43 | 0:47 | 0:37 | 0:45 | 0:49 | 0:33 | 0:43 | 0:40 |  |  |  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? |  |  |  | ????? | Lagtime [484,530]
| P | 12: 3400; 24: 5700 | Max V [484,530]
|  | 12: 0.682; 24: 0.728 | R-Squared [484,530]
|  | 12: 0:51; 24: 0:06 | t at Max V [484,530]
|  | 12: 1:00; 24: ????? | Lagtime [484,530]

## plate_map
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A | CLR24_3_A_4 | F6124_3_A_25 | F6124_3_A_23 | KNL24_4_B_1 | CLR24_4_A_10 | F6124_3_A_3 | F6124_3_A_19 | YUR24_3_A_11 | CLR24_3_A_2 |  |  | EBK-1-1 | CLR24_3_A_4 | F6124_3_A_25 | F6124_3_A_23 | KNL24_4_B_1 | CLR24_4_A_10 | F6124_3_A_3 | F6124_3_A_19 | YUR24_3_A_11 | CLR24_3_A_2 |  |  | EBK-1-1
B
C | BUT24_3_A_4 | DEL24_3_A_2 | CLR24_4_D_1 | F6124_3_A_18 | YUR24_4_A_7 | CLR24_4_A_4 | CLR24_4_A_9 | YUR24_4_A_13 | BUT24_3_A_3 |  |  | EBK-1-2 | BUT24_3_A_4 | DEL24_3_A_2 | CLR24_4_D_1 | F6124_3_A_18 | YUR24_4_A_7 | CLR24_4_A_4 | CLR24_4_A_9 | YUR24_4_A_13 | BUT24_3_A_3 |  |  | EBK-1-2
D
E | YUR24_3_A_7 | YUR24_4_A_6 | DEL24_3_A_1 | BUT24_4_A_5 | F6124_3_A_5 | YUR24_3_A_17 | YUR24_3_A_10 | CLR24_3_A_3 | YUR24_3_E_1 |  |  | EBK-1-3 | YUR24_3_A_7 | YUR24_4_A_6 | DEL24_3_A_1 | BUT24_4_A_5 | F6124_3_A_5 | YUR24_3_A_17 | YUR24_3_A_10 | CLR24_3_A_3 | YUR24_3_E_1 |  |  | EBK-1-3
F
G | YUR24_4_A_1 | YUR24_3_A_9 | YUR24_3_A_12 | F6124_3_A_11 | CLR24_4_A_22 | F1724_3_A_1 | BUT24_3_A_2 | YUR24_3_A_8 | F6124_3_A_10 |  |  | EBK-1-4 | YUR24_4_A_1 | YUR24_3_A_9 | YUR24_3_A_12 | F6124_3_A_11 | CLR24_4_A_22 | F1724_3_A_1 | BUT24_3_A_2 | YUR24_3_A_8 | F6124_3_A_10 |  |  | EBK-1-4
H | [11 empty] | POS-DNA-1 | [11 empty] | POS-DNA-1
I | BUT24_3_A_5 | BUT24_3_A_1 | TIS24_3_A_1 | YUR24_4_A_2 | CLR24_4_C_2 | CLR24_4_A_25 | CLR24_4_A_1 | F6124_3_A_8 | TIS24_2_A_1 |  |  | POS-DNA-2 | BUT24_3_A_5 | BUT24_3_A_1 | TIS24_3_A_1 | YUR24_4_A_2 | CLR24_4_C_2 | CLR24_4_A_25 | CLR24_4_A_1 | F6124_3_A_8 | TIS24_2_A_1 |  |  | POS-DNA-2
J | [11 empty] | NEG-DNA-1 | [11 empty] | POS-DNA-3
K | CLR24_3_A_1 | YUR24_4_A_3 | CLR24_4_A_16 | BUT24_4_A_3 | BUT24_4_A_4 | F6124_3_A_21 | F6124_3_A_24 | F6124_3_A_13 |  |  |  | POS-DNA-3 | CLR24_3_A_1 | YUR24_4_A_3 | CLR24_4_A_16 | BUT24_4_A_3 | BUT24_4_A_4 | F6124_3_A_21 | F6124_3_A_24 | F6124_3_A_13 |  |  |  | NEG-DNA-1
L | [11 empty] | NEG-DNA-2 | [11 empty] | NEG-DNA-2
M | CLR24_4_A_24 | YUR24_4_A_5 | CLR24_4_A_3 | BUT24_4_A_1 | YUR24_3_A_1 | CLR24_4_A_18 | YUR24_3_A_3 | CLR24_4_A_8 |  |  |  | NEG-DNA-3 | CLR24_4_A_24 | YUR24_4_A_5 | CLR24_4_A_3 | BUT24_4_A_1 | YUR24_3_A_1 | CLR24_4_A_18 | YUR24_3_A_3 | CLR24_4_A_8 |  |  |  | NEG-DNA-3
N | [11 empty] | NTC-1 | [11 empty] | NTC-1
O | F6124_3_A_20 | BUT24_4_A_2 | YUR24_3_A_14 | YUR24_4_A_14 | YUR24_4_A_15 | YUR24_4_A_18 | CLR24_4_A_2 | CLR24_4_A_5 |  |  |  | NTC-2 | F6124_3_A_20 | BUT24_4_A_2 | YUR24_3_A_14 | YUR24_4_A_14 | YUR24_4_A_15 | YUR24_4_A_18 | CLR24_4_A_2 | CLR24_4_A_5 |  |  |  | NTC-2
P | [11 empty] | NTC-3 | [11 empty] | NTC-3